## Sheet1
Current Process
Steady State Working Group Base Cases
July 1
YR = Following year
BASE CASE | TRANSMISSION IN-SERVICE DATE | Months | Notes
(YR) SPG1 | April 1, (YR) | March, April, May | Cases to represent maximum expected load during month of transmission in-service date.
(YR) SPG2 | April 1, (YR) | March, April, May | Cases to represent lowest load on same day as the corresponding seasonal case (not a minimum case).
(YR) SUM1 | July 1, (YR) | June, July, August, September | Cases to represent the maximum expected load during the season.
(YR) SUM2 | July 1, (YR) | June, July, August, September | Cases to represent lowest load on same day as the corresponding seasonal case (not a minimum case).
(YR) FAL1 | October 1, (YR) | October, November | Cases to represent maximum expected load during month of transmission in-service date.
(YR) FAL2 | October 1, (YR) | October, November | Cases to represent lowest load on same day as the corresponding seasonal case (not a minimum case).
(YR+1) WIN1 | January 1, (YR+1) | December, January, February | Cases to represent the maximum expected load during the season.
(YR+1) WIN2 | January 1, (YR+1) | December, January, February | Cases to represent lowest load on same day as the corresponding seasonal case (not a minimum case).
Nov 1
YR = Following year
BASE CASE | TRANSMISSION IN-SERVICE DATE | Months | Notes
(YR+1) SUM1 | JULY 1, (YR+1) | N/A | Cases to represent the maximum expected load during the season.
(YR+2) SUM1 | JULY 1, (YR+2) | N/A | Cases to represent the maximum expected load during the season.
(YR+3) MIN | JANUARY 1, (YR+3) | N/A | Cases to represent the absolute minimum load expected for (YR+3).
(YR+3) SUM1 | JULY 1, (YR+3) | N/A | Cases to represent the maximum expected load during the season.
(YR+4) SUM1 | JULY 1, (YR+4) | N/A | Cases to represent the maximum expected load during the season.
(YR+5) SUM1 | JULY 1, (YR+5) | N/A | Cases to represent the maximum expected load during the season.