- Summary of Operating Guide Revisions

- Effective:  July 1, 2010

- Section 1:

OGRR238 – WGR Primary Frequency Response

This Operating Guide Revision Request (OGRR) includes new procedures for testing Wind-powered Generation Resource (WGR) Primary Frequency Response; clarifying wording for all generators’ Primary Frequency Response design requirements; and a general change of “governor” to “Governor” as defined.

Revised Subsection: 1.6

- Section 2:

OGRR238 – WGR Primary Frequency Response

See Section 1 above.

Revised Subsections: 2.2.5, 2.5.1, 2.5.2.3

- Section 3:

OGRR238 – WGR Primary Frequency Response

See Section 1 above

Revised Subsections: 3.1.3.1, 3.1.4, 3.1.4.1

- Section 4:

OGRR238 – WGR Primary Frequency Response

See Section 1 above.

Revised Subsection: Attachment 4A

- Section 6:

OGRR238 – WGR Primary Frequency Response

See Section 1 above.

Revised Subsections: 6.2.1.1, 6.2.1.2, 6.2.1.3, 6.2.1.4, 6.2.1.5, 6.2.1.6, 6.2.1.7 (new)

- Section 7:

OGRR240 – CREZ Facility Protection and Control Requirements

This OGRR provides more stringent protection and control requirements for all new Competitive Renewable Energy Zone (CREZ) 345 kV Facilities.

Revised Subsections: 7.2.1, 7.2.1.1, 7.2.2, 7.2.4, 7.2.5.1, 7.2.5.2, 7.2.5.3

- Section 8:

OGRR238 – WGR Primary Frequency Response

See Section 1 above.

Revised Subsection: 8A

OGRR240 – CREZ Facility Protection and Control Requirements

See Section 7 above.

Revised Subsection:  8.3.4