## Slide 1
Presentation to the
ERCOT Technical Advisory Committee
July 1, 2010
Notes: <number>

## Slide 2: Items for a Vote
Unanimous Recommendations
PRR847, Additional Exemptions for Uninstructed Resource Charge
NPRR227, Termination of Access Privileges to Restricted Computer Systems and Control Systems
NPRR229, Additions to Section 2, Definitions and Acronyms
Non-Unanimous Recommendations
NPRR224, Remove Dynamic Rating Requirements for Annual Planning Models
NPRR226, Procedure for Setting DAM Credit Requirement Parameters (formerly “Procedure for Setting DAM Auction Credit Requirement Parameters”)
NPRR230, Resolution of Alignment Items A40, A108, A127 and A138 and Clarification/Updates to Load and Demand Forecast, Statement of Opportunities, and Long Term Wind Power Forecast
NPRR235, Resolution of Alignment Items A36 and A131 and Clarification of Miscellaneous Requirements
NPRR239, Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources

## Slide 3: PRS Summary
1 PRRs for Approval
7 NPRRs for Approval
0 NPRRs for Parking Deck Consideration
0 Rejection
0 Withdrawal
Current Discussions
Notes: <number>

## Slide 4: PRR847, Additional Exemptions for Uninstructed Resource Charge
Purpose (Formosa) | Proposes two changes to Uninstructed Resource Charge Process: (1) When QSE is given a verbal Dispatch Instruction from ERCOT, the QSE shall be exempt from any Uninstructed Resource Charge during the specified verbal Dispatch Instruction time period, provided that the QSE followed instructions to within the SCE of the verbal Dispatch Instruction given; and (2) After a LaaR has been activated, the QSE representing the LaaR can request a three hour extension for scheduling under the protocols, and during this rescheduling time, a Private Use Network shall not incur Uninstructed Resource Charges for three hours as the Load returns back to service. | 
Market Impact | N/A | 
System Change | No | N/A
PRS Vote | PRS unanimously voted to endorse and forward the PRS Report as amended by the 6/7/10 ERCOT comments and as revised by PRS and the Impact Analysis for PRR847 to TAC. | 
CEO Determination | No Opinion | 
Effective Date | August 1, 2010 | 
Notes: <number>

## Slide 5: PRR847, Additional Exemptions for Uninstructed Resource Charge
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit review is pending
Notes: <number>

## Slide 6: NPRR224, Remove Dynamic Rating Requirements for Annual Planning Models
Purpose (Steady State WG) | This NPRR removes the use of Dynamic Rating for Annual Planning Models. | 
Market Impact | N/A | 
System Change | No | N/A
PRS Vote | PRS voted to endorse and forward the 5/20/10 PRS Report and Impact Analysis for NPRR224 to TAC. There was one opposing vote from the Independent Generator Market Segment. | 
CEO Determination | No Opinion | 
Effective Date | Upon Texas Nodal Market Implementation | 
Notes: <number>

## Slide 7: NPRR224, Remove Dynamic Rating Requirements for Annual Planning Models
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit review is pending
Notes: <number>

## Slide 8: NPRR226, Procedure for Setting DAM Credit Requirement Parameters (formerly “Procedure for Setting DAM Auction Credit Requirement Parameters”)
Purpose (ERCOT) | This NPRR provides language revisions to align the Nodal Protocols with the procedure developed to implement the changes approved by the ERCOT Board in NPRR206, Nodal Market Day-Ahead Market Credit Requirements, on 2/16/10. | 
Market Impact | N/A | 
System Change | No | N/A
PRS Vote | On 5/20/10, PRS voted to recommend approval of NPRR226 as amended by the WMS comments. There were three abstentions from the Independent Power Marketer (IPM), Consumer, and Municipal Market Segments. On 6/17/10, PRS voted to endorse and forward the PRS Report as revised by PRS and Impact Analysis for NPRR226 to TAC. There were two abstentions from the IPM and Consumer Market Segments. | 
CEO Determination | Necessary for Go-Live | 
Effective Date | Upon Texas Nodal Market Implementation | 
Notes: <number>

## Slide 9: NPRR226, Procedure for Setting DAM Credit Requirement Parameters (formerly “Procedure for Setting DAM Auction Credit Requirement Parameters”)
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit review is pending
Notes: <number>

## Slide 10: NPRR227, Termination of Access Privileges to Restricted Computer Systems and Control Systems
Purpose (ERCOT) | Synchronizes the Nodal Protocols with the language in the zonal Protocols pursuant to PRR822, Termination of Access Privileges to Restricted Computer Systems, Control Systems and Facilities formerly Removing of Access to Restricted Computer Systems, Control Systems, and Facilities. PRR822 was approved by the ERCOT Board on 10/21/09. | 
Market Impact | N/A | 
System Change | No | N/A
PRS Vote | PRS unanimously voted to endorse and forward the PRS Report and Impact Analysis for NPRR227 to TAC. | 
CEO Determination | Necessary for Go-Live | 
Effective Date | Upon Texas Nodal Market Implementation | 
Notes: <number>

## Slide 11: NPRR227, Termination of Access Privileges to Restricted Computer Systems and Control Systems
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit review is pending
Notes: <number>

## Slide 12: NPRR229, Additions to Section 2, Definitions and Acronyms
Purpose (ERCOT) | This NPRR incorporates certain definitions and acronyms from the zonal Protocols for terms that are used in the Nodal Protocols but are not defined in Section 2, Definitions and Acronyms. | 
Market Impact | N/A | 
System Change | No | N/A
PRS Vote | PRS unanimously voted to endorse and forward the 5/20/10 PRS Report as revised by PRS and Impact Analysis for NPRR229 to TAC. | 
CEO Determination | No Opinion | 
Effective Date | Upon Texas Nodal Market Implementation | 
Notes: <number>

## Slide 13: NPRR229, Additions to Section 2, Definitions and Acronyms
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit review is pending
Notes: <number>

## Slide 14: NPRR230, Resolution of Alignment Items A40, A108, A127 and A138 and Clarification/Updates to Load and Demand Forecast, Statement of Opportunities, and Long Term Wind Power Forecast
Purpose (ERCOT) | Resolves Alignment Items A40, A108, A127, and A138 and provides clarification of the three-year Load and Demand forecast requirements as well as consistency for the medium-term System Adequacy Report. The requirement to develop profile functionality for a Long-Term Wind Power Forecast has been removed. | 
Market Impact | N/A | 
System Change | No | N/A
PRS Vote | PRS voted to endorse and forward the PRS Report and Impact Analysis for NPRR230 to TAC. There was one abstention from the Independent Generator Market Segment. | 
CEO Determination | Needed for Go-Live | 
Effective Date | Upon Texas Nodal Market Implementation | 
Notes: <number>

## Slide 15: NPRR230, Resolution of Alignment Items A40, A108, A127 and A138 and Clarification/Updates to Load and Demand Forecast, Statement of Opportunities, and Long Term Wind Power Forecast
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit review is pending
Notes: <number>

## Slide 16: NPRR235, Resolution of Alignment Items A36 and A131 and Clarification of Miscellaneous Requirements
Purpose (ERCOT) | Resolves Alignment Items A36 and A131 by clarifying Market Information System (MIS) posting requirements and validation of QSE telemetry for Ancillary Services Resource Responsibility and clarifies Reliability Unit Commitment (RUC) initialization to data bases. | 
Market Impact | N/A | 
System Change | No | N/A
PRS Vote | On 5/20/10, PRS voted to approve NPRR235 as submitted. There was one abstention from the Consumer Market Segment. On 6/17/10, PRS unanimously voted to endorse and forward the PRS Report and Impact Analysis for NPRR235 to TAC. | 
CEO Determination | Needed for Go-Live | 
Effective Date | Upon Texas Nodal Market Implementation | 
Notes: <number>

## Slide 17: NPRR235, Resolution of Alignment Items A36 and A131 and Clarification of Miscellaneous Requirements
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit review is pending
Notes: <number>

## Slide 18: NPRR239, Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources
Purpose (ERCOT) | Proposes a requirement that certain Wind-powered Generation Resources (WGRs) limit the unit ramp rate to 10% per minute of their nameplate rating as registered with ERCOT. The proposed language is based on the concept set forth in zonal Protocol Section 6.5.13, WGR Ramp Rate Limitations. | 
Market Impact | N/A | 
System Change | No | N/A
PRS Vote | On 5/20/10, PRS voted to recommend approval of NPRR239 as submitted. There were two abstentions from the Consumer and Independent Generator Market Segments. On 6/17/10, PRS voted to endorse and forward the PRS Report and Impact Analysis for NPRR239 to TAC. There were three abstentions from the Consumer (2) and Municipal Market Segments. | 
CEO Determination | Needed for Go-Live | 
Effective Date | Upon Texas Nodal Market Implementation | 
Notes: <number>

## Slide 19: NPRR239, Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Credit review is pending
Notes: <number>

## Slide 20: Parking Deck Priority
  None this month
Notes: <number>

## Slide 21: Withdrawals and Rejections
PRR826, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes
Notes: <number>

## Slide 22: PRR/NPRR Summary
Unanimous Recommendations
PRR847, Additional Exemptions for Uninstructed Resource Charge
NPRR227, Termination of Access Privileges to Restricted Computer Systems and Control Systems
NPRR229, Additions to Section 2, Definitions and Acronyms
Non-Unanimous Recommendations
NPRR224, Remove Dynamic Rating Requirements for Annual Planning Models
NPRR226, Procedure for Setting DAM Credit Requirement Parameters (formerly “Procedure for Setting DAM Auction Credit Requirement Parameters”)
NPRR230, Resolution of Alignment Items A40, A108, A127 and A138 and Clarification/Updates to Load and Demand Forecast, Statement of Opportunities, and Long Term Wind Power Forecast
NPRR235, Resolution of Alignment Items A36 and A131 and Clarification of Miscellaneous Requirements
NPRR239, Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources

## Slide 23: 2010 PRR Approval Cycle – Normal Timeline
PRR Posting Deadline | PRS Consideration | PRS CBA/IA Review | TAC Consideration | Board Consideration | Effective Date
23-Dec | 21-Jan | 18-Feb | 4-Mar | 23-Mar | 4/1/10
22-Jan | 18-Feb | 25-Mar | 8-Apr | 18-May | 6/1/10
26-Feb | 25-Mar | 22-Apr | 6-May | 15-Jun | 7/1/10
26-Mar | 22-Apr | 20-May | 3-Jun | 20-Jul | 8/1/10
23-Apr | 20-May | 17-Jun | 1-Jul | 20-Jul | 8/1/10
21-May | 17-Jun | 22-Jul | 5-Aug | 21-Sep | 10/1/10
25-Jun | 22-Jul | 19-Aug | 2-Sep | 21-Sep | 10/1/10
23-Jul | 19-Aug | 23-Sep | 7-Oct | 16-Nov | 12/1/10

## Slide 24: Nodal Parking Deck - Approved by ERCOT Board
Source Document | Title | Priority | Board Approved
NPRR131 | Ancillary Service Trades with ERCOT | High | 1/19/10
NPRR146 | ICCP Telemetry Information Submittals | High | 6/15/10
NPRR181 | FIP Definition Revision | High | 1/19/10
NPRR153 | Generation Resource Fixed Quantity Block Offer | Medium | 1/19/10
NPRR164 | Resubmitting Ancillary Service offers in SASM | Medium | 1/19/10
NPRR210 | Wind Forecasting Change to P50, Synchronization with PRR841 | High | 6/15/10
SCR755 | ERCOT.com Website Enhancements | Medium | 2/16/10

## Slide 25: Nodal Parking Deck – Pending Approval
Source Document | Title | Suggested Priority | Current Status
NPRR207 | Unit Deselection (formerly “Hour Start Unit Deselection and Half Hour Start Unit RUC Clawback”). | High | Pending at TAC PRS approved 4/22/10
NPRR222 | Half-Hour Start Unit RUC Clawback (Companion to NPRR207). | High | Pending at Board TAC approved 6/3/10
NOGRR034 | Rescind Telemetry Performance Calculation Exclusions | TBD | Pending at ROS OWG approved 5/19/10
SCR756 | Enhancements to the MarkeTrak Application | Critical | Pending at Board TAC approved 6/3/10
SCR759 | acLineSegment Name Length Increase in Information Model Manager | TBD | Pending at ROS