| NOGRR Number | 034 | NOGRR Title | Rescind Telemetry Performance Calculation Exclusions |
| --- | --- | --- | --- |

| Date | April 16, 2010 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | John Dumas |
| E-mail Address | jdumas@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3195 |
| Cell Number |  |
| Market Segment | Not applicable. |

Comments

These options, in order of preference, were presented during the discussion of NOGRR034 at the 4/6/10 meeting of the Nodal Advisory task force (NATF).  Please note that the following options are discussed from a perspective of the impact of the metric regarding Planned Outages.  However, the plain language of the protocol does not make the Planned Outage distinction.

1.	 Best:  Remove the language as recommended by ERCOT and amend the Telemetry Standards to incorporate a level of expected Planned Outages.  The Market Participants originally developed the standards and are free to modify them as appropriate.

2.	Good:  Remove the language as recommended by ERCOT and have Market Participants track and provide evidence of Planned Outages for any failures to meet the standards. This will allow participants to provide evidence to regulators in the event of an audit or questions about scores.

3.	Worst:  Leave the language in and grey box it, rendering the report unenforceable.  The Telemetry Performance Monitoring Program may never be able to implement the language as currently written.  Given the expense to upgrade the Outage Scheduler or create a whole new system to implement Outage exclusions, we believe it will add little value. The new Outage exclusion system would make the reports less effective in reflecting the historical quality of the data actually being consumed by the ERCOT State Estimator.

Regardless of which option is chosen, ERCOT will publish the report as required by the ERCOT Nodal Protocols.

Revised Proposed Guide Language

None.