| NOGRR Number | 034 | NOGRR Title | Rescind Telemetry Performance Calculation Exclusions |
| --- | --- | --- | --- |

| Date | April 16, 2010 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Don Blackburn on behalf of the Nodal Advisory Task Force (NATF) |
| E-mail Address | don.blackburn@luminant.com |
| Company | Luminant |
| Phone Number | 214-875-9515 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

On April 6, 2010, the NATF reviewed NOGRR034, Rescind Telemetry Performance Calculation Exclusions.  The NATF recommended that the Nodal Protocol language deleted by NOGRR034 be reinserted, leaving in place the requirement that ERCOT remove points from the TAC approved Telemetry Standard performance metrics calculations when the Qualified Scheduling Entities (QSEs) and Transmission Service Providers (TSPs) notify ERCOT that such telemetry will not be available or is unreliable for operational purposes.  The NATF also recommended that ERCOT provide an impact analysis regarding this requirement.

Revised Proposed Guide Language

### 7.3.3	Data from QSEs and TSPs to ERCOT

(1)	Each TSP and QSE shall provide telemetered measurements on modeled Transmission Elements as required by the Protocols and the ERCOT Nodal ICCP Communications Handbook.

(2)	QSEs and TSPs shall provide Real-Time monitoring of power system quantities to ERCOT as defined in the Protocols and the ERCOT Nodal ICCP Communications Handbook.  ERCOT shall work with TSPs and QSEs to determine the required data using the methodology presented in the Protocols.  Transmission Element status and analog measurements that the TSPs and QSEs define in the Network Operations Model shall, at a minimum, be provided to ERCOT.  Ultimately, it is the responsibility of the TSPs and QSEs to provide all data requested by ERCOT.

(3)	Real Time telemetry data from QSEs used to supply power or Ancillary Services shall be integrated by ERCOT and checked against settlement meter values on a monthly basis.

(4) 	Each QSE and TSP shall notify ERCOT as soon as practicable when telemetry will not be available or is unreliable for operational purposes.  When ERCOT receives notification, the associated points shall be removed from the TAC approved Telemetry Standard performance metrics calculations.

(5)	Each QSE and TSP shall notify ERCOT as soon as practicable when telemetry is returned to normal state.