| NPRR Number | 208 | NPRR Title | Registration and Settlement of Distributed Generation (DG) Less Than One MW |
| --- | --- | --- | --- |
| Date |  | July 12, 2010 |  |
| Submitter’s Information |  |  |  |
| Name |  | Phillip Oldham Katie Coleman |  |
| E-mail Address |  | poldham@andrewskurth.com kcoleman@andrewskurth.com |  |
| Company |  | Andrews Kurth, LLP on behalf of Texas Industrial Energy Consumers (TIEC) |  |
| Phone Number |  | (512) 320-9226 |  |
| Cell Number |  | (512) 773-0394 |  |
| Market Segment |  | Consumer |  |
| Comments |  |  |  |

For the reasons stated below, TIEC respectfully requests that the priority given to addressing the grey-boxed language in NPRR 208, Registration and Settlement of Distributed Generation (DG) Less Than One MW, be elevated to “Critical.”

TIEC submitted comments on NPRR 208 on May 5, 2010, expressing concern that the Settlement formula in Section 11.4.4.3, Load Reduction for Excess Non-PhotoVoltaic Distributed Generation item (a) does not comport with the Commission’s substantive rules.  Specifically, P.U.C. Subst. R. 25.213, Metering for Distributed Renewable Generation.  (b)(9) requires ERCOT to “develop processes for settlement of electricity consumption and out-flow [by customers with renewable DG] that reflect time of generation by January 1, 2009.”  In its order adopting P.U.C. Subst. R. 25.213, the Commission stated that profiles could be used “as a means of accounting for time of generation.”  As it was originally written, NPRR 208 contained profiles (taken from the current zonal protocols) that did not accurately reflect the time of generation output for certain resources.  While it is TIEC’s understanding that not everyone agrees with its reading of the rule, this issue was presented to both TAC and the Board and action was taken to create a revised profile and Settlement formula to address TIEC’s concern.

This revised formula was presented in the 6/11/10 COPS comments to TAC.  However, ERCOT submitted comments on 6/24/10 proposing to grey-box this new formula because it will require a system change.  Given this limitation, TAC voted to approve NPRR 208 with the 6/24/10 ERCOT comments, in which the new Settlement formula is grey-boxed.

TIEC does not object to grey-boxing the revised formula.  However, TAC assigned a priority level of High-medium for implementing the new Settlement formula.  TIEC would request that the ERCOT Board upgrade the priority level of implementing the grey-boxed language to “Critical,” in order to put into effect a process as soon as possible that more fully aligns with the intent of the P.U.C. Substantive Rules.

Proposed Protocol Language Revision

None at this time.

Emphasis added.

Project 34890, Order adopting new P.U.C. Subst. R. 25.213 at 9 (Apr. 24, 2008).

The Commission’s rule only applies to renewable DG.