## Slide 2: Graph Explanation
Data
  1-hour average of real-time (PI) data for an entire month
    Aggregate Wind Output
    Total ERCOT Load
  Note that March 26th was thrown out because some of the hours had known bad wind data (one resource’s output was around 3000 MW), otherwise, no other data filtering was done
  OOMEs, down balancing, congestion MWs were not added back in; this is strictly real-time output data
Analysis
    Min = smallest 1-hour average of wind output for that month
    Max = largest 1-hour average of wind output for that month
    Average = average of the 1-hour averages of wind output for that month

## Slide 3: Graph Explanation
Data Points Represent:
  For the hours corresponding to the Min and Max, the wind output was divided by the average Total ERCOT Load for the same hours to determine Wind Output as a Percent of Load
  For the Average value, the monthly average wind output was divided by the monthly average Total ERCOT Load

## Slide 4: Example of Data Analysis
April
  The maximum hourly average of wind output was 6416 MW on 4-4-10 HE 23:00
  The hourly average of load for the same date and time was 31219 MW
  100*(6416/31219) = 20.55 %

## Slide 5: Total Installed Wind Capacity vs. Wind Generation as a Percent of ERCOT Load (15 min)
Notes: Shown on this slide is 15-minute interval data for January through June 2010. The data on this slide is settlement quality.

## Slide 6: Total Installed Wind Capacity vs. Wind Generation as a Percent of ERCOT Load (Hour)
Notes: Shown on this slide is one-hour average data for January through June 2010. The data on this slide is settlement quality.