## Sheet1
Survey Concerning Steady State Working Group Base Cases
Current and Future Needs
BASE CASE | TRANSMISSION IN-SERVICE DATE | Months | Notes | Status | User or Potential User | Known/Identified Uses | Additional Potential Uses | Alternative Sources | Other Comments including importance of use
(YR) SPG1 | April 1, (YR) | March, April, May | Case to represent maximum expected load during month of transmission in-service date. | Current Data Set A created July 1st | ERCOT | Determining flat load for near term congestion and 5 year plan cases; SPS Evaluation; RMR Evaluation; Transmission Loss Factor Calculations; ERCOT Operations requested Studies;
(YR) SPG2 | April 1, (YR) | March, April, May | Case to represent lowest load on same day as the corresponding seasonal case (not a minimum case). | Current Data Set A created July 1st | ERCOT | Determining flat load for near term congestion and 5 year plan cases; SPS Evaluation; RMR Evaluation; Transmission Loss Factor Calculations; ERCOT Operations requested Studies;
(YR) SUM1 | July 1, (YR) | June, July, August, September | Case to represent the maximum expected load during the season. | Current Data Set A created July 1st | ERCOT | Determining flat load for near term congestion and 5 year plan cases; SPS Evaluation; RMR Evaluation; Transmission Loss Factor Calculations; ERCOT Operations requested Studies; Near term congestion analysis;dynamic data set for wind and no wind;Dynamic and Voltage Stability screening study; NERC Compliance
(YR) SUM2 | July 1, (YR) | June, July, August, September | Case to represent lowest load on same day as the corresponding seasonal case (not a minimum case). | Current Data Set A created July 1st | ERCOT | Determining flat load for near term congestion and 5 year plan cases; SPS Evaluation; RMR Evaluation; Transmission Loss Factor Calculations; ERCOT Operations requested Studies;
(YR) FAL1 | October 1, (YR) | October, November | Case to represent maximum expected load during month of transmission in-service date. | Current Data Set A created July 1st | ERCOT | Determining flat load for near term congestion and 5 year plan cases; SPS Evaluation; RMR Evaluation; Transmission Loss Factor Calculations; ERCOT Operations requested Studies;
(YR) FAL2 | October 1, (YR) | October, November | Case to represent lowest load on same day as the corresponding seasonal case (not a minimum case). | Current Data Set A created July 1st | ERCOT | Determining flat load for near term congestion and 5 year plan cases; SPS Evaluation; RMR Evaluation; Transmission Loss Factor Calculations; ERCOT Operations requested Studies;
(YR+1) WIN1 | Jan 1, (YR+1) | December, January, February | Case to represent the maximum expected load during the season. | Current Data Set A created July 1st | ERCOT | Determining flat load for near term congestion and 5 year plan cases; SPS Evaluation; RMR Evaluation; Transmission Loss Factor Calculations; ERCOT Operations requested Studies;
(YR+1) WIN2 | Jan 1, (YR+1) | December, January, February | Case to represent lowest load on same day as the corresponding seasonal case (not a minimum case). | Current Data Set A created July 1st | ERCOT | Determining flat load for near term congestion and 5 year plan cases; SPS Evaluation; RMR Evaluation; Transmission Loss Factor Calculations; ERCOT Operations requested Studies;
(YR+1) SUM1 | JULY 1, (YR+1) | N/A | Case to represent the maximum expected load during the season. | Current Data Set B created Nov. 1st | Tranmission Owners/Planners | Evaluations Required by NERC Standards;Determination of System improvements |  |  | Required by NERC Standards
(YR+2) SUM1 | JULY 1, (YR+2) | N/A | Case to represent the maximum expected load during the season. | Current Data Set B created Nov. 1st | Tranmission Owners/Planners | Evaluations Required by NERC Standards;Determination of System improvements |  |  | Required by NERC Standards
(YR+3) MIN | JAN 1, (YR+3) | N/A | Case to represent the absolute minimum load expected for (YR+3). | Current Data Set B created Nov. 1st | Tranmission Owners/Planners | Evaluations Required by NERC Standards;Determination of System improvements |  |  | Required by NERC Standards
(YR+3) SUM1 | JULY 1, (YR+3) | N/A | Cases to represent the maximum expected load during the season. | Current Data Set B created Nov. 1st | Tranmission Owners/Planners | Evaluations Required by NERC Standards;Determination of System improvements |  |  | Required by NERC Standards
(YR+4) SUM1 | JULY 1, (YR+4) | N/A | Case to represent the maximum expected load during the season. | Current Data Set B created Nov. 1st | Tranmission Owners/Planners | Evaluations Required by NERC Standards;Determination of System improvements |  |  | Required by NERC Standards
(YR+5) SUM1 | JULY 1, (YR+5) | N/A | Cases to represent the maximum expected load during the season. | Current Data Set B created Nov. 1st | Tranmission Owners/Planners | Evaluations Required by NERC Standards;Determination of System improvements |  |  | Required by NERC Standards
Potential Additional Cases
Proposed
Proposed
Proposed
Proposed
Proposed