OWG Meeting Notes 06/16/10

Attendance:

Andy Oliver		Texas RE		Brad Calhoun		CNP (TO)

Brent Torgrimson	Texas RE		Frank Owens		TMPA	(TO)

Jack Thormahlen	LCRA (QSE)		Yvette Landin		ERCOT

Ross Owen 		ONCOR (TO)		Leo Villanueva	ERCOT

Letty Soto-Reyes	ERCOT		Larry Parr		CPS Energy (TO)

Colleen Frosch	ERCOT		Jerry Willms		LCRA (TO)

Wayne Thomas	BTU (QSE)		Stan Morris 	 	TNMP (TO)

Dennis Sauriol (phone) AEP (TO)		Sherry Looney		Luminant (QSE)

Wayne Bolton		Brazos (QSE)		Rand Westbrook	CNP (TO)

Walter Reid		Wind Coalition	Rick Keetch (phone)	NRG (QSE)

Glen Havegrave (phone) CPS (TO)

09:30 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting report:

- OGRR 242 – SPWG will withdraw

- OGRR 241 – ROS approved

- NOGRR 035 – ROS approved

- OGRR 238 – ROS approved by e-mail vote

- OGRR 243 – ROS approved

- OGRR 244 – ROS approved

- NOGRR 036 – ROS approved

- NOGRR 037 – ROS approved

- OGRR 247 – ROS approved

- OGRR 233 – ROS approved to reject

- NOGRR 028 – ROS approved with ERCOT and OWG comments

- NOGRR 034 – ROS approved

The May meeting notes were reviewed.

All action items are highlighted in green.

OGRR 236 Fast Response Distributed Energy Resource (DER) – Tabled (PRR838).

NOGRR 038 Synchronization with OGRR243, Disturbance Monitoring Requirements Clarification – Reviewed no impact IA.  Discussed what a facility owner is.  OWG added clarifying language to NOGRR “facility/equipment owner’.  Facilities is not defined to the nodal protocols, OWG thought that the joint NPRSA/NOGRR task force will address this.  Group Recommended approval to ROS.

NOGRR 039 Synchronization of Section 1 with Nodal Protocols – This NOGRR aligns the Nodal Operating Guide with the Nodal Protocols for Section 1.  Brad (CNP) reviewed changes. Action Item to TRE on section 1.5.3, Texas Regional Entity Operations Training Seminar, should this section even be in the Operating Guides.  Recommended approval by OWG and will come back with IA.

OGRR 245 Alignment with NERC Reliability Standard PRC-001-1, System Protection Coordination - This aligns the Operating Guides with NERC Reliability Standards, specifically PRC-001-1, System Protection Requirements, Section B. Requirements, R2.2.  Rick (NRG) asked what is the difference between relay misoperatation and relay failure, this OGRR does not seem to be clear.  Rick Keetch also has a concern about timing issues, and what is meant by ‘known’.  Brad (CNP) stated that he believes this OGRR is in conflict with the LCC matrix.  OWG recommended to table until all comments and concerns can be addressed.  This will need to be submitted as a NOGRR because time has run out to get the OGRR implemented.  Brad suggested this OGRR be rejected since there already is the NERC Standard requirement or pass it on to the joint NPRSA/NOGRR task force.  OWG will table until a NOGRR is submitted and Glen (SPWG) will withdraw this OGRR.  Frank (TMPA) will get with Bill Blevins (ERCOT) to get a bigger group together to discuss again.

Walter (Wind Coalition) reviewed draft of nodal companion to OGRR 226, Generation Resource Response Time Requirements.

Operations Report – Leo (ERCOT) reviewed EEA Event report of 5/15.  Letty (ERCOT) reviewed the May Operations Report.

Operations Task Force Report – Stan (TNMP) stated that OTF group will draft NPRR and possible NOGRR revision to address “2% of voltage profile” issue for OWG to review before submitting.

Black Start Task Force Report – Frank (TMPA) reports that a meeting will be scheduled in July.  They will be discussing cranking path issue.

Compliance Report – Andy (TRE) reports that a BAL-001-1 discussion will be held at TRE.  CIP-006 ballot for TRE variance closes soon.  SWG has its first meeting on July 7th, will set Operations Training Seminar dates for next year.  Need to make sure these dates don’t interfere with Black Start Training.  On June 22nd all TRE phone numbers will be changing due to the separation from ERCOT.

Other discussion - Frank talked about low voltage issues that occurred and wanted to know what ERCOT looks at to try and help with the issue.  Leo (ERCOT) stated that the voltages around the area were high and not much help could be given.

Jack (LCRA) submitted NOGG 044 to be discussed at next meeting.

Reviewed draft of Texas Renewables Integration Plan (TRIP) – Action Item for group, Frank will send out the correct version for the group to review.  Everyone is to bring their comments to the next meeting.

Action Items for NPRSA/NOGRRTF Joint Task Force:

- Terminology between Operating Guides and Protocols

  - Nominal voltage set points

  - TO vs TSP

  - Generation resource and generation entity

  - Dispatch Instruction vs Directives

Next meeting - July 21st

12:25 meeting adjourned.