CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | July 21, 2010 |
| Revision Request Number | NOGRR034 |
| Revision Request Name | Rescind Telemetry Performance Calculation Exclusions |
| ERCOT Position – Provided by CEO Needed for Go-Live (7/15/10 ROS Report) Not Needed for Go-Live (Applicable only to grey-boxed language) No opinion on the need for Go-Live (See comments below for ERCOT CEO Position) |  |
| ERCOT submitted Nodal Operating Guide Revision Request (NOGRR) 034, Rescind Telemetry Performance Calculation Exclusions, to propose the removal of a requirement which would allow Market Participants to, at their discretion, have any of their Telemetry Performance data excluded from the periodic calculations in the Telemetry Performance Monitoring Program as this functionality was not accounted for in the current system build. The CEO Determination for NOGRR034 as submitted on 1/22/10 stated that if NOGRR034 was not approved, system changes would be needed to fulfill the Telemetry Performance data exclusion requirement. The ERCOT CEO has determined that grey-boxed language, as recommended in the 7/15/10 ROS Report for NOGRR034, is not necessary prior to Texas Nodal Market Implemenation Date (TNMID) and agrees with the grey-boxing of said language to defer associatd system impacts. However, the ERCOT CEO has determined that the remaining language in the 7/15/10 ROS Report is necessary prior to TNMID. The ERCOT CEO has the right to reevaluate the NOGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” (7/15/10 ROS Report ) Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” ( Applicable only to grey-boxed language) Explain: ERCOT finds that grey-boxed language within NOGRR034 as documented in the 7/15/10 ROS Report will create system impact and should be grey-boxed.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). (7/15/10 ROS Report) No impact to ERCOT Explain: The ERCOT CEO finds no impact associated with the un-boxed portions of NOGRR034; however, the ERCOT CEO does find system impact associated with the grey boxed language in the 7/15/10 ROS Report for NOGRR034 and agrees that said language should be grey-boxed..