- Summary of Operating Guide Revisions

- Effective:  August 1, 2010

- Section 1:

OGRR244 – Synchronization with PRR821, Update of Section 21, Process for Protocol Revision

This Operating Guide Revision Request (OGRR) revises Section 1.3, Process for Operating Guide Revision, to more effectively align with the current stakeholder process.  Changes were made to bring consistency between the OGRR process and the Protocols, where applicable; remove arbitrary or conflicting timelines; clarify the commenting process; expand on the deemed rejection of an OGRR to include email voting; and include formatting and administrative changes.

Revised Subsection: 1.3

OGRR247 – Process for Transition to Nodal Operating Guide Sections

This OGRR authorizes an orderly transition from the zonal Operating Guides to the Nodal Operating Guides.  This OGRR provides a transparent mechanism to retire zonal Operating Guide sections and implement Nodal Operating Guide sections.  This OGRR also requires two Notices to Market Participants:  the first Market Notice 30 days prior to the retirement or effective date and the second Market Notice no less than ten days prior to the retirement or effective date.

Revised Subsections: 1.3.7 (new), 1.3.7.1 (new), 1.3.7.3 (new), 1.3.7.4 (new)

- Section 7:

OGRR241 – Special Protection System Monitoring Requirements

This OGRR requires automated notification of Special Protection System (SPS) status and clarifies SPS arming and reporting requirements.

Revised Subsection: 7.2.2

OGRR243 – Disturbance Monitoring Requirements Clarification

This OGRR changes data recording and reporting requirements for equipment operating at 100kV or above at Facilities where fault recording equipment is required.

Revised Subsections: 7.1.2.3, 7.1.2.4