## Start -- 2010 v1.3
Getting Started
This sheet serves as an overview of the process to assign a Profile ID to an ESI ID. Profile ID assignments are to be based on the historical data of the ESI ID, without regard to the specific customer(s) of the premises. Regarding Annual Validation Load Profile ID assignments, ERCOT is responsible for the determination of the Profile Segment as directed by this Profile Decision Tree. TDSPs are responsible for verifying that ERCOT's Profile Segment determination is consistent with the tariff under which the ESI ID is currently served, and for submitting the necessary Profile ID change transactions reflecting the ERCOT determined Load Profile Segment.
Additionally, TDSPs must assign a valid code for each of the five Profile ID components. These components are: Profile Type, Weather Zone, Meter Data Type, Weather Sensitivity and Time-Of-Use Schedule. Please note that the Profile Type is comprised of the Profile Group and the Profile Segment.
For new ESI IDs TDSPs are responsible for assigning a complete Profile ID, using default components as directed by this Profile Decision Tree. Reference the various tabs within this workbook to complete the assignments.
Non-Opt In Entities should proceed directly to the NOIEs tab.
Profile ID assignments must adhere to the Protocols--even if all details are not listed within this document.
Example of a completed Profile ID: RESLOWR_EAST_NIDR_NWS_NOTOU
1. Determine the Profile Type Code
| A. | Select the Profile Group
Select the appropriate Profile Group from the following: NM (for Non-Metered), RES (for Residential), or BUS (for Business).
| B. | Select the Profile Segment
Valid Profile Segments are dependent upon the Profile Group and other factors. Please see the Segment Assignment tab.
Valid Segments for NM are: LIGHT and FLAT.
Valid Segments for RES are: LOWR, HIWR, LOPV, HIPV, LOWD and HIWD.
Valid Segments for BUS are: NODEM, LOLF, MEDLF, HILF, IDRRQ, OGFLT, NODPV, LOPV, MEDPV, HIPV, OGFPV, NODWD, LOWD, MEDWD, HIWD and OGFWD.
| C. | Concatenate the Profile Group and Profile Segment to form the Profile Type Code
Convert the Profile Group and Profile Segment to one field, e.g., BUSLOLF.
2. Select the Weather Zone Code
| A. | Locate the ESI ID's service address ZIP Code on the ZipToZone tab.
| B. | Cross reference the ZIP Code to the Weather Zone.
| C. | Assign the valid Weather Zone Code: COAST, EAST, FWEST, NORTH, NCENT, SOUTH, SCENT, or WEST.
3. Select the Meter Data Type Code
| A. | Assign NIDR for ESI IDs which do not have an IDR, are part of a Load Research sample and have an IDR installed for Load Research purposes, or are served with an advanced meter and are served under Time-of-Use Schedule TOU01, TOU02, or TOU13 until such time ERCOT implements Load Profile IDs that can have both IDR meter data type codes and TOU schedule codes. See Segment Assignment tab, Section III., Step 1.
| B. | Assign IDR for ESI IDs which have an IDR and are not exempt per A. above.
4. Select the Weather Sensitivity Code
Assign the Weather Sensitivity Code as follows unless notified by ERCOT to assign a
different Weather Sensitivity Code, per Section 11 of the Protocols.
| A. | Assign NWS for ESI IDs with a meter data type code of NIDR.
| B. | Assign WS for ESI IDs which have a meter data type code of IDR.
| B. | Assign NWS for ESI IDs that have a profile type code a type code of BUSIIDRRQ.
| C. | Assign WS for ESI IDs that have a meter data type code of IDR and have a profile type code other than BUSIDRRQ.
5. Select the Time-Of-Use Schedule Code
| A. | Assign NOTOU for ESI IDs not served under a Time-Of-Use schedule (for kWh), or if Meter Data Type is IDR unless the IDR ESI ID is served under TOU schedule TOU01, TOU02, or TOU13 in which case the appropriate Time-Of-Use Schedule Code should be assigned.
| B. | For NIDR ESI IDs served under a TOU schedule (for kWh), assign the appropriate Time-Of-Use Schedule Code from the TOU Schedules tab.
6. Concatenate the five appropriate components (separated by underscores) to produce a Profile ID
Example of a completed Profile ID: BUSHILF_FWEST_NIDR_NWS_NOTOU