|  |  |  |  | System Planning Division |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Monthly Status Report to Reliability and Operations Subcommittee for July 2010 |  |  |
|  |  | Report Highlights |  |  |  |  |  |  |
| Item |  |  |  |  |  |  |  |  |
| 1. | - ERCOT is currently tracking 208 active generation interconnection requests totaling over 69,000 MW. This includes over 41,000 MW of wind generation. |  |  |  |  |  |  |  |
| 2. | - Mid-Term Planning is currently reviewing proposed transmission improvements with a total cost of $255.8 Million - Transmission Projects approved in 2010 total $55.4 Million - All projects (in engineering, routing, licensing and construction) total approximately $9.6 Billion - Transmission Projects energized in 2010 total about $435 million |  |  |  |  |  |  |  |

Table of Contents

1.	Generation Interconnection	1

1.1	New Generation Registering for Commercial Operations	1

1.2	Publicly Disclosed Generation Interconnection Projects	4

1.3	Generation Projects Undergoing Full Interconnection Studies (not otherwise public)	6

1.4	Wind Generation	7

Wind Capacity Installed by Year	7

2.	Regional Planning Group Project Reviews	9

3.	Congestion Costs	10

4.	Wind Generation as a Percent of Load	15

5.	Other Notable Activities	16

# 1.	Generation Interconnection

Additional information regarding detailed generation interconnection and impact studies is contained in the “Generation Project Interconnection Information” folder in the “Operations and System Planning” area on the ERCOT website:  http://planning.ercot.com/login/login.

## New Generation Registering for Commercial Operations

The total installed wind capacity has remains at 9,317 MW, of which 7,958 MW (85%) is located within the Western Congestion Management Zone.

New Generation Interconnection Agreements  - none

Summary of Active Generation Interconnection Requests

| GENERATION INTERCONNECTION REQUESTS CURRENTLY BEING PROCESSED |  |  |  |  |
| --- | --- | --- | --- | --- |
| Currently tracking 208 active generation interconnection or change requests |  |  |  |  |
| As of July 31, 2010 | North | South | West | Total |
| Security Screening Study | 1 | 3 | 7 | 11 |
| SSS Completed | 10 | 13 | 16 | 39 |
| Full Interconnect Study | 22 | 14 | 84 | 120 |
| FIS Completed | 3 | 14 | 2 | 19 |
| Interconnect Agreement Completed | 8 | 5 | 5 | 18 |
| Capacity under Interconnection Agreements | 5,192 | 2,575 | 626 | 8,393 |
| Capacity for Grid, MW | 20,339 | 17,277 | 31,926 | 69,542 |
| Wind Capacity, MW | 4,867 | 6,995 | 29,491 | 41,353 |

| Fuel Type | Confidential Projects (MW) | Projects Under Full Study (MW) | Projects w/ Interconnect Agreement/Public Letter (MW) | Grand Total (MW) |
| --- | --- | --- | --- | --- |
| Gas-CC | - | - | 3,972 | 13,417 |
| Gas-CT | - | - | 0 | 547 |
| Total Gas | 2,169 | 7,823 | 3,972 | 13,964 |
| Nuclear | 0 | 0 | 5,900 | 5,900 |
| Coal | 0 | 1,771 | 3,213 | 4,984 |
| Wind | 6,647 | 28,968 | 5,738 | 41,353 |
| Solar | 409 | 639 | 0 | 1,048 |
| Biomass | 58 | 50 | 145 | 253 |
| Other | 0 | 740 | 1,300 | 2,040 |
| Grand Total | 9,283 | 39,991 | 20,268 | 69,542 |

## Publicly Disclosed Generation Interconnection Projects

The table below summarizes the publicly disclosed generation projects for the ERCOT region.

(Status: IA=Interconnect Agreement, PL=Public Letter, XX= cancelled)

| Generation Interconnections as of July 31, 2010 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| INR | SiteName | Status | County | Region | COD | Fuel Type |  | MW For Grid | Change from Last Report |
| 05INR0015c | Gulf Wind 3 | PL | Kenedy | South | Sep-10 |  | Wind | 400 |  |
| 09INR0082 | Cedro Hill Wind | IA | Webb | South | Sep-10 |  | Wind | 150 |  |
| 05INR0015b | Gulf Wind 2 | PL | Kenedy | South | Oct-10 |  | Wind | 400 |  |
| 08INR0033 | Lufkin | IA | Angelina | North | Dec-10 |  | Biomass | 45 |  |
| 12INR0003 | Throckmorton Wind Farm | PL | Throckmorton | West | Dec-10 |  | Wind | 400 |  |
| 08INR0065 | Buffalo Gap 4 and 5 | PL | Nolan | West | Mar-11 |  | Wind | 465 |  |
| 09INR0029 | CFB Power Plant Units 11&12 | IA | Calhoun | South | Mar-11 |  | Coal | 263 |  |
| 10INR0010 | Jack County 2 | IA | Jack | North | Jun-11 |  | Gas-CC | 620 |  |
| 08INR0011 | Senate Wind Project | IA | Jack | North | Nov-11 |  | Wind | 150 |  |
| 08INR0038 | M Bar Wind | PL | Andrews | West | Dec-11 |  | Wind | 194 |  |
| 09INR0034 | Gatesville Wind Farm | PL | Coryell | North | Dec-11 |  | Wind | 200 |  |
| 08INR0025 | Pistol Hill Energy Center | PL | Ector | West | Dec-11 |  | Wind | 300 |  |
| 09INR0001 | Sandy Creek 1 | IA | McLennan | North | Feb-12 |  | Coal | 925 |  |
| 09INR0007 | Nacogdoches Project | IA | Nacogdoches | North | Apr-12 |  | Biomass | 100 |  |
| 07INR0004 | Pampa Energy Center | PL | Gray | West | May-12 |  | Coal | 165 |  |
| 09INR0024 | B&B Panhandle Wind | PL | Carson | West | Jun-12 |  | Wind | 1,001 |  |
| 09INR0037 | Scurry County Wind III | PL | Scurry | West | Jun-12 |  | Wind | 350 |  |
| 12INR0004 | Fort Concho Wind Farm | PL | Tom Green | West | Jul-12 |  | Wind | 400 |  |
| 06INR0012b | Sherbino Mesa Wind Farm 2 | IA | Pecos | West | Jul-12 |  | Wind | 150 |  |
| 09INR0036 | McAdoo Energy Center II | PL | Dickens | West | Dec-12 |  | Wind | 500 |  |
| 08INR0018 | Gunsight Mountain | IA | Howard | West | Dec-12 |  | Wind | 120 |  |
| 06INR0022c | Penascal Wind Farm 3 | IA | Kenedy | South | Dec-12 |  | Wind | 202 |  |
| 06INR0026 | Wild Horse Mountain | IA | Howard | West | Dec-12 |  | Wind | 120 |  |
| 06INR0006 | Cobisa-Greenville | IA | Hunt | North | May-13 |  | Gas-CC | 1,792 |  |
| 10INR0020a | Panda Temple Power | IA | Bell | North | May-13 |  | Gas-CC | 780 |  |
| 04INR0011c | Cottonwood Wind | IA | Shackelford | West | Jun-14 |  | Wind | 100 |  |
| 04INR0011b | Cedar Elm | IA | Shackelford | West | Jun-14 |  | Wind | 136 |  |
| 14INR0005 | White Stallion Energy Center | PL | Matagorda | South | Jul-14 |  | Coal | 1,200 |  |
| 12INR0016 | Las Brisas Energy Center | IA | Nueces | South | Sep-14 |  | Other | 1,300 |  |
| 14INR0002 | Coleto Creek Unit 2 | IA | Goliad | South | Nov-14 |  | Coal | 660 |  |
| 10INR0020b | Panda Temple Power | IA | Bell | North | Dec-14 |  | Gas-CC | 780 |  |
| 15INR0002 | Comanche Peak 3 and 4 | PL | Somervel | North | Jan-15 |  | Nuclear | 3,200 |  |
| 15INR0008 | STP 3 and 4 | PL | Matagorda | South | Jan-15 |  | Nuclear | 2,700 |  |
|  |  |  |  |  |  |  | Total | 20,268 |  |

County Location of Installed Generation and Interconnection Requests (all fuels)

## Generation Projects Undergoing Full Interconnection Studies (not otherwise public)

| INR | County | Capacity | COD | Fuel |  | INR | County | Capacity | COD | Fuel |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 08INR0049 | Clay | 50 | TBD | Wind |  | 09INR0054 | Stonewall | 149 | TBD | Wind |
| 09INR0061 | Kent | 258 | TBD | Wind |  | 10INR0048 | Hardeman | 1000 | TBD | Wind |
| 10INR0046 | Jim Hogg | 264 | TBD | Wind |  | 10INR0045 | Webb | 734 | TBD | Wind |
| 10INR0016 | Childress | 150 | TBD | Wind |  | 10INR0054 | Palo Pinto | 36 | TBD | Wind |
| 10INR0079 | Nolan | 60 | TBD | Wind |  | 10INR0069 | Rusk | 13 | TBD | Coal |
| 10INR0029 | Hood | 810 | TBD | Gas |  | 09INR0081 | Rusk | 18 | TBD | Coal |
| 10INR0013 | Upton | 400 | TBD | Wind |  | 10INR0052a | Knox | 21 | TBD | Wind |
| 10INR0057 | Taylor | 200 | TBD | Wind |  | 10INR0015 | Mitchell | 350 | Oct-10 | Wind |
| 10INR0041 | Floyd | 135 | Oct-10 | Wind |  | 09INR0074 | Motley | 70 | Oct-10 | Wind |
| 10INR0081a | Clay | 30 | Oct-10 | Wind |  | 10INR0089 | Harris | 40 | Oct-10 | Other |
| 11INR0029 | Throckmorton | 200 | Nov-10 | Wind |  | 07INR0013 | Coke | 200 | Dec-10 | Wind |
| 07INR0015 | Foard | 180 | Dec-10 | Wind |  | 07INR0035 | Tom Green | 270 | Dec-10 | Wind |
| 10INR0008 | Pecos | 500 | Dec-10 | Wind |  | 08INR0062 | Archer | 249 | Dec-10 | Wind |
| 10INR0019 | Deaf Smith | 609 | Dec-10 | Wind |  | 11INR0012 | Duval | 400 | Dec-10 | Wind |
| 10INR0032 | Navarro | 775 | Dec-10 | Gas |  | 10INR0033 | Armstrong | 399 | Dec-10 | Wind |
| 10INR0042 | Mason | 170 | Dec-10 | Wind |  | 10INR0051 | Brazoria | 200 | Dec-10 | Wind |
| 10INR0056 | Borden | 249 | Dec-10 | Wind |  | 10INR0060 | Willacy | 401 | Dec-10 | Wind |
| 10INR0077 | Callahan | 101 | Dec-10 | Wind |  | 10INR0080 | Presidio | 144 | Dec-10 | Solar |
| 10INR0082 | Travis | 30 | Dec-10 | Solar |  | 11INR0076 | Archer | 94 | Jan-11 | Wind |
| 11INR0050 | Crosby | 149 | Mar-11 | Wind |  | 11INR0081 | Live Oak | 72 | Mar-11 | Wind |
| 11INR0071 | Harris | 7 | Apr-11 | Gas |  | 11INR0075 | Fort Bend | 15 | Apr-11 | Coal |
| 11INR0084 | Ector | 45 | Apr-11 | Wind |  | 11INR0086 | Travis | 60 | Apr-11 | Solar |
| 10INR0009 | Castro | 300 | May-11 | Wind |  | 11INR0037 | Smith | 50 | May-11 | Biomass |
| 11INR0048 | Harris | 300 | May-11 | Gas |  | 11INR0061 | Presidio | 90 | May-11 | Solar |
| 11INR0060 | Tom Green | 90 | May-11 | Solar |  | 11INR0058 | Pecos | 135 | May-11 | Solar |
| 11INR0062 | Nueces | 149 | May-11 | Wind |  | 11INR0087 | Wise | 90 | May-11 | Gas |
| 11INR0033b | Cameron | 200 | May-11 | Wind |  | 11INR0033a | Cameron | 200 | May-11 | Wind |
| 08INR0020 | Eastland | 200 | Jun-11 | Wind |  | 09INR0050 | Fannin | 1200 | Jun-11 | Gas |
| 10INR0023 | Haskell | 386 | Jun-11 | Wind |  | 11INR0054 | San Patricio | 161 | Jun-11 | Wind |
| 11INR0057 | Cameron | 165 | Jun-11 | Wind |  | 11INR0065 | Nueces | 240 | Jun-11 | Wind |
| 11INR0006 | Lamar | 579 | Jul-11 | Gas |  | 11INR0040 | freestone | 640 | Aug-11 | Gas |
| 11INR0039 | Starr | 201 | Sep-11 | Wind |  | 11INR0047 | Deaf Smith | 600 | Sep-11 | Wind |
| 07INR0014a | Wilbarger | 140 | Oct-11 | Wind |  | 07INR0014b | Wilbarger | 70 | Oct-11 | Wind |
| 10INR0062a | Pecos | 80 | Oct-11 | Wind |  | 10INR0081b | Clay | 19 | Oct-11 | Wind |
| 10INR0021 | Grayson | 646 | Nov-11 | Gas |  | 11INR0013 | Mills | 150 | Dec-11 | Wind |
| 11INR0025 | Crockett | 400 | Dec-11 | Wind |  | 11INR0043 | Coke | 300 | Dec-11 | Wind |
| 11INR0067 | Cameron | 78 | Dec-11 | Wind |  | 11INR0070 | Reeves | 50 | Dec-11 | Solar |
| 12INR0034 | Borden | 342 | Dec-11 | Wind |  | 09INR0048 | Jack | 150 | Dec-11 | Wind |
| 09INR0075 | Kinney | 248 | Dec-11 | Wind |  | 12INR0021 | Edwards | 165 | Jan-12 | Wind |
| 12INR0033 | Motley | 150 | Jan-12 | Wind |  | 10INR0085 | Ector | 40 | Jan-12 | Solar |
| 10INR0018 | Madison | 550 | Mar-12 | Gas |  | 12INR0042 | Deaf Smith | 400 | Mar-12 | Wind |
| 09INR0031 | Ector | 275 | May-12 | Gas |  | 12INR0007 | Lamar | 296 | May-12 | Gas |
| 11INR0049 | Wharton | 275 | May-12 | Gas |  | 08INR0031 | Childress | 100 | Jun-12 | Wind |
| 12INR0006 | Limestone | 875 | Jun-12 | Coal |  | 10INR0022 | Harris | 1380 | Jun-12 | Gas |
| 08INR0041 | Coke | 200 | Oct-12 | Wind |  | 12INR0026 | Randall | 400 | Oct-12 | Wind |
| 08INR0044 | Concho | 200 | Nov-12 | Wind |  | 12INR0035 | Nueces | 249 | Nov-12 | Wind |
| 12INR0043 | Ector | 290 | Nov-12 | Wind |  | 08INR0042 | Coke | 200 | Dec-12 | Wind |
| 09INR0025 | Concho | 180 | Dec-12 | Wind |  | 08INR0054 | Comanche | 401 | Dec-12 | Wind |
| 12INR0005 | Floyd | 1100 | Dec-12 | Wind |  | 12INR0022 | Hidalgo | 200 | Dec-12 | Wind |
| 12INR0029 | Swisher | 500 | Dec-12 | Wind |  | 10INR0024 | Briscoe | 2940 | Jan-13 | Wind |
| 12INR0027 | Gray | 200 | Jan-13 | Wind |  | 09INR0058 | Howard | 250 | Mar-13 | Wind |
| 12INR0018 | Gray | 500 | Apr-13 | Wind |  | 10INR0062b | Pecos | 220 | May-13 | Wind |
| 09INR0041 | Mitchell | 300 | Jun-13 | Wind |  | 09INR0051 | Borden | 249 | Jun-13 | Wind |
| 13INR0016 | Deaf Smith | 251 | Aug-13 | Wind |  | 13INR0004 | Deaf Smith | 500 | Oct-13 | Wind |
| 13INR0005 | Carson | 600 | Oct-13 | Wind |  | 08INR0023 | Floyd | 100 | Dec-13 | Wind |
| 08INR0022 | Floyd | 100 | Dec-13 | Wind |  | 12INR0002a | Briscoe | 200 | Dec-13 | Wind |
| 09INR0077 | Reagan | 500 | Dec-13 | Wind |  | 13INR0007 | Pecos | 200 | Dec-13 | Wind |
| 09INR0073 | Scurry | 200 | Dec-13 | Wind |  | 13INR0010 | Parmer | 1200 | Dec-13 | Wind |
| 08INR0019c | Gray | 250 | Jan-14 | Wind |  | 08INR0019b | Gray | 250 | Jan-14 | Wind |
| 08INR0019a | Gray | 250 | Jan-14 | Wind |  | 13INR0006 | Gray | 750 | Jan-14 | Wind |
| 14INR0003 | Nolan | 850 | Jun-14 | Coal |  | 12INR0002b | Briscoe | 200 | Dec-14 | Wind |
| 14INR0001 | Pecos | 500 | Dec-14 | Wind |  | 12INR0002c | Briscoe | 350 | Dec-15 | Wind |
| 16INR0002 | Brazoria | 700 | Jun-17 | Other |  |  |  |  |  |  |

## Wind Generation

## Wind Capacity Installed by Year

County Location of Installed Capacity and Interconnection Requests (Wind only)

# Regional Planning Group Project Reviews

- Oncor submitted a project to relieve congestion related to new wind units in the Lamesa area.  The project will upgrade the Lamesa to Bluff Creek 138 kV line, rebuild the Bluff Creek to China Grove 138 kV line, rebuild the Lamesa to Ackerly Vealmoor 69 kV line to 138/69 kV double circuit, rebuild the Lamesa 138 kV switching station, build a new 138 kV Ackerly Vealmoor station, add second circuits to all rebuilt lines and include station upgrades at China Grove and Big Spring.  The cost of this project is $ 80.8 M.  This project will be reviewed to ensure that the improvements fit into the likely CREZ transmission solution for the area.  This project is in ERCOT Independent Review.

- Sharyland Utilities submitted a project to construct and operate the ERCOT Southeast Loop facilities consisting of a 345 kV double circuit from Lufkin to Canal 345 kV substation on the northeast side of Houston.  This project will cost $359 M with an estimated completion date of summer 2013.  The ERCOT Independent Review of this project has been completed and it will not be recommended.

- Centerpoint Energy has submitted a project to construct a new 345 kV double circuit line to allow greater power imports into the Houston area.  The project involves expanding the Fayetteville and Zenith substations and constructing a new 345 kV double circuit from Fayetteville to Zenith.  The proposal also includes looping the Fayette Power Project to Salem 345 kV circuit into Fayetteville and upgrading the Fayette Power Project to Fayetteville 345 kV double circuit line.  The project is estimated to cost $175 M.  The ERCOT Independent Review of this project has been completed. ERCOT Staff will present it to the ERCOT Board of Directors for endorsement in August.

# Congestion Costs

Dollars shown in graphs are settlement quality.

OOMC – last 13 months in million$

OOM Down – last 13 months in million$

Local Balancing Energy Down – last 13 months in million$

OOM Up – last 13 months in million$

Local Balancing Energy Up – last 13 months in million$

Replacement Reserve – last 13 months in thousand$

Binding Constraints & Capacity Shortages– June, 2010

| Contingency | Binding Element | Estimated Costs | Transmission Project | Clearance |
| --- | --- | --- | --- | --- |
| Watermill Switch - West Levee Switch & Sargent Road 345kV | Duncanville South - Cedar Hill 138kV | $ 5,610,488 | Cedar Hill Switch second 345/138 kV autotransformer [13TPIT0062] | Outage on Cedar Hill Switch 345kVAT2 |
| Comanche Peak - Johnson Switch 345kV | Wolf Hollow - Rocky Creek 345kV | $ 981,010 |  | Outage on Comanche Peak SES-Decordova SES 345kV |
| Meadow - PH Robinson 345kV | North Alvin - Hastings 138kV | $ 751,603 | Upgrade North Alvin-Hastings [14TPIT0018] | Outage on Oasis-WA Parish 345kV |
| Capacity |  | $ 479,575 |  |  |
| Everman Switch 138kV Outage Military Hwy Outage | Planned Outages | $ 288,745 |  |  |
| Oklaunion - Fisher Road Switch - Bowman 345kV | Bomarton TU - Baylor County Tap 69kV | $ 231,811 |  |  |
| Lon Hill - White Point 345kV | Alazan - Barney Davis 138kV | $ 227,446 | Barney Davis to Nelson Sharpe 138 kV line rebuild [12TPIT0069] |  |
| Moss Switch - Holt Switch 138kV | Odessa North 138/69KV Autotransformer 1 | $ 204,961 | Odessa EHV Switch #2 [11TPIT0059] | Outage on Ector Harper- Moss Switch 138kV |
| Graham SES - Parker Switch 345kV | Flat Creek - Leon Switch 138kV | $ 184,483 | Leon - Flat Creek 138 kV line rebuild [08TPIT0107] | Outage on Jacksboro Switching to Willow Creek 345kV |
| West Levee 345/138KV T1 Autotransformer | West Levee 345/138KV T2 Autotransformer | $ 173,165 |  | High Load in Dallas area |

Inter-zonal Congestion

# Wind Generation as a Percent of Load

One-hour average Settlement quality data shown.

# Other Notable Activities

- Work on the 2010 Five-Year Transmission Plan is underway.  The initial set of projects needed to reliably serve load in 2015 has been identified and comments have been received.  The analysis is currently focused on finding reliability projects for the years 2011-2014 and projects to relieve congestion for 2015.

- Nodal Network Model Management System Topology Processor base case building modernization work continues with bi-weekly meetings/calls with SSWG and weekly ERCOT topology processor output.  ERCOT has produced and distributed a spreadsheet that will be used for Phase II updates.  Most TSP have returned the spreadsheet on-time.

- Studies to determine the ERCOT System Voltage Profile will begin shortly.  Market Participants should participate in these to make sure that their interests and unit capabilities are taken into consideration.

- Blackstart testing will begin soon.  ERCOT staff are being assembled to witness the required tests.

- Initial determinations of “not required to support ERCOT System reliability” were made for Greens Bayou 5 and SR Bertron 2.

- The CREZ Reactive Study, being performed by ABB and led jointly by ERCOT and the CREZ TSPs, to optimize the reactive support equipment required to implement the CREZ plan is ongoing.  This study will define the size, type and location of the equipment as well as study any associated subsynchronous issues.

- Work on the Long-Term System Assessment/DOE Study has begun.  A separate subgroup of RPG has been established to focus on this study and is meeting monthly.  The current focus is on background information that will be used for developing the scenarios to be studied.  The next meeting is July 23rd.