## Slide 1: RTWG Report to TAC August 5, 2010
Howard Daniels

## Slide 2: Overview
1 voting item: Quarterly Renewables Report
Quarterly Report Highlights
New Renewable Technologies Issues Added in July
Texas Renewables Integration Plan status report
RTWG Report to TAC
08/05/10
Notes: <number>

## Slide 3: Quarterly Report Highlights - 2Q10
Total “new” renewable generation capacity in Texas now exceeds 10,000 MW.
RTWG Report to TAC
08/05/10
Notes: <number>

## Slide 4: Quarterly Report Highlights - 2Q10
Total new wind generation capacity in ERCOT increased from 9,117 MW to 9,317 MW, an increase of 200 MW from the last report.
The legislative “target” of 10,000 MW of installed new renewable capacity by 2025 was achieved in 2Q10.
For the 6 months ending June 30, 2010, wind generation supplied 8.7% of the total energy produced in ERCOT
On June 12, 2010, ERCOT recorded a new high for instantaneous wind output of 7,016 MW, which represented 15.8% of the load being served at the time
For the second quarter in a row, no new interconnection agreements were signed for renewable resources in ERCOT. Three non-renewable plants totaling 3,616 MW signed interconnection agreements in the same 2 quarters.
RTWG Report to TAC
08/05/10
Notes: <number>

## Slide 5: Quarterly Report Highlights - 2Q10
RTWG Report to TAC
08/05/10
Installed Wind Generation Capacity in ERCOT as of 06/30/10
Notes: <number>

## Slide 6: Quarterly Report Highlights - 2Q10
RTWG Report to TAC
08/05/10
ERCOT Wind Generation as a Percentage of Total Energy Production
Notes: <number>

## Slide 7: Quarterly Report Highlights - 2Q10
RTWG Report to TAC
08/05/10
Cumulative Monthly Wind Generation (MWh) in ERCOT
Notes: <number>

## Slide 8: Quarterly Report Highlights - 2Q10
RTWG Report to TAC
08/05/10
New Renewable Generation Capacity Under Study at ERCOT
 | Capacity (MW) |  | 
Project Description | Wind | Solar | Biomass
Projects with Interconnect Agreement/Public Letter | 5,738 | 0 | 145
Projects Under Full Interconnect Study | 27,110 | 639 | 50
Confidential Projects | 11,457 | 459 | 58
Total | 44,305 | 1,098 | 253
Notes: <number>

## Slide 9: Quarterly Report Highlights - 2Q10
Completed PRRs/NPRRs
  PRR 833 Primary Frequency Response from Existing WGRs
  PRR 841 Revise Total Wind Power Forecast
  NPRR 210 Wind Forecasting Change to P50, Synchronization with PRR 841
  NPRR 214 Wind-powered Generation (WGR) High Sustained Limit (HSL) Update Process
RTWG Report to TAC
08/05/10
Notes: <number>

## Slide 10: Quarterly Report Highlights - 2Q10
New Issues Added in Second Quarter
  SP 10 - DOE Long-Term Planning Study
    Long-term transmission planning study and increased participation with state agencies, non-governmental organizations and other interested parties
  SP 11 - Sub-Synchronous Interactions
    Evaluate impact of series-compensated transmission lines which can result in interactions with generators at very low frequencies that can be damaging to the generators
  WT 8 - Ancillary Services Evaluation Workshop
    Post Nodal Implementation Date (4-6 months) focusing on the effectiveness of ancillary service products in the nodal market design. Discussion of whether additional services or ancillary products are desirable or necessary.
  WT 9 - Storage Workshop II
    Workshop to focus on storage technologies issues.
RTWG Report to TAC
08/05/10
Notes: <number>

## Slide 11: New Renewable Technologies Issues Added in July
  SO 35 – Operational Checklist for Resource Interconnection
    Establish a procedure by which ERCOT, TSPs and interconnecting Resources check RARF data Resource capabilities to identify any gaps with Protocols and Operating Guides that need to be addressed prior to commercial operation. Consider the development of an ERCOT feedback loop identifying operational capability deficiencies.
  SP 12 – Short Circuit Current Availability for Wind Turbines
    Consider impact of availability of short-circuit current sources in or around wind generation facilities during 3-phase faults.
  SP 13 – Track Amount of Installed Distributed Generation and Other Technologies that Impact Load Magnitude and Shape
    Develop a process to track the amount of installed distributed generation and any other technologies that impact load magnitude and load shape.
  WT 10 – Periodic Renewable Resource Seminar
    Encourage the ERCOT Board to identify a means of engaging or learning from other ISOs’ experience operating with renewable resources.
RTWG Report to TAC
08/05/10
Notes: <number>

## Slide 12: Texas Renewables Integration Plan status report
Recent comments on draft TRIP received from DWG, OWG, PDCWG, QMWG and market participants. All comments were rolled into single redline version 7 which was reviewed July 26-27 by RTWG.
New draft v8 circulating on RTWG list serve.
TRIP to be finalized at the Aug. 25-26 RTWG meeting and presented to TAC in September.
RTWG Report to TAC
08/05/10
Notes: <number>