Date: 	July 29, 2010

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

None.

NPRRs Recommended for Approval

  - NPRR218, Resolution of Alignment Item A71 - Add Protocol Description of the Power Balance Penalty Factor used in the SCED [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will add a description of the power balance penalty factor to the Nodal Protocol sections that describe the implemented constraint set utilized in the Security Constrained Economic Dispatch (SCED) optimization.

Procedural History:  NPRR218 was posted on 3/23/10.  On 4/22/10, PRS unanimously voted to table NPRR218.  On 5/20/10, PRS unanimously voted to refer NPRR218 to the Wholesale Market Subcommittee (WMS) and the Nodal Advisory Task Force (NATF).  On 6/17/10, PRS voted to recommend approval of NPRR218 as amended by the 6/16/10 WMS comments as revised by PRS.  There was one abstention from the Consumer Market Segment.  On 7/22/10, PRS voted to endorse and forward the 6/17/10 PRS Report and Impact Analysis for NPRR218 to TAC.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

  - NPRR228, Resolution of Alignment Items A2, A80, A83 and A93 - As-Built Treatment and Settlement of Combined Cycle Generation Resources in ERCOT Market Systems [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the Nodal Protocol language to include a description of the treatment and Settlement of Combined Cycle Generation Resources in the ERCOT Day-Ahead, reliability and Real-Time systems.

Procedural History:  NPRR228 was posted on 4/23/10.  On 5/20/10, PRS unanimously voted to table NPRR228 for one month.  On 6/17/10, PRS unanimously voted to recommend approval of NPRR228 as amended by the 5/18/10 ERCOT comments as revised by PRS.  On 7/22/10, PRS voted to endorse and forward the 6/17/10 PRS Report and Impact Analysis for NPRR228 to TAC.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

  - NPRR233, Clarifying Method of Enforcing CRR Auction Limitation on Market Submissions [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Estimated cost in the $50,000 to $100,000 range; no ERCOT staffing impacts; minor modifications will be made to the Congestion Revenue Right (CRR) Application to change CRR allocation methods; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the procedures and system configurations that will be utilized to ensure market transactions for CRR Auctions do not exceed the system capabilities.

Procedural History:  NPRR233 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to table NPRR233 for one month.  On 6/17/10, PRS unanimously voted to recommend approval of NPRR233 as amended by the 5/19/10 Luminant comments as revised by PRS.  On 7/22/10, PRS voted to endorse and forward the 6/17/10 PRS Report and Impact Analysis for NPRR233 to TAC.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

  - NPRR236, Resolution of Alignment Item A83 partially, A86, A87 partially, A88 partially, and A142 - Clarify Default Actions for Missing Data and Range of Valid Data Entries for Energy Offers [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies system actions if the Qualified Scheduling Entity (QSE) cancels a Resource Parameter submission, if a Current Operating Plan (COP) is not submitted for any hour, and/or if a conflict in Resource Status is encountered.  The NPRR also clarifies that in each hour only one Combined Cycle Generation Resource in a Combined Cycle Train may be assigned one of the On-Line Resource Status codes.

Procedural History:  NPRR236 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to table NPRR236.  On 6/17/10, PRS unanimously voted to recommend approval of NPRR236 as submitted.  On 7/22/10, PRS unanimously voted to endorse and forward the 6/17/10 PRS Report as revised by PRS and Impact Analysis for NPRR236 to TAC.  Credit review is pending.

  - NPRR237, Resolution of Alignment Items A22, A143, A148, A153, A160 and A169 – Clarification of NERC Reliability Standards and MIS Posting Requirements [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR resolves Alignment Items A22, A143, A148, A153, A160 and A169 by clarifying the role of North American Electric Reliability Corporation (NERC) Reliability Standards in relation to Protocols and several Market Information System (MIS) posting requirements.

Procedural History:  NPRR237 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to table NPRR237 for one month.  On 6/17/10, PRS voted to recommend approval of NPRR237 as amended by the 6/8/10 CenterPoint comments.  There was one abstention from the Investor Owned Utility (IOU) Market Segment.  On 7/22/10, PRS unanimously voted to endorse and forward the 6/17/10 PRS Report as amended by the 7/9/10 ERCOT comments and Impact Analysis for NPRR237 to TAC.  Credit review is pending.

  - NPRR242, Synchronization of Nodal Protocols with PRR792 [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR792, Revised Renewable Portfolio Standards Allocation Process, Pursuant to P.U.C. Subst. R. 25.173, approved by the ERCOT Board on January 20, 2009.

Procedural History:  NPRR242 was posted on 6/2/10.  On 6/17/10, PRS voted to recommend approval of NPRR242 as submitted.  There was one abstention from the Independent Retail Electric Provider (IREP) Market Segment.  On 7/22/10, PRS voted to endorse and forward the 6/17/10 PRS Report and Impact Analysis for NPRR242 to TAC.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

  - NPRR245, Protocol Synchronization and As-Built Clarification for RUC Shortfall Calculation [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR proposes revisions to paragraphs (9) and (10) of Section 5.7.4.1.1, Capacity Shortfall Ratio Share, to conform these paragraphs with paragraph (1), and to clarify how to perform Settlements pursuant to paragraph (1).

Procedural History:  NPRR245 was posted on 6/7/10.  On 6/17/10, PRS voted to recommend approval of NPRR245 as submitted.  There were two abstentions from the Consumer and Independent Generator Market Segments.  On 7/22/10, PRS voted to endorse and forward the 6/17/10 PRS Report and Impact Analysis for NPRR245 to TAC.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

Revision Requests Recommended for Approval and Inclusion in the Parking Deck

None.

Revision Requests Rejected and Failed Motions

  - NPRR216, Allow ERCOT Option to Cancel Commitments Previously Issued Through RUC [ERCOT].

Proposed Effective Date:  Not applicable.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds statements allowing ERCOT the option of cancelling commitments, prior to breaker close, previously issued through Reliability Unit Commitment (RUC).

Procedural History:  NPRR216 was posted on 3/22/10.  On 4/22/10, PRS unanimously voted to table NPRR216.  On 5/20/10, PRS unanimously voted to table NPRR216 until ERCOT Board approval of NPRR207, Unit Deselection (formerly “Hour Start Unit Deselection and Half Hour Start Unit RUC Clawback”).  On 7/22/10, PRS unanimously voted to reject NPRR216.  Credit review not applicable.

Revision Requests Withdrawn (no TAC action required)

  - NPRR234, Resolution of Alignment Item A32, A147, A155, A159, and A187 - Clarify General Capacity Testing and Net Dependable Capability [ERCOT].

Proposed Effective Date:  Not applicable.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies Seasonal reporting of Net Dependable Capability (NDC).  The NPRR also clarifies unannounced testing of High Sustained Limit (HSL).

Procedural History:  NPRR234 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to refer NPRR234 to WMS.  On 6/17/10, PRS unanimously voted to refer NPRR234 to NATF.  On 6/25/10, the submitter withdrew NPRR234.  Credit review not applicable.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the August 19, 2010 PRS Meeting

  - NPRR231, Treatment of RMR Units in the Day-Ahead Market 
(formerly “Remove RMR Units from the Day-Ahead Market”) [Luminant].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR231 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR removes ERCOT’s ability to submit Three-Part Supply Offer curves for any Generation Resource providing Reliability Must-Run (RMR) Service from participation in the Day-Ahead Market (DAM) and the Day-Ahead Reliability Unit Commitment (DRUC) process.  However, ERCOT will still have the ability to use an RMR Resource to resolve local congestion issues through Verbal Dispatch Instruction (VDI).

Procedural History:  NPRR231 was posted on 5/7/10.  On 5/20/10, PRS unanimously voted to table NPRR231.  On 6/17/10, PRS voted to refer NPRR231 to NATF.  There were two abstentions from the Consumer and Independent Generator Market Segments.  On 7/22/10, PRS voted to recommend approval of NPRR231 as amended by the 7/21/10 WMS comments and as revised by PRS and requested that ERCOT Staff report back on how they will manage RMR units in the DAM.  There were two abstentions from the Independent Generator and Municipal Market Segments.  Credit review is pending.

  - NPRR232, Clarification of Block Load Transfer Registration and Deployment [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR232 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds language to clarify the purpose of registering Block Load Transfers (BLTs) and to specify the instances of Load transfer between Control Areas for which registration is required or when optional.  The proposed revision clarifies the role of Market Participants regarding registering a BLT and related roles.

Procedural History:  NPRR232 was posted on 5/10/10.  On 5/20/10, PRS unanimously voted to table NPRR232 for one month.  On 6/17/10, PRS unanimously voted to table NPRR232 for one month.  On 7/22/10, PRS voted to recommend approval of NPRR232 as amended by the 7/15/10 ERCOT comments and as revised by PRS.  There was one objection from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR240, Proxy Energy Offer Curve [Potomac Economics].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR states that the Entity with decision making authority over how a Resource or Split Generation Resource is offered or scheduled shall be responsible for all offers associated with each Resource, including offers represented by a proxy Energy Offer Curve.

Procedural History:  NPRR240 was posted on 5/26/10.  On 6/17/10, PRS unanimously voted to table NPRR240.  On 7/22/10, PRS voted to recommend approval of NPRR240 as amended by the 7/21/10 WMS comments and as revised by PRS.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR241, Aggregate Incremental Liability (AIL) Calculation and Credit Reports Publish Corrections [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR: updates AIL calculation to reflect Max (Average Daily Transaction Extrapolated (ADTE) during the previous 60-day period) instead of ADTE to match Estimated Aggregate Liability (EAL) calculation; corrects Credit Monitoring and Management Reports format from Extensible Markup Language (XML) to Microsoft Excel (XLS) format; updates the posting requirements of Future Credit Exposure (FCE) Details Reports.

Procedural History:  NPRR241 was posted on 5/27/10.  On 6/17/10, PRS unanimously voted to refer NPRR241 to WMS.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR241 as amended by the 7/21/10 WMS comments and as revised by PRS.  Credit review is pending.

  - NPRR243, Load Resource Disqualification, Unannounced Testing, and Compliance [WMS].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR incorporates relevant language from PRR714, Qualification and Periodic Testing of Loads acting as Resources (LaaRs), and synchronizes the Nodal Protocols with the current zonal requirements for the periodic testing and suspension of a Load Resource for non-performance.

Procedural History:  NPRR243 was posted on 6/3/10.  On 6/17/10, PRS unanimously voted to table NPRR243 for one month.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR243 as amended by the 7/21/10 WMS comments and as revised by PRS.  Credit review is pending.

  - NPRR246, Requirement for Resource Entities to Update Resource Parameters [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; may result in an increase in the volume of Resource Asset Registration Form (RARF) updates, which could be accommodated with existing staffing.; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR requires Resource Entities to update their Resource Parameters after NDC tests, reactive capability tests, ERCOT requests, and known data changes to any Resource Parameters.

Procedural History:  NPRR246 was posted on 6/8/10.  On 6/17/10, PRS unanimously voted to table NPRR246 for one month.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR246 as amended by the 6/14/10 Luminant comments.  Credit review is pending.

  - NPRR247, Retail Market Testing Updates Due to the Merger of the TX SET and TTPT Working Groups [TX SET].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR247 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR creates Section 19.8, Retail Market Testing, incorporating the retail market testing process into Section 19, Texas Standard Electronic Transaction, thereby eliminating the need for Section 23, Texas Test Plan Team - Retail Market Testing.

Procedural History:  NPRR247 was posted on 6/21/10.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR247 as amended by the 7/8/10 ERCOT comments.  Credit review is pending.

  - NPRR249, Resolution of Alignment Item A155 and A159 - Removal of Text Reason Requirement (formerly “Removal of Text Reason Requirement) [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the requirement for QSEs with Resources to submit a text reason to ERCOT when a Resource’s telemetered HSL or Low Sustained Limit (LSL) deviates from a normal high or low limit.

Procedural History:  NPRR249 was posted on 7/6/10.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR249 as revised by PRS.  Credit review is pending.

  - NPRR250, Suspension of Annual Profile ID Validation With Advanced Meter Deployment [Profiling Working Group (PWG)].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR250 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR removes the market requirement for annual Load Profile ID validation in areas where Advanced Meter System (AMS) deployment is in progress.

Procedural History:  NPRR250 was posted on 7/7/10.  On 7/22/10, PRS voted to recommend approval of NPRR250 as submitted.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR251, Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned [Retail Metering Working Group (RMWG)].

Proposed Effective Date:  Pending.

CEO Determination:  Grey-boxed portions of NPRR251 are not necessary prior to the Texas Nodal Market Implementation Date.  Remaining language revisions are necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned, which clarifies the meaning of an Interval Data Recorder (IDR) Meter and provides for optional removal of IDR Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the Transmission and/or Distribution Service Provider (TDSP).  This NPRR also inserts grey boxed language for reporting requirements in Sections 18.6.1 and 18.6.2, to be implemented post Texas Nodal Market Implementation Date.

Procedural History:  NPRR251 was posted on 7/8/10.  On 7/22/10, PRS voted to recommend approval of NPRR251 as submitted.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

  - NPRR252, Synchronization of PRR758, Clarification of Language Related to Generation Netting for ERCOT Polled Settlement Meters [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR758, Clarification of Language Related to Generation Netting for ERCOT Polled Settlement Meters, approved by the ERCOT Board on 4/15/08.

Procedural History:  NPRR252 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR252 as submitted.  Credit review is pending.

  - NPRR254, Updates to Protocol Sections 14 and 18 [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR aligns language in Section 14 with COPMGRR016, Update to Section 12, Renewable Energy Credits due to PRR808, Clean-up and Alignment of RECs Trading Program Language with PUCT Rules (approved by TAC on 4/8/10).  This NPRR also updates Section 18, Load Profiling, with terms proposed in NPRR229, Additions to Section 2, Definitions and Acronyms.

Procedural History:  NPRR254 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR254 as submitted.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR834, ERCOT Load Forecast Accuracy [Luminant, CPS, NRG] – Urgent.

Proposed Effective Date: Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR proposes revisions that are intended to monitor and establish performance standards for ERCOT’s Load forecasting of the ERCOT Region and ERCOT Congestion Zones.

Procedural History:  PRR834 was posted on 9/24/09.  On 9/30/09, PRS voted to grant PRR834 Urgent status via PRS email vote.  On 10/22/09, PRS voted to table PRR834 for one month with one abstention from the Independent Generator Market Segment.  On 11/19/09, PRS unanimously voted to table PRR834 for one month.  On 12/17/09, PRS unanimously voted to table PRR834 until after the Load forecasting workshop.  Credit review is pending.

  - PRR843, Add Regional Planning Section to Protocols [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR843 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This PRR adds the entirety of the Regional Planning Group (RPG) Charter and Procedures (Charter) document, as it was recently approved by the ERCOT Board, to the Protocols.

Procedural History:  PRR843 was posted on 12/18/09.  On 1/21/10, PRS unanimously voted to create a task force to discuss the policy issues relating to PRR843, to refer PRR843 to the task force, and to instruct the task force report back at the February 2010 PRS meeting.  On 2/18/10, PRS unanimously voted to table PRR843 indefinitely.  Credit review is pending.

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  The ERCOT CEO has determined that the NPRR190 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  Credit review is pending.

  - NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will require the Resource Entity to designate a Transmission Service Provider (TSP) as the responsible Entity that will manage Outage Scheduler entries for the Resource Entity for Transmission Elements owned by the Resource other than the outage of the Generation or Load Resource itself.  This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the MIS.

Procedural History:  NPRR219 was posted on 3/24/10.  On 4/22/10, PRS unanimously voted to table NPRR219.  On 5/20/10, PRS unanimously voted to table NPRR219.  On 6/17/10, PRS unanimously voted to table NPRR219 for one month.  On 7/22/10, PRS unanimously voted to table NPRR219.  Credit review is pending.

  - NPRR220, Nodal Requirement of Declaring an EEA for Reserves More than 500 MW [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the requirement to declare an Energy Emergency Alert (EEA) prior to deploying more than 500 MW of Responsive Reserve (RRS).

Procedural History:  NPRR220 was posted on 3/24/10.  On 4/22/10, PRS unanimously voted to refer NPRR220 to ROS.  On 6/17/10, PRS unanimously voted to refer NPRR220 to NATF.  On 7/22/10, PRS unanimously voted to table NPRR220 for one month.  Credit review is pending.

  - NPRR238, Resolution of Alignment Item A47, A59, A104, A105, A114, A115, A130, A188, and A189 - Provides Clarification and Updates to Network Operations Model Processes for Resource Entities [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR resolves Alignment Items A47, A59, A104, A105, A114, A115, A130, A188, and A189 by clarifying Network Model updates processes including clarification of the role the resource registration process in the model updates as well as the data submittal time requirements for Resource Entities.

Procedural History:  NPRR238 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to table NPRR238.  On 6/17/10, PRS unanimously voted to table NPRR238 for one month.  On 7/22/10, PRS unanimously voted to table NPRR238.  Credit review is pending.

  - NPRR244, Clarification of Other Binding Documents [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the concept of “Other Binding Documents” and the revision process to better align with item (j) of the Public Utility Regulatory Act, TEX. UTIL. CODE ANN. § 39.151 (Vernon 1998 & Supp. 2003) (PURA), Essential Organizations, and P.U.C.T. Subst. R. 25.503, Oversight of Wholesale Market Participants, with respect to governing documents that are public and in effect in the ERCOT Region.

Procedural History:  NPRR244 was posted on 6/3/10.  On 6/17/10, PRS unanimously voted to table NPRR244 for one month.  On 7/22/10, PRS unanimously voted to table NPRR244 for one month.  Credit review is pending.

  - NPRR248, Removal of Loads from Pre-1999 NOIE Load Zone [Kerrville and San Bernard].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR248 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR provides that a member assigned to a Non-Opt-In Entity (NOIE) Load Zone due to being in a group of NOIEs that are parties to the same pre-1999 power supply arrangement and having a 2003 peak Load in excess of 2,300 will be assigned to an appropriate Competitive Load Zone if it either surrenders its rights to Pre-assigned Congestion Revenue Rights (PCRRs) or terminates its pre-1999 power supply arrangement.

Procedural History:  NPRR248 was posted on 6/24/10.  On 7/22/10, PRS voted to table NPRR248.  There were two abstentions from the Independent Generator and Municipal Market Segments.  Credit review is pending.

  - NPRR256, Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”) [Luminant Energy].

Proposed Effective Date:  Pending.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR aligns the Nodal Protocols with changes implemented from PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”), approved by the ERCOT Board on 8/18/09, and addresses the exclusion of Generation Resource Energy Deployment Performance (GREDP) during testing periods.  This NPRR also addresses timing discrepancies in updating Resources’ Ancillary Service Schedule during qualification testing.

Procedural History:  NPRR256 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to table NPRR256.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

- PRR838, Fast Response Distributed Energy Resource (DER) [Enchanted Rock].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This PRR allows for participation of Distributed Energy Resources (DERs) in RRS Service on an equivalent basis with synchronous condenser fast-response hydro.

Procedural History:  PRR838 was posted on 10/22/09.  On 11/19/09, PRS unanimously voted to refer PRR838 to the ROS with instruction to have the Performance, Disturbance and Compliance Working Group (PDCWG) assist in constructing the DER operational prototype test, to provide transparency to Market Participants on the type of the test and to report the results to ROS.  Credit review is pending.

  - NPRR147, DAM Short Pay Changes [WMS].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way short pays to the DAM are handled.  This NPRR reallocates short payments using a procedure that draws from the CRR Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.

Procedural History:  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to the Transition Plan Task Force (TPTF) for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the IPM Market Segment.  On 10/23/08, PRS voted to table NPRR147 until the 11/20/08 PRS meeting.  There was one abstention from the IOU Market Segment.  On 11/20/08, PRS unanimously voted to refer NPRR147 to the WMS and Credit WG for consideration.  Credit review is pending

  - NPRR253, CRR Balancing Account Invoice and Settlement and Billing Dispute Process [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR updates Section 9.12, and Section 9.14, with information pertaining to the ERCOT Invoice process and the statuses for processing of disputes.  This NPRR also proposes non-substantive changes, such as capitalizing defined terms and use of acronyms.

Procedural History:  NPRR253 was posted on 7/15/10.  On 7/22/10, PRS voted to refer NPRR253 to COPS.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR255, Resolution of Alignment Item A81 - DRUC Timing and Execution when DAM is Delayed or Aborted [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds new Section 5.2.2 to describe the process that ERCOT will follow in the event that the DAM is delayed or aborted.

Procedural History:  NPRR255 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to refer NPRR255 to NATF.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the August 19, 2010 PRS Meeting

  - NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR gray-boxes multiple sections of the Nodal Protocols to align with Nodal Operating Guide Section 9, Monitoring Programs.

Procedural History:  NPRR257 was posted on 7/23/10.  Credit review is pending.

  - NPRR258, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 824, Primary Frequency Response from WGRs and PRR833, Primary Frequency Response Requirement from Existing WGRs; refines and clarifies the definition of Generation Resource Energy Deployment Performance (GREDP);  moves the definition of Measurable Event to Section 2.1; and proposes a definition for Dead Band as defined in Section 6.2.1.4, Definitions, of the zonal Operating Guides.

Procedural History:  NPRR258 was posted on 7/23/10.  Credit review is pending.