| COPMGRR Number | 020 | COPMGRR Title | Creating Subsection 10.3, Unregistered Distributed Generation Reports |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | July 13, 2010 |  |  |
| Proposed Effective Date |  | Upon Texas Nodal implementation. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Commercial Operations Market Guide (COPMG) Section Requiring Revision |  | 10.3 Unregistered Distributed Generation Reports (new) 10.3.1 Reporting Requirements for Non Opt-In Entities (new) 10.3.2 Reporting Requirements for Competitive Areas (new) 10.3.3 Reporting Requirements for ERCOT (new) |  |  |
| Revision Description |  | This Commercial Operations Market Guide Revision Request (COPMGRR) creates a new Section 10.3. |  |  |
| Reason for Revision |  | To comply with the reporting requirements as outlined in Nodal Protocol Revision Request (NPRR) 208, Registration and Settlement of Distributed Generation (DG) Less Than One MW. The following two items are requirements for Non-Opt-In Entities (NOIEs): - Reporting by NOIEs to ERCOT for unregistered DG behind NOIE tie meters as described in paragraph (2)(e) of Nodal Protocol Section 10.2.2, TSP and DSP Metered Entities (see NPRR208). - Quarterly ERCOT Public Reports for total unregistered DG in the ERCOT market as described in Nodal Protocol Section 16.5, Registration of a Resource Entity (see NPRR208). |  |  |
| Overall Market Benefit |  | Transparency and better information to the market about unregistered DG installed. |  |  |
| Overall Market Impact |  | New reporting requirements for NOIEs and ERCOT. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 3/18/10, COPMGRR020 was posted. - On 4/22/10, the CEO Revision Request Review was posted. - On 4/29/10, the COPS Communication Working Group (CCWG) considered COPMGRR020. - On 5/7/10, the Impact Analysis was posted. - On 5/27/10, CCWG considered the 4/29/10 CCWG Recommendation Report and Impact Analysis for COPMGRR020. - On 7/13/10, COPS considered COPMGRR020. |  |  |
| CCWG Decision |  | On 4/29/10, CCWG was in consensus to recommend approval of COPMGRR020 as submitted. On 5/27/10, CCWG was in consensus to endorse and forward the 4/29/10 CCWG Recommendation Report and the Impact Analysis for COPMGRR020 to COPS. |  |  |
| Summary of CCWG Discussion |  | On 4/29/10, there was no discussion. On 5/27/10, there was no discussion. |  |  |
| COPS Decision |  | On 7/13/10, COPS unanimously voted to recommend approval of COPMGRR020 as recommended by CCWG in the 5/27/10 CCWG Recommendation Report as revised by COPS. All Market Segments were present for the vote. |  |  |
| Summary of COPS Discussion |  | On 7/13/10, the e-mail address was updated in Section 10.3.1. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | None. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Transparency and better information to the market about unregistered DG installed. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker on behalf of the Non Opt-In Entity (NOIE) Distributed Renewable Generation (DRG) Settlements Task Force |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 |
| Cell Number | 512-560-2378 |
| Market Segment | NA |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512.248.6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

10.3	Unregistered Distributed Generation Reports

10.3.1	Reporting Requirements for Non Opt-In Entities

(1)	This section describes the data that shall be submitted to ERCOT for the unregistered Distributed Generation (DG) behind Non Opt-In Entity (NOIE) boundary metering points as required by paragraph (2)(e) of Nodal Protocol Section 10.2.2, TSP and DSP Metered Entities.

(2)	Within ten Business Days after the end of each quarter, the NOIE shall submit to ERCOT electronically, the required data described below as of the last day of the prior quarter.  The data shall be submitted using the generic form developed by ERCOT and e-mailed to 1 ERCOT EAA Data Aggregation@ercot.com.

(a)	Total unregistered DG above 50 kW and below the DG registration threshold by:

(i)	Technology Type

(A)	Renewable

(B)	Non-renewable

(ii)	Primary Fuel Type

(A)	Solar

(B)	Wind

(C)	Other

(iii)	Name Plate Rating (MW)

(iv)	Load Zone

(v)	Annual kWh exported to the grid during the prior 12 months.

10.3.2	Reporting Requirements for Competitive Areas

The data for competitive areas will be compiled from the reports submitted to ERCOT as found in the Load Profiling Guide, Appendix D, Load Profiling Decision Tree, DRG Tab.

10.3.3	Reporting Requirements for ERCOT

(1)	Within 30 days after the end of each quarter, ERCOT shall publish the Unregistered Distributed Generation Report on the Market Information System (MIS) Public area.  This report shall include the aggregated data compiled for NOIE and competitive areas.  This report at a minimum shall include the total unregistered DG above 50 kW and below the current DG registration threshold by:

(a)	Technology Type

(i)	Renewable

(ii)	Non-renewable

(b)	Primary Fuel Type

(i)	Solar

(ii)	Wind

(iii)	Other

(c)	Name Plate Rating MW

(d)	Load Zone

(e)	Annual kWh exported to the grid during the prior 12 months

(f)	New proposed DG threshold for registration as defined in Protocol 16.5, Registration of a Resource Entity.

(2)	ERCOT shall update the Commercial Operations Subcommittee (COPS) on an as needed basis on the Unregistered Distributed Generation Report.