OWG Report to ROS

August 12, 2010

The Operations Working Group (OWG) met July 21, 2010.

On July 21st, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

Operations Task Force Report – No Report Given.

Black Start Task Force Report – Kelly Blackmer with ERCOT provided an introduction about the definitions and adds a new format for an audit for good communication between entities. He adds a Blackout recognition section and contingency plan section 9.  ONCOR has a concern that the dates of the Black start training are too late and need to be earlier. ERCOT will communicate the concern to the managers to revise the date. ERCOT Reports that the meeting on July about discussing cranking path issue is done. Reliant is concerned about the definition of cranking path.

The Texas RE Report – Andy (TRE) reports that a BAL-001-1 workshop will be on August 6th in the Met Center. Operations Training Seminar will set on March 07.

The OWG reviewed the following:

OGRR 236 Fast Response Distributed Energy Resource (DER) – No Action still Tabled (PRR838).

NOGRR 039 Synchronization of Section 1 with Nodal Protocols – Reviewed no impact IA. Group Recommended approval to ROS.

NOGRR 041 Synchronization of Section 2 with Nodal Protocols – 2.7.4.2 Parameters for Standard Reactor and Capacitor Switching Plan discussion. From a modeling perspective, ERCOT shall work with the Market Participants to ensure that the advanced applications.  ERCOT Staff noted overlapping sections with NOGRR044 and NOGRR045 and recommended removing them from NOGRR041.  OWG was in consensus to recommend approval as revised by OWG and will come back with IA.

NOGRR 042 Synchronization of Section 3 with Nodal Protocols – Reviewed language. ERCOT Staff noted overlapping sections with NOGRR043 and suggested removing them from NOGRR042.  OWG was in consensus to recommend approval as revised by OWG and will come back with IA.

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement – ERCOT Staff reviewed the 7/8/10 ERCOT comments.  There was discussion regarding the need to review the definition of WGR due to unintended consequences by the redefinition currently under appeal at the PUCT.  ERCOT Staff noted overlapping sections with NOGRR042 and suggested removing them from NOGRR042 and incorporating them into NOGRR043. OWG was in consensus to recommend approval with the 7/8/10 ERCOT comments and will come back with IA.

NOGRR 044 Clarification of a PSS In-Service – ERCOT Staff reviewed the 7/19/10 ERCOT comments clarified that the language submitted by LCRA was not accurate and suggested another language. ERCOT Staff noted overlapping sections with NOGRR041 and suggested removing them from NOGRR041 and incorporating them into NOGRR044, if any.  OWG was in consensus to recommend approval with the 7/19/10 ERCOT Comments as revised by OWG and come back with IA.

NOGRR 045 Synchronization of OGRR219, Time Error Correction –   It was noted that testing is ongoing.  ERCOT Staff noted overlapping sections with NOGRR041 and suggested removing them from NOGRR041 and incorporating them into NOGRR045.  OWG was in consensus to recommend for approval as revised by OWG and come back with IA.

NOGRR 046 Synchronization of Sections 4 and 5 with Nodal Protocols – The need to clarify language in 4.5.3.4 was discussed.  It was noted that TRE recently changed their name from Texas Regional Entity to Texas Reliability Entity.  OWG was in consensus to recommend approval as revised by OWG and come back with IA.

NOGRR 047 Synchronization of Sections 6 and 7 with Nodal Protocols – the need to align terminology with NOGRR038, recently approved by ROS, was discussed.  OWG was in consensus to recommend approval as revised by OWG and will come back with IA.

OGRR 245  Alignment with NERC Reliability Standard PRC-001-1, System Protection Coordination – This Operating Guide Revision Request (OGRR) aligns the Operating Guides with the North American Electric Reliability Corporation (NERC) Reliability Standards, specifically PRC-001-1, System Protection Requirements, Section B. It was stated that OWG will hold it for the next meeting. OWG was in consensus to table one month allow time for the associated NOGRR to be presented.  A draft Market Notice was also reviewed.

System Operations Report – ERCOT reviewed EEA Event report of 6/23.

Nodal Operating Guide Task Force – Brad (CNP) reported assignment complete.

Other Discussions – Draft NOGRR for OGRR226 under development. Possibly review of draft language – Action Item to OWG chair will send out an email for the group to review.

a) SO-10 Voltage Management Practices Applicable to Wind Generators – The purpose of this report is to highlight issues about the numbers of TDSP to have an idea how to manage the reactive related with the CREZ lines. The following schedule dates changes were made: from June 2010 to November 2010 reactive operational review portion of the study completed and from June 2011 to November 2011 ERCOT and TSPs establish any needed new procedures.

b) MD-08 Reactive and Voltage Requirements Applicable to Wind Generators – OWG corrected the name Reactive and Voltage Requirements Applicable to Wind and Solar.  Follow up: The Nodal Protocols and Nodal Operating Guides need to be reviewed to ensure that all technologies are covered. The STATCOM needs to have better coordination to ensure that they are automatic and “coordinated”.

NOGRR039 - TMPA discussed comments received from TRE and they recommend approval until next Board meeting.

Next OWG meeting will be on August 18th in Austin at the Met Center.