Section 6:

NOGRR038 – Synchronization with OGRR243, Disturbance Monitoring Requirements Clarification

This Nodal Operating Guide Revision Request (NOGRR) synchronizes the Nodal Operating Guides with Operating Guide Revision Request (OGRR) 243 by changing data recording and reporting requirements for equipment operating at 100 kV or above at Facilities where fault recording equipment is required.

Revised Subsections:  6.1.2.3, 6.1.2.4