| NPRR Number | 246 | NPRR Title | Requirement for Resource Entities to Update Resource Parameters |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | July 22, 2010 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.7, Resource Parameters |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) requires Resource Entities to update their Resource Parameters after Net Dependable Capability tests, reactive capability tests, ERCOT requests, and known data changes to any Resource Parameters. |  |  |
| Reason for Revision |  | The reason for this NPRR is to add a requirement for Resource Entities to update their Resource Parameters into the network models. |  |  |
| Overall Market Benefit |  | Updated Resource data in the network models. |  |  |
| Overall Market Impact |  | Resource data in network models will reflect actual Resource capability, which can impact the market. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 6/8/10, NPRR246, the CEO Revision Request Review, and Impact Analysis were posted. - On 6/14/10, Luminant comments were posted. - On 6/17/10, PRS considered NPRR246. - On 7/22/10, PRS again considered NPRR246. |  |  |
| PRS Decision |  | On 6/17/10, PRS unanimously voted to table NPRR246 for one month. All Market Segments were present for the vote. On 7/22/10, PRS unanimously voted to recommend approval of NPRR246 as amended by the 6/14/10 Luminant comments. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 6/17/10, the 6/14/10 Luminant comments were discussed, which proposed timeframes for the submission of test data by Market Participants and for the entering of test data into ERCOT systems by ERCOT. Concerns were raised regarding what RARF data is used in the planning models and what parties have access to and responsibilities regarding this data. On 7/22/10, ERCOT Staff agreed with the ten Business Day requirement for Qualified Scheduling Entities (QSEs) or Resource Entities to update and submit their Resource Parameters. ERCOT Staff also agreed to the ten Business Day requirement for updating the ERCOT systems and databases upon receipt of this information. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Resource data in network models will reflect actual resource capability, which can impact the market. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Updated Resource data in the network models. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Jay Teixeira |
| E-mail Address | jteixeira@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6582 |
| Cell Number | 512-656-6734 |
| Market Segment | NA |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant 061410 | Proposed additional time to submit Resource Parameters to ERCOT and deadline for ERCOT to complete its review of submitted data and post the results into the various ERCOT systems and databases. |

Proposed Protocol Language Revision

3.7	Resource Parameters

(1)	A Resource Entity shall register Resource Parameters for its Resources with ERCOT.

(2)	ERCOT shall provide each Qualified Scheduling Entity (QSE) that represents a Resource the ability to submit changes to Resource Parameters for that Resource.

(3)	The QSE may revise Resource Parameters only with sufficient documentation to justify a change in Resource Parameters.

(4)	ERCOT shall use the Resource Parameters as inputs into the Day-Ahead Market (DAM), Reliability Unit Commitment (RUC), Security-Constrained Economic Dispatch (SCED), Resource Limit Calculator, Load Frequency Control (LFC), and other ERCOT business processes.

(5)	The Independent Market Monitor (IMM) may require the QSE to provide justification for the Resource Parameters submitted.

(6)	Seasons for seasonal parameters are defined in the Operating Guides.

(7)	The QSE or Resource Entity must update any Resource Parameter for a specific Resource:

(a)	Within ten Business Days of completion of a Net Dependable Capability test to reflect the results of the test;

(b)	Within ten Business Days of completion of a reactive capability test to reflect the results of the test;

(c)	Within ten Business Days of a request by ERCOT to check or update a specific Resource Parameter; and

(d)	Within ten Business Days of a known change to any Resource Parameter.

(8)	ERCOT must update the appropriate ERCOT systems and databases

- (a)	Within ten Business Days of receipt of a Net Dependable Capability test to reflect the results of the test;

- (b)	Within ten Business Days of receipt of a reactive capability test to reflect the results of the test;

- (c)	Within ten Business Days of a receipt of a response to a request by ERCOT to check or update specific Resource Parameters; and

- (d)	Within ten Business Days of a receipt of a known change to any Resource Parameter.