CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | July 7, 2010 |
| Revision Request Number | NPRRxxx |
| Revision Request Name | Suspension of Annual Profile ID Validation With Advanced Meter Deployment |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 250, Suspension of Annual Profile ID Validation With Advanced Meter Deployment, removes the market requirement for annual Load Profile IID validation in areas where Advanced Meter System (AMS) deployment is in progress. After initial review, NPRR250 does not impact Nodal systems, budget or schedule, so there is no reason at this time not to allow the NPRR to proceed in the stakeholder review process. Because there are no Nodal impacts, the ERCOT CEO has no opinion on whether or not NPRR250 is necessary prior to the Texas Nodal Market Implementation Date (TNMID). Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to re-evaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: __________________________.