| I. Revision Request Details |  |
| --- | --- |
| Date | March 24, 2010 |
| Revision Request Number | NPRR220 |
| Revision Request Name | Nodal Requirement of Declaring an EEA for Reserves More than 500 MW |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 220, Nodal Requirement of Declaring an EEA for Reserves More than 500 MW, removes the requirement to declare an Energy Emergency Alert (EEA) prior to deploying more than 500 MW of Responsive Reserve (RRS). After initial review, NPRR220 does not impact Nodal systems, budget or schedule. If the NPRR is not approved, changes to Nodal systems and/or processes would be needed. The ERCOT CEO has determined that NPRR220 is necessary prior to the Texas Nodal Market Implementation Date (i.e., Nodal Go-Live). Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: RRS is a NERC Operating Reserve. Under NERC Reliability Standard EOP-002, a “Balancing Authority” is required to deploy all available “Operating Reserves” before the “Reliability Coordinator” declares an EEA (these terms are defined in the NERC Reliability Standards). As such, ERCOT must deploy all Responsive Reserve before declaring an EEA and therefore ERCOT is requesting the Nodal Protocols to be changed to remove the 500 MW restriction.; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.