| I. Revision Request Details |  |
| --- | --- |
| Date | July 15, 2010 |
| Revision Request Number | NPRR256 |
| Revision Request Name | Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”) |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 256, Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards, aligns the Nodal Protocols with changes implemented from Protocol Revision Request (PRR) 787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”), and addresses the exclusion of Generation Resource Energy Deployment Performance (GREDP) during testing periods. This NPRR also addresses timing discrepancies in updating Resources Ancillary Service Schedule during qualification testing. ERCOT has performed an initial assessment of NPRR256 and determined that, as currently written, it will impact Nodal systems. The proposed changes from NPRR256 would impact, at a minimum, the Electronic Data Warehouse (EDW) and Energy Management System (EMS) systems. ERCOT also notes that while the NPRR title indicates synchronization with PRR787, NPRR256 includes additional exemptions for Generation Resources from GREDP calculation that were not part of PRR787 which create system impact. The ERCOT CEO has determined that, as written, NPRR256 is not necessary prior to the Texas Nodal Market Implementation Date. Pursuant to paragraph (6) of Protocol Section 21.11.3.1, Review and Posting of Nodal Protocol Revision Requests, the ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: Due to system impact.. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: System impacts to the EDW and EMS Nodal systems..