Methodology ERCOT will be using to group LaaR resources into Group A and B on a daily basis:

- After DRUC is run, the selector randomly picks a single operating hour of the following day.

- The load resources committed for that operating hour in RRS are then randomly divided on a resource-specific basis into two groups (Group 1 and Group 2) of approximately equal MW size.

- Any load resource that is participating in RRS the next day, but was not committed in the selected operating hour, automatically goes into Group 1.

- The Groups are deployed according to the protocols relating to EEA.  ERCOT always retains the option of deploying all LRs as a block.

Once the Groups are determined, ERCOT will post the two Groups to the MIS. Resources that were not in the seed hour will not be listed but will automatically go into Group 1.

There are some details Demand Side Programs team are still working through, but hopefully this is sufficient for QMWG.