NDSGW/NATF Joint Meeting Resolution List

SCR

LCRA – field energize date in NMMS

ONCOR – Automatic entry of actual start for field-energization outages (currently requires action by TSP operator)

ONCOR - Automatic entry of end for field-retirement outages (currently requires action by TSP operator)

AEP/Oncor – Forward looking SOTE

CNP – establish a subset of NOMCRs that are not subject to interim update rules (specifically for ERCOT requested information)

AEN – Smarter telemetry metrics that exclude new equipment and RTU outages

Oncor – NMMS clarification to make the NOMCR energization date is really the Model-Ready date.

Process Change

ONCOR – (Possible to modify prior to Go-live) Seven day notice an unnecessary burden

AEP – (Possible to modify prior to Go-live) MPs request set time that feedback from ERCOT Operations  after the A2E process whether problems are encountered or not.

ONCOR – (Possible to modify prior to Go-live) How do REs coordinate A2E for their new equipment.  Does the RE call or does the TSP call?

TNMP -- (Possible to modify prior to Go-live) What exactly does a point-to-point checkout entail for TSPs

Centerpoint – more flexibility may be required in scheduling Supplemental loads inside 90-days

Oncor – Impedances changes scheduled for tomorrow – can they be implemented in RT today.  How do you do an emergency database load for data that is received that day.  Does the existing process adequately handle this situation.

ME Changes

All – Language to be included that ERCOT will consult before an Interim update is rejected.

AEP – clarification on retirements corresponding to model loads – will they be processed

All – 12PM vs 12AM clarification

All – add cross reference for types of updates not subject to interim rules

All – Any changes to the ME paper will be vetted with ROS

Oncor – Modify 48-hour rule for dynamic ratings

Oncor – Interim Update table is not all-inclusive

Action Item

All – Example of a Interim update that would be available to the Market with detailed comments during Market Trials

All – Explanation of the turn-around times for rating changes in Market Trials

All – Contingency definition needs to be available to Market for analysis

NPRR

Luminant  – Change static line ratings so that they are not subject to Interim Update reporting.  Possible ERCOT system changes need to be evaluated.

Oncor – Clarification as to exactly what is defined as an Interim Update