PRIORITY 1 ISSUES

| REF | COMPANY | ISSUE CATEGORY | DESCRIPTION | PRIORITY |
| --- | --- | --- | --- | --- |
| 1 | PSEG | Competitive Constraints | Detailed discussion from ERCOT on how they plan to manage the generic constraints-- (W-->N and Hou import) | 1 |
| 2 | PSEG | Competitive Constraints | Comparison of load flow cases with and without competitive constraints--we have no information on how this works yet. None of the competitive constraints were binding in the most recent test (24 hrs). So we still have no clue as to how the Step 1 and Step 2 SCED results differ. | 1 |
| 3 | CPS | Credit | If a QSE has a negative credit limit and submits a TPO, then the system will not allow for the cancellation of the TPO if this action would result in the credit line remaining negative. | 1 |
| 4 | LCRA | Settlement | Irrational settlement point prices are a concern seen in Market Trials and not acceptable for go-live. Settlement point prices were reported as zero or negative market wide. There have also been large price swings from a high positive number to a large negative number and back to a high positive number in the span of five 15-minute intervals. These results do not seem to be logical or reasonable. | 1 |
| 5 | CALPINE | LFC | During LFC's we would like to see ERCOT using a CPS1 minimum of 125% rather than 100% | 1 |
| 6 | Luminant | DAM Clearing Engine | If number of source/sink pairs for CRR PTP Options carried to Real-Time exceed 100, increases iteration time for DAM. Prohibits correct modeling of Phase Shifters as in the field. | 1 |
| 7 | Luminant | Network Modeling | The network model used for DAM should be consistent with the real time model with regard to all mitigation plans, SPSs, etc. and there should be a verifications process to check for consistency prior to go-live. | 1 |

PRIORITY 2 ISSUES

| REF | COMPANY |  | ISSUE CATEGORY |  | DESCRIPTION |  | PRIORITY |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Luminant |  | DAM Clearing Engine |  | ERCOT needs a proven methodology for load distribution factors and allocation of non conforming loads. |  | 2 |  |
| 2 | Luminant |  | DAM Clearing Engine |  | Due to rounding AS quantities awarded to the nearest tenth, the awarded quantities actually exceeded offers by 0.10 to 0.20 MW |  | 2 |  |
| 3 | Luminant |  | DAM Clearing Engine |  | Is there a need for a protocol revision to create shadow price limits in DAM equal to Real Time? |  | 2 |  |
| 4 | Luminant |  | Network Modeling |  | Network model used for DAM must include PCAPS used in Real Time model. |  | 2 |  |
| 5 | Luminant |  | Network Modeling |  | ERCOT has provided redacted operations model files and evaluation is ongoing concerning review of operations model files. |  | 2 |  |
| 6 | Luminant |  | Network Modeling |  | Is there a different methodology or set of ratings being used between the nodal (reported as RTM) and zonal (reported as Daily Ops) models. Is ERCOT working with the TDSPs to match/correct these differences? |  | 2 |  |
| 7 | Luminant |  | Network Modeling |  | Luminant tracking approximately 12 active Modeling issues on DAM Deep Dive calls. ERCOT Ownership of the quality of the data based on the Current Network Model for DAM and RT. |  | 2 |  |
| 8 | Luminant |  | Line Ratings |  | Luminant tracking approximately 19 active ratings issues on DAM Deep Dive calls. ERCOT Ownership of the quality of the data based on the Current Network Model for DAM and RT. |  | 2 |  |
| 9 | Luminant |  | Real Time Operations |  | All questions, comments, and observations dealing with start up and shut down of units. |  | 2 |  |
| 10 | Luminant |  | Real Time Operations |  | Questions and comments regarding the real time telemetry of AS responsibility on units varying during the Operating Hour. |  | 2 |  |
| 11 | Luminant |  | Real Time Operations |  | QSE AS Capacity Compliance Monitoring Notification: ERCOT will supply a notification to QSEs when the comparison between the QSEs AS Supply Responsibility in the EMS system with the AS Supply Responsibility in the MMS system indicates that the QSE is not providing sufficient capacity Question: will the notification also be available through XML form, similar to EIP 1.19, section 5.3.1.2? Outstanding question. |  | 2 |  |
| 12 | Luminant |  | Market Data/Reports |  | Question: When will QSE Ancillary Services Capacity Monitor report on the MIS or through Get Reports be available? Response: report is not active at this time, release data is not yet established. The Report will only work when Telemetry is required for DAM awards |  | 2 |  |
| 13 | Luminant |  | Protocol Revision |  | When DAM is aborted, ERCOT will not have AS to meet their obligations. ERCOT will abort the DRUC and run a SASM, in which offers can be revised. Need approval of NPRR255. |  | 2 |  |
| 14 | Luminant |  | Settlement |  | The ERCOT settlement system is incorrectly using HSL from the COP to detect curtailed intervals. Needs a system change or work around. Settlement of BPD not right for non-IRR units. Calculation is wrong. |  | 2 |  |
| 15 | Luminant |  | Compliance Criteria |  | Anticipating some questions will be answered in ERCOT Real Time Business Practices document. |  | 2 |  |
| 16 | Luminant |  | Real Time Operations |  | Need submittal and approval of NPRR to add protocol language for real time dispatch of units in SCED |  | 2 |  |
| 17 | Luminant |  | Resource Parameters |  | Would like ERCOT to: 1) Provide QSEs ability to view the values ERCOT is using in their modeling. 2) Provide a method of correcting this number should the ERCOT value get out of sync with the units actual status |  | 2 |  |
| 18 | Luminant |  | Planned Telemetry Outages |  | ERCOT compliance criteria for telemetry does not take into account planned outages. |  | 2 |  |
| 19 | Luminant |  | Compliance Criteria |  | The language in the NPRR for telemetry of WGR HSL is overly restrictive; may need modifications. |  | 2 |  |
| 20 |  | LCRA |  | Market Data/Reports |  | Future Credit Exposure for CRR PTP Options (FCEOPT) Detail Report |  | 2 |
| 21 |  | LCRA |  | Market Data/Reports |  | Future Credit Exposure for CRR PTP Obligations (FCEOBL) Detail Report |  | 2 |
| 22 |  | E.ON Climate & Renewables |  | Protocol Revision |  | Issue of ERCOT producing a curtailment flag for Wind Resources to the list with a priority of #2? There was an NPRR that stated that if your basepoint is 2 MW less than your HSL sent into ERCOT, the resource is curtailed, but it has become evident during the LFC testing that a curtailment flag is truly the only reliable way a wind resource can be assured of a curtailment. We have a few QSEs for our many wind farms and each QSE has their own calculation for when a wind resource is curtailed and each method is different. If wind QSE's formula for calculating a curtailment is wrong, there could be reliability issues on the system. |  | 2 |
| 23 |  | Calpine |  | RUC |  | Calpine would like the ability to move AS onto a unit that has been committed for RUC. Currently ERCOT allows this by calling ERCOT and the operator can turn down the request. If a unit trips, then ERCOT has no choice but to accept the request. Calpine would like a rules based response to any request to move AS and would prefer that the request be handled systematically via an electronic transaction as opposed to simply operator judgement. |  | 2 |
| 24 |  | Calpine |  | DAM |  | Request for all Combined Cycle resources to be allowed to change their offer curve in the adjustment period. We realize this is an item that was discussed at length in past years, however, we believe the market has learned a lot about CC resources since then and it would be productive to re-open this issue. As a middle ground the request could be softened to allow any Co-gen (QF) to change their offer curve in the adjustment period and disallow any other type of resource to make changes. Two other alternatives for consideration are changes during the Adjustment Period and Inter-Hour again for Co-gen purposes. |  | 2 |
| 25 |  | Calpine |  | Competitive Constraints |  | We want to be able to verify the classification of non-competitive constraints. Right now we see the results but not the process. The list of competitive constraints seems too small. |  | 2 |
| 26 |  | Calpine |  | Protocol Revision |  | NPRR200 was approved in Feb 2010 and essentially says that DC-Tie schedule data will be sourced from the OATI system. ERCOT has been very slow to respond with details regarding how QSE's will access DC-Tie data. As of August 2010, ERCOT is now pulling DC-Tie schedules from the OATI zonal system and settling them in Nodal settlements. However, ERCOT has indicated no plans to provide any type of download for QSE systems to determine trade positions or for shadow settlements purposes. |  | 2 |

PRIORITY 3 ISSUES

| REF | COMPANY | ISSUE CATEGORY | DESCRIPTION | PRIORITY |
| --- | --- | --- | --- | --- |
| 1 | Luminant | Market Data/Reports | Forecasted Temp. Adj. Dynamic Ratings Duplicate Data: Each timestamp row of data is duplicated | 3 |
| 2 | Luminant | Market Data/Reports | Shift Factors Rpt Duplicate Records: Each timestamp row of shift factor data is duplicated | 3 |
| 3 | Luminant | Compliance Criteria | Whether the PUC intends to change its QWETR rule in any way to reflect the nodal market. New PUC project was opened. | 3 |
| 4 | Luminant | Systems I/O | It seems that messages of type = TELEMETRY do not have milliseconds and type = Market Message do have milliseconds. Is this the intended behavior for alerts? Can we expect this to be how this field is populated? | 3 |
| 5 | Luminant | Real Time Operations | Advocate to change SCED to use an integrated value on the ramp rate curve. The way SCED behaves now, if the unit is currently at 5 MW/min rr and on the cusp of the next ramp rate at 10 MW/min rr, SCED will continue to use 5 MW/min rr even though the unit is capable of providing more than 5 MW/min. | 3 |
| 6 | Luminant | RUC | HRUC notices are received after the COP deadline has passed. Possibly solved. | 3 |
| 7 | Luminant | Systems I/O | Do “Emergency Notice” alerts only show up on the MMS? | 3 |
|  |  |  | THE END |  |

LEGEND

1 = Show stopper; Needs resolution before Go-live can be accomplished.

2 = High priority issue that should be resolved by Go-live. Work-Arounds could be developed but for a very short time frame.

3 = Needed but can be implemented post Go-live. Will not affect safety, operational reliability or validated work-arounds exist.

4 = Needed by Planning Go-Live (approximately March 2011)