| I. Revision Request Details |  |
| --- | --- |
| Date | July 30, 2010 |
| Revision Request Number | RMGRR088 |
| Revision Request Name | Updates to the IDR Meter Installation and Removal Processes |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Retail Metering Guide Revision Request (RMGRR) 088, Updates to the IDR Meter Installation and Removal Processes, updates the process for optional removal of Interval Data Recorder (IDR) Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the Transmission and/or Distribution Service Provider (TDSP). In addition, due to the proposed definition of an IDR Meter in Protocol Revision Request (PRR) 845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned, references to IDR and/or IDR Meter are being updated to ensure appropriate understanding and usage of the terms. After initial review, RMGRR088 does not impact Nodal systems, budget or schedule, so there is no reason at this time not to allow the RMGRR to proceed in the stakeholder review process. As PRR845 has been approved, the ERCOT CEO has determined that RMGRR088 is necessary prior to the Texas Nodal Market Implementation Date. The ERCOT CEO has the right to reevaluate the RMGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: PRR845; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.