| I. Revision Request Details |  |
| --- | --- |
| Date | July 22, 2010 |
| Revision Request Number | RMGRR086 |
| Revision Request Name | Submission of Distributed Generation Data for Advanced Meters |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Retail Metering Guide Revision Request (RMGRR) 086, Submission of Distributed Generation Data for Advanced Meters, supplements the requirements outlined in Nodal Protocol Revision Request (NPRR) 208, Registration and Settlement of Distributed Generation (DG) Less Than One MW, and describes the submittal of DG for Advanced Meters. This RMGRR also proposes changing the term “out-flow power” to “out-flow energy”. Since it would be problematic to use outdated Guide language, it is imperative that the Retail Marketing Guide is synchronized with the Nodal Protocols in order to have a clear set of rules for ERCOT and Market Participants to operate within. After initial review, RMGRR086 does not impact Nodal systems, budget or schedule, so there is no reason at this time not to allow the RMGRR to proceed in the stakeholder review process. As NPRR208 has been approved, the ERCOT CEO has determined that RMGRR086 is necessary prior to the Texas Nodal Market Implementation Date (TNMID). The ERCOT CEO has the right to reevaluate the RMGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: NPRR208; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.