- Section 1:

NPRR242 - Synchronization of Nodal Protocols with PRR792

This Nodal Protocol Revision Request (NPRR) synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 792, Revised Renewable Portfolio Standards Allocation Process, Pursuant to P.U.C. Subst. R. 25.173, that was approved by the ERCOT Board on January 20, 2009.

Revised Subsection:  1.3.1.1

- Section 2:

NPRR228 - Resolution of Alignment Items A2, A80, A83 and A93 - As-Built Treatment and Settlement of Combined Cycle Generation Resources in ERCOT Market Systems

This NPRR includes a description of the treatment and Settlement of Combined Cycle Generation Resources in the ERCOT Day-Ahead, reliability and Real-Time systems.  This NPRR aligns the Nodal Protocol language with as-built system design for Combined Cycle Generation Resources.

Revised Subsections:  2.1, 2.2

NPRR236 - Resolution of Alignment Item A83 partially, A86, A87 partially, A88 partially, and A142 - Clarify Default Actions for Missing Data and Range of Valid Data Entries for Energy Offers

This NPRR clarifies system actions if the Qualified Scheduling Entity (QSE) cancels a Resource Parameter submission, if a Current Operating Plan (COP) is not submitted for any hour, and/or if a conflict in Resource Status is encountered.  The NPRR also clarifies that in each hour only one Combined Cycle Generation Resource in a Combined Cycle Train may be assigned one of the On-Line Resource Status codes.

Revised Subsection:  2.2

- Section 3:

NPRR091 - Scarcity Pricing and Mitigated Offer Cap During the Period Commencing on the Nodal Market Implementation Date and Continuing for a Total of 45 Days

This NPRR adds a provision that all transmission constraints are treated as non-competitive constraints during an initial 45 Operating Day period, beginning with the Texas Nodal Market Implementation Date and requires that the System-Wide Offer Cap (SWCAP) be set to the higher of $180 per MWh or 18 mmBtu per MWh times the Fuel Index Price (FIP) during an initial 45 Operating Day period, beginning with the Texas Nodal Market Implementation Date , provided that a Market Participant who burns fuel oil rather than natural gas may dispute the use of $180 per MWh or 18 mmBtu heat rate per MWh times FIP if the Generation Resource’s Settlement Point Price does not cover the cost incurred by the Market Participant to provide energy or Ancillary Services.  This NPRR also establishes an Energy Offer Curve floor adjusted to -$50 per MWh.

Revised Subsection:  3.19

NPRR228 - Resolution of Alignment Items A2, A80, A83 and A93 - As-Built Treatment and Settlement of Combined Cycle Generation Resources in ERCOT Market Systems

See Section 2 above.

Revised Subsections:  3.8, 3.8.1 (new), 3.8.2 (new), 3.9.1, 3.9.2

NPRR236 - Resolution of Alignment Item A83 partially, A86, A87 partially, A88 partially, and A142 - Clarify Default Actions for Missing Data and Range of Valid Data Entries for Energy Offers

See Section 2 above.

Revised Subsections:  3.7.1.1, 3.7.1.3, 3.8, 3.9.1

- Section 4:

NPRR091 - Scarcity Pricing and Mitigated Offer Cap During the Period Commencing on the Nodal Market Implementation Date and Continuing for a Total of 45 Days

See Section 3 above.

Revised Subsection:  4.4.11.2 (new)

NPRR228 - Resolution of Alignment Items A2, A80, A83 and A93 - As-Built Treatment and Settlement of Combined Cycle Generation Resources in ERCOT Market Systems

See Section 2 above.

Revised Subsections:  4.5.1, 4.6.1.4 (new), 4.6.2.3.1, 4.6.4.1.1, 4.6.4.1.2, 4.6.4.1.3, 4.6.4.1.4

NPRR236 - Resolution of Alignment Item A83 partially, A86, A87 partially, A88 partially, and A142 - Clarify Default Actions for Missing Data and Range of Valid Data Entries for Energy Offers

See Section 2 above.

Revised Subsection:  4.4.9.3

- Section 5:

NPRR228 - Resolution of Alignment Items A2, A80, A83 and A93 - As-Built Treatment and Settlement of Combined Cycle Generation Resources in ERCOT Market Systems

See Section 2 above.

Revised Subsections:  5.7.1, 5.7.1.1, 5.7.1.2, 5.7.1.3, 5.7.1.4, 5.7.2, 5.7.3, 5.7.4, 5.7.4.1, 5.7.4.1.1, 5.7.5, 5.7.6

NPRR245 - Protocol Synchronization and As-Built Clarification for RUC Shortfall Calculation

This NPRR conforms language within Section 5.7.4.1.1, Capacity Shortfall Ratio Share, and clarifies how to perform Settlements.

Revised Subsection:  5.7.4.1.1

- Section 6:

NPRR218 - Resolution of Alignment Item A71 - Add Protocol Description of the Power Balance Penalty Factor used in the SCED

This NPRR adds a description of the power balance penalty factor to the Nodal Protocol sections that describe the implemented constraint set utilized in the Security-Constrained Economic Dispatch (SCED) optimization.

Revised Subsections:  6.5.7.1.11, 6.5.7.3

NPRR228 - Resolution of Alignment Items A2, A80, A83 and A93 - As-Built Treatment and Settlement of Combined Cycle Generation Resources in ERCOT Market Systems

See Section 2 above.

Revised Subsections:  6.5.5.2, 6.6.1.1, 6.6.3.1, 6.6.5, 6.6.5.1, 6.6.5.1.1, 6.6.5.1.2, 6.6.5.2, 6.6.5.3, 6.6.5.4, 6.6.6.1, 6.6.6.2, 6.6.6.3, 6.6.6.4, 6.6.7.1, 6.6.8.1, 6.6.9.1, 6.7.1

NPRR236 - Resolution of Alignment Item A83 partially, A86, A87 partially, A88 partially, and A142 - Clarify Default Actions for Missing Data and Range of Valid Data Entries for Energy Offers

See Section 2 above.

Revised Subsections:  6.4.3, 6.4.4

NPRR237 - Resolution of Alignment Items A22, A143, A148, A153, A160 and A169 – Clarification of NERC Reliability Standards and MIS Posting Requirements

This NPRR resolves Alignment Items A22, A143, A148, A153, A160 and A169 by clarifying the role of North American Electric Reliability Corporation (NERC) Reliability Standards in relation to the Nodal Protocols and several Market Information System (MIS) posting requirements.

Revised Subsections:  6.4.5, 6.5.2, 6.5.7.1.13, 6.5.7.5, 6.5.7.6.1

- Section 7:

NPRR228 - Resolution of Alignment Items A2, A80, A83 and A93 - As-Built Treatment and Settlement of Combined Cycle Generation Resources in ERCOT Market Systems

See Section 2 above.

Revised Subsection:  7.9.3.1

NPRR233 - Clarifying Method of Enforcing CRR Auction Limitation on Market Submissions

This NPRR clarifies the procedures and system configurations that will be utilized to ensure market transactions for Congestion Revenue Right (CRR) Auctions do not exceed the system capabilities.

Revised Subsection:  7.5.2

- Section 8:

NPRR237 - Resolution of Alignment Items A22, A143, A148, A153, A160 and A169 – Clarification of NERC Reliability Standards and MIS Posting Requirements

See Section 6 above.

Revised Subsection:  8.2

- Section 14:

NPRR242 - Synchronization of Nodal Protocols with PRR792

See Section 1 above.

Revised Subsections:  14.2, 14.5.2, 14.5.3 (new), 14.9.3.1, 14.9.5

- Administrative Changes:

Non-substantive administrative changes were made such as formatting and correcting Section numbering and references.

Revised Subsections:  6.4.2.1, 6.5.7.1.10, and 6.6.1