| I. Revision Request Details |  |
| --- | --- |
| Date | August 31, 2010 |
| Revision Request Number | NPRR267 |
| Revision Request Name | Allow ERCOT to Manage Operations Model Pseudo Devices |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Protocol Revision Request (NPRR) 267, Allow ERCOT to Manage Operations Model Pseudo Devices, will allow ERCOT to enter and manage Network Operation Model Change Request’s (NOMCR’s) associated with pseudo equipment needed by ERCOT. ERCOT has performed an initial assessment of NPRR267 and determined that, as currently written, it will impact established ERCOT procedures. Because the Protocol sections being revised in NPRR267 have an effective date of 09/01/2010, the ERCOT CEO has no opinion on whether or not NPRR267 is necessary prior to the Texas Nodal Market Implementation Date (TNMID). The ERCOT CEO has the right to reevaluate the NPRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: Impacts to established business process/procedure..