Date: 	August 26, 2010

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following PRR and NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

  - PRR850, Weather Responsiveness Determination for Interval Data Recorders [Commercial Operations Subcommittee (COPS)] -  URGENT.

Proposed Effective Date:  October 1, 2010

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Less than $50k – no project requirement; no ERCOT staffing impacts; impacts to ERCOT Lodestar system; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This PRR limits the applicability of the weather responsiveness test to Interval Data Recorder (IDR) Meters.

Procedural History:  PRR850 was posted on 8/11/10.  On 8/13/10, PRR850 was granted Urgent status via PRS email vote.  On 8/19/10, PRS unanimously voted to recommend approval of PRR850 as submitted and forward PRR850 and the Impact Analysis to TAC.  The Independent Power Marketer (IPM) Market Segment was not present for the vote.  Credit review is pending.

NPRRs Recommended for Approval

  - NPRR220, Nodal Requirement of Declaring an EEA for Reserves More than 500 MW [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the requirement to declare an Energy Emergency Alert (EEA) prior to deploying more than 500 MW of Responsive Reserve (RRS).

Procedural History:  NPRR220 was posted on 3/24/10.  On 4/22/10, PRS unanimously voted to refer NPRR220 to the Reliability and Operations Subcommittee (ROS).  On 6/17/10, PRS unanimously voted to refer NPRR220 to NATF.  On 7/22/10, PRS unanimously voted to table NPRR220 for one month.  On 8/19/10, PRS voted to recommend approval of NPRR220 as submitted.  There was one objection from the Independent Generator Market Segment.  PRS then unanimously voted to forward NPRR220 and the Impact Analysis to TAC.  The IPM Market Segment was not present for both votes.  Credit review is pending.

  - NPRR231, Treatment of RMR Units in the Day-Ahead Market 
(formerly “Remove RMR Units from the Day-Ahead Market”) [Luminant].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR231 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes ERCOT’s ability to submit Three-Part Supply Offer curves for any Generation Resource providing Reliability Must-Run (RMR) Service from participation in the Day-Ahead Market (DAM) and the Day-Ahead Reliability Unit Commitment (DRUC) process.  However, ERCOT will still have the ability to use an RMR Resource to resolve local congestion issues through Verbal Dispatch Instruction (VDI).

Procedural History:  NPRR231 was posted on 5/7/10.  On 5/20/10, PRS unanimously voted to table NPRR231.  On 6/17/10, PRS voted to refer NPRR231 to the Nodal Advisory Task Force (NATF).  There were two abstentions from the Consumer and Independent Generator Market Segments.  On 7/22/10, PRS voted to recommend approval of NPRR231 as amended by the 7/21/10 WMS comments and as revised by PRS and requested that ERCOT Staff report back on how they will manage RMR units in the DAM.  There were two abstentions from the Independent Generator and Municipal Market Segments.  On 8/19/10, PRS voted to endorse and forward the 7/22/10 PRS Report and Impact Analysis for NPRR231 to TAC via roll call vote.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR232, Clarification of Block Load Transfer Registration and Deployment [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR232 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds language to clarify the purpose of registering Block Load Transfers (BLTs) and to specify the instances of Load transfer between Control Areas for which registration is required or when optional.  The proposed revision clarifies the role of Market Participants regarding registering a BLT and related roles.

Procedural History:  NPRR232 was posted on 5/10/10.  On 5/20/10, PRS unanimously voted to table NPRR232 for one month.  On 6/17/10, PRS unanimously voted to table NPRR232 for one month.  On 7/22/10, PRS voted to recommend approval of NPRR232 as amended by the 7/15/10 ERCOT comments and as revised by PRS.  There was one objection from the Independent Generator Market Segment.  On 8/19/10, PRS unanimously voted to endorse and forward the 7//22/10 PRS Report and Impact Analysis for NPRR232 to TAC.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR238, Resolution of Alignment Item A47, A59, A104, A105, A114, A115, A130, A188, and A189 - Provides Clarification and Updates to Network Operations Model Processes for Resource Entities [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR resolves Alignment Items A47, A59, A104, A105, A114, A115, A130, A188, and A189 by clarifying Network Model updates processes including clarification of the role the resource registration process in the model updates as well as the data submittal time requirements for Resource Entities.

Procedural History:  NPRR238 was posted on 5/13/10.  On 5/20/10, PRS unanimously voted to table NPRR238.  On 6/17/10, PRS unanimously voted to table NPRR238 for one month.  On 7/22/10, PRS unanimously voted to table NPRR238.  On 8/19/10, PRS unanimously voted to recommend approval of NPRR238 as amended by the 8/12/10 ERCOT comments and to forward NPRR238 and the Impact Analysis to TAC.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR240, Proxy Energy Offer Curve [Potomac Economics].

Proposed Effective Date:  Partially Upon Texas Nodal Market Implementation.  Grey-boxed language will be Post Texas Nodal Market Implementation Date.

CEO Determination:  Partially necessary prior to the Texas Nodal Market Implementation Date.  Grey-boxed language is not necessary prior Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.  Impact Analysis for grey-boxed portion will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR states that the Entity with decision making authority over how a Resource or Split Generation Resource is offered or scheduled shall be responsible for all offers associated with each Resource, including offers represented by a proxy Energy Offer Curve.

Procedural History:  NPRR240 was posted on 5/26/10.  On 6/17/10, PRS unanimously voted to table NPRR240.  On 7/22/10, PRS voted to recommend approval of NPRR240 as amended by the 7/21/10 WMS comments and as revised by PRS.  There was one abstention from the Independent Generator Market Segment.  On 8/19/10, PRS unanimously voted to endorse and forward the 7/22/10 PRS Report and revised Impact Analysis for NPRR240 to TAC and to recommend a priority of High/Medium to the grey-boxed language.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR241, Aggregate Incremental Liability (AIL) Calculation and Credit Reports Publish Corrections [ERCOT].

Proposed Effective Date:  Partially Upon Texas Nodal Market Implementation.  Grey-boxed language will be Post Texas Nodal Market Implementation Date.

CEO Determination:  Partially necessary prior to the Texas Nodal Market Implementation Date.  Grey-boxed language is not necessary prior Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.  Impact Analysis for grey-boxed portion will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR updates AIL calculation to reflect Max (Average Daily Transaction Extrapolated (ADTE) during the previous 60-day period) instead of ADTE to match Estimated Aggregate Liability (EAL) calculation; corrects Credit Monitoring and Management Reports format from Extensible Markup Language (XML) to Microsoft Excel (XLS) format; updates the posting requirements of Future Credit Exposure (FCE) Details Reports.

Procedural History:  NPRR241 was posted on 5/27/10.  On 6/17/10, PRS unanimously voted to refer NPRR241 to the Wholesale Market Subcommittee (WMS).  On 7/22/10, PRS unanimously voted to recommend approval of NPRR241 as amended by the 7/21/10 WMS comments and as revised by PRS.  On 8/19/10, PRS unanimously voted to endorse and forward the 7/22/10 PRS Report and Impact Analysis for NPRR241 to TAC and to recommend a priority of Medium to the grey-boxed language.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR243, Load Resource Disqualification, Unannounced Testing, and Compliance [WMS].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR incorporates relevant language from PRR714, Qualification and Periodic Testing of Loads acting as Resources (LaaRs), and synchronizes the Nodal Protocols with the current zonal requirements for the periodic testing and suspension of a Load Resource for non-performance.

Procedural History:  NPRR243 was posted on 6/3/10.  On 6/17/10, PRS unanimously voted to table NPRR243 for one month.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR243 as amended by the 7/21/10 WMS comments and as revised by PRS.  On 8/19/10, PRS unanimously voted to endorse and forward the 7/22/10 PRS Report as amended by the 8/2/10 TIEC comments and Impact Analysis for NPRR243 to TAC.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR247, Retail Market Testing Updates Due to the Merger of the TX SET and TTPT Working Groups [TX SET].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  No opinion on whether or not NPRR247 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR creates Section 19.8, Retail Market Testing, incorporating the retail market testing process into Section 19, Texas Standard Electronic Transaction, thereby eliminating the need for Section 23, Texas Test Plan Team - Retail Market Testing.

Procedural History:  NPRR247 was posted on 6/21/10.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR247 as amended by the 7/8/10 ERCOT comments.  On 8/19/10, PRS unanimously voted to endorse and forward the 7/22/10 PRS Report and Impact Analysis for NPRR247 to TAC.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR248, Removal of Loads from Pre-1999 NOIE Load Zone [Kerrville and San Bernard].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR248 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR provides that a member assigned to a Non-Opt-In Entity (NOIE) Load Zone due to being in a group of NOIEs that are parties to the same pre-1999 power supply arrangement and having a 2003 peak Load in excess of 2,300 will be assigned to an appropriate Competitive Load Zone if it terminates its pre-1999 power supply arrangement.

Procedural History:  NPRR248 was posted on 6/24/10.  On 7/22/10, PRS voted to table NPRR248.  There were two abstentions from the Independent Generator and Municipal Market Segments.  On 8/19/10, PRS voted to recommend approval of NPRR248 as amended by the 8/12/10 LCRA-Kerrville-San Bernard comments and to forward NPRR248 to TAC via roll call vote.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR249, Resolution of Alignment Item A155 and A159 - Removal of Text Reason Requirement (formerly “Removal of Text Reason Requirement) [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the requirement for QSEs with Resources to submit a text reason to ERCOT when a Resource’s telemetered High Sustained Limit (HSL) or Low Sustained Limit (LSL) deviates from a normal high or low limit.

Procedural History:  NPRR249 was posted on 7/6/10.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR249 as revised by PRS.  On 8/19/10, PRS unanimously voted to endorse and forward the 7/22/10 PRS Report and Impact Analysis for NPRR249 to TAC.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR250, Suspension of Annual Profile ID Validation With Advanced Meter Deployment [Profiling Working Group (PWG)].

Proposed Effective Date:  Upon Texas Nodal Market Implementation

CEO Determination:  No opinion on whether or not NPRR250 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the market requirement for annual Load Profile ID validation in areas where Advanced Meter System (AMS) deployment is in progress.

Procedural History:  NPRR250 was posted on 7/7/10.  On 7/22/10, PRS voted to recommend approval of NPRR250 as submitted.  There was one abstention from the Independent Generator Market Segment.  On 8/19/10, PRS unanimously voted to endorse and forward the 7/22/10 PRS Report and Impact Analysis for NPRR250 to TAC.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR251, Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned [Retail Metering Working Group (RMWG)].

Proposed Effective Date:  Partially Upon Texas Nodal Market Implementation.  Grey-boxed language will be Post Texas Nodal Market Implementation Date.

CEO Determination:  Partially necessary prior to the Texas Nodal Market Implementation Date.  Grey-boxed language is not necessary prior Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.  Impact Analysis for grey-boxed portion will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned, which clarifies the meaning of an IDR Meter and provides for optional removal of IDR Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the Transmission and/or Distribution Service Provider (TDSP).  This NPRR also inserts grey boxed language for reporting requirements in Sections 18.6.1 and 18.6.2, to be implemented post Texas Nodal Market Implementation Date.

Procedural History:  NPRR251 was posted on 7/8/10.  On 7/22/10, PRS voted to recommend approval of NPRR251 as submitted.  There was one abstention from the Consumer Market Segment.  On 8/19/10, PRS unanimously voted to endorse and forward the 7/22/10 PRS Report and Impact Analysis for NPRR251 to TAC and to recommend a priority of High to the grey-boxed language.  There was one abstention from the Consumer Market Segment.  The IPM Market Segment was not present for the vote.    Credit review is pending.

  - NPRR252, Synchronization of PRR758, Clarification of Language Related to Generation Netting for ERCOT Polled Settlement Meters [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR758, Clarification of Language Related to Generation Netting for ERCOT Polled Settlement Meters, approved by the ERCOT Board on 4/15/08.

Procedural History:  NPRR252 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR252 as submitted.  On 8/19/10, PRS unanimously voted to endorse and forward the 7/22/10 PRS Report and Impact Analysis for NPRR252 to TAC.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR254, Updates to Protocol Sections 14 and 18 [ERCOT].

Proposed Effective Date:  Upon Texas Nodal Market Implementation

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR aligns language in Section 14 with COPMGRR016, Update to Section 12, Renewable Energy Credits due to PRR808, Clean-up and Alignment of RECs Trading Program Language with PUCT Rules (approved by TAC on 4/8/10).  This NPRR also updates Section 18, Load Profiling, with terms proposed in NPRR229, Additions to Section 2, Definitions and Acronyms.

Procedural History:  NPRR254 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR254 as submitted.  On 8/19/10, PRS unanimously voted to endorse and forward the 7/22/10 PRS Report and Impact Analysis for NPRR254 to TAC.  The IPM Market Segment was not present for the vote.  Credit review is pending.

Revision Requests Recommended for Approval and Inclusion in the Parking Deck

  - SCR759, Allow ERCOT Option to Cancel Commitments Previously Issued Through RUC [ERCOT].

Proposed Effective Date:  Upon System Implementation - Post Texas Nodal Market Implementation Date.

CEO Determination:  Not Necessary prior to the Texas Nodal Market Implementation Date

ERCOT Impact Analysis:  Impact Analysis will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This System Change Request (SCR) proposes to increase the allowable character size of the acLineSegment type under the Line Equipment Container from two to 14 in the Information Model Manager.

Procedural History:  SCR759 was posted on 5/27/10.  On 7/15/10, ROS unanimously voted to recommend approval of SCR759 as submitted.  On 8/12/10, ROS unanimously voted to endorse and forward the 7/15/10 ROS Report and Impact Analysis for SCR759 to PRS with a recommended priority of High.  On 8/19/10, PRS unanimously voted to recommend a priority of High for SCR759.  The IPM Market Segment was not present for the vote.  Credit review not applicable.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

- PRR838, Fast Response Distributed Energy Resource (DER) [Enchanted Rock].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This PRR allows for participation of Distributed Energy Resources (DERs) in Responsive Reserve (RRS) Service on an equivalent basis with synchronous condenser fast-response hydro.

Procedural History:  PRR838 was posted on 10/22/09.  On 11/19/09, PRS unanimously voted to refer PRR838 to the ROS with instruction to have the Performance, Disturbance and Compliance Working Group (PDCWG) assist in constructing the DER operational prototype test, to provide transparency to Market Participants on the type of the test and to report the results to ROS.  On 8/12/10, PRR838 was withdrawn by the submitter.  Credit review is not applicable.

  - NPRR147, DAM Short Pay Changes [WMS].

Proposed Effective Date:  Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the way short pays to the DAM are handled.  This NPRR reallocates short payments using a procedure that draws from the Congestion Revenue Right (CRR) Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.

Procedural History:  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to the Transition Plan Task Force (TPTF) for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the IPM Market Segment.  On 10/23/08, PRS voted to table NPRR147 until the 11/20/08 PRS meeting.  There was one abstention from the Investor Owned Utility (IOU) Market Segment.  On 11/20/08, PRS unanimously voted to refer NPRR147 to the WMS and Credit WG for consideration.  On 7/27/10, NPRR147 was withdrawn by the submitter.  Credit review is not applicable.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the September 23, 2010 PRS Meeting

  - NPRR244, Clarification of Other Binding Documents [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the concept of “Other Binding Documents” and the revision process to better align with item (j) of the Public Utility Regulatory Act, TEX. UTIL. CODE ANN. § 39.151 (Vernon 1998 & Supp. 2003) (PURA), Essential Organizations, and P.U.C.T. Subst. R. 25.503, Oversight of Wholesale Market Participants, with respect to governing documents that are public and in effect in the ERCOT Region.

Procedural History:  NPRR244 was posted on 6/3/10.  On 6/17/10, PRS unanimously voted to table NPRR244 for one month.  On 7/22/10, PRS unanimously voted to table NPRR244 for one month.  On 8/19/10, PRS voted to recommend approval of NPRR244 as amended by the 8/4/10 PSEG TX comments via roll call vote.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR246, Requirement for Resource Entities to Update Resource Parameters [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; may result in an increase in the volume of Resource Asset Registration Form (RARF) updates, which could be accommodated with existing staffing.; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR requires Resource Entities to update their Resource Parameters after Net Dependable Capability (NDC) tests, reactive capability tests, ERCOT requests, and known data changes to any Resource Parameters.

Procedural History:  NPRR246 was posted on 6/8/10.  On 6/17/10, PRS unanimously voted to table NPRR246 for one month.  On 7/22/10, PRS unanimously voted to recommend approval of NPRR246 as amended by the 6/14/10 Luminant comments.  On 8/19/10, PRS unanimously voted to table NPRR246 for one month.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR255, Resolution of Alignment Item A81 - DRUC Timing and Execution when DAM is Delayed or Aborted [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds new Section 5.2.2 to describe the process that ERCOT will follow in the event that the DAM is delayed or aborted.

Procedural History:  NPRR255 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to refer NPRR255 to NATF.  On 8/19/10, PRS unanimously voted to recommend approval of NPRR255 as submitted.  The IPM Market Segment was not present for the vote.   Credit review is pending.

  - NPRR261, Revision of Data Submission Timeline for Network Model [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not NPRR261 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Less than $50k - implementing the requirements will take approximately two months after ERCOT Board approval; no ERCOT staffing impacts; minor changes to ERCOT Network Model Management System (NMMS) application; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the three-month summer model and replaces it with individual model packages for each month.  This NPRR also separates item (5) of Section 3.10.4 into three paragraphs for clarification of ERCOT’s requirements.

Procedural History:  NPRR261 was posted on 8/9/10.  On 8/19/10, PRS unanimously voted to recommend approval of NPRR261 as submitted. The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR262, Protocol Synchronization for Nodal Implementation Surcharge [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Less than $50k – no project required; no ERCOT staffing impacts; minor impacts to ERCOT Settlement and Billing application; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR modifies the Nodal Implementation Surcharge (NIS) calculation to mirror the existing zonal calculation, by including generation from Non-Modeled Generators and energy imported into the ERCOT System during a declared Emergency Condition through each Direct Current Tie (DC Tie) in response to an ERCOT Dispatch Instruction.

Procedural History:  NPRR262 was posted on 8/9/10.  On 8/19/10 PRS voted to recommend approval of NPRR262 as submitted.  There was one abstention from the Municipal Market Segment.  The IPM Market Segment was not present for the vote.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR834, ERCOT Load Forecast Accuracy [Luminant, CPS, NRG] – Urgent.

Proposed Effective Date: Pending.

CEO Determination:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This PRR proposes revisions that are intended to monitor and establish performance standards for ERCOT’s Load forecasting of the ERCOT Region and ERCOT Congestion Zones.

Procedural History:  PRR834 was posted on 9/24/09.  On 9/30/09, PRS voted to grant PRR834 Urgent status via PRS email vote.  On 10/22/09, PRS voted to table PRR834 for one month with one abstention from the Independent Generator Market Segment.  On 11/19/09, PRS unanimously voted to table PRR834 for one month.  On 12/17/09, PRS unanimously voted to table PRR834 until after the Load forecasting workshop.  Credit review is pending.

  - PRR843, Add Regional Planning Section to Protocols [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  No opinion on whether or not PRR843 is necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no additional full-time equivalents needed; no system changes required; no impacts to ERCOT business functions; no impact to grid operations.

Revision Description:  This PRR adds the entirety of the Regional Planning Group (RPG) Charter and Procedures (Charter) document, as it was recently approved by the ERCOT Board, to the Protocols.

Procedural History:  PRR843 was posted on 12/18/09.  On 1/21/10, PRS unanimously voted to create a task force to discuss the policy issues relating to PRR843, to refer PRR843 to the task force, and to instruct the task force report back at the February 2010 PRS meeting.  On 2/18/10, PRS unanimously voted to table PRR843 indefinitely.  Credit review is pending.

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  The ERCOT CEO has determined that the NPRR190 should proceed through the stakeholder review process.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the Public Utility Commission of Texas (PUCT) according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  Credit review is pending.

  - NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR will require the Resource Entity to designate a Transmission Service Provider (TSP) as the responsible Entity that will manage Outage Scheduler entries for the Resource Entity for Transmission Elements owned by the Resource other than the outage of the Generation or Load Resource itself.  This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the MIS.

Procedural History:  NPRR219 was posted on 3/24/10.  On 4/22/10, PRS unanimously voted to table NPRR219.  On 5/20/10, PRS unanimously voted to table NPRR219.  On 6/17/10, PRS unanimously voted to table NPRR219 for one month.  On 7/22/10, PRS unanimously voted to table NPRR219.  On 8/19/10, PRS unanimously voted to table NPRR219 for one month.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR259, Resolution of Alignment Items A175 and A176 - Settlement of Generation Resources Dispatched to Meet System Reliability Requirements [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies that all commitments of a specific Generation Resource in response to an ERCOT Dispatch Instruction (whether issued electronically or verbally) for the commitment of that Generation Resource will be considered to be a Reliability Unit Commitment (RUC) and will be settled in accordance with the RUC Settlement provisions described in the Nodal Protocols.

Procedural History:  NPRR259 was posted on 7/28/10.  On 8/19/10, PRS unanimously voted to table NPRR259.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR260, Providing Access to MIS Secure Area to MIS Registered Users [Crescent Power].

Proposed Effective Date:  Pending.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Impact Analysis will be conducted at a future date due to “Not Needed for Go-Live” designation by the ERCOT CEO.

Revision Description:  This NPRR adds "Independent Market Information System (MIS) Registered Entity" to Section 2.1 and Section 22, Attachment A.  By doing so, the Standard Form Market Participant Agreement would bind Independent MIS Registered Entities to the Nodal Protocols and, in particular, provisions in Section 16.12.

Procedural History:  NPRR260 was posted on 8/5/10.  On 8/19/10, PRS unanimously voted to table NPRR260 for one month.  The IPM Market Segment was not present for the vote.    Credit review is pending.

  - NPRR263, Resolution of Alignment Item A99 - Settlement Point Price Calculation When Busses are De-energized [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds the requirement for ERCOT to assign a Locational Marginal Price (LMP) for use in the calculation of Day-Ahead and Real-Time Settlement Point Prices.

Procedural History:  NPRR263 was posted on 8/11/10.  On 8/19/10, PRS unanimously voted to table NPRR263 for one month.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to specify that Nodal Protocol requirements applicable to Generation Resources which are based upon the date of an executed Standard Generation Interconnection Agreement (SGIA) are applied to the date of the original SGIA for Resources with more than one point of Interconnection.

Procedural History:  NPRR264 was posted on 8/12/10.  On 8/19/10, PRS unanimously voted to table NPRR264 for one month.  The IPM Market Segment was not present for the vote.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

  - NPRR253, CRR Balancing Account Invoice and Settlement and Billing Dispute Process [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR updates Section 9.12, and Section 9.14, with information pertaining to the ERCOT Invoice process and the statuses for processing of disputes.  This NPRR also proposes non-substantive changes, such as capitalizing defined terms and use of acronyms.

Procedural History:  NPRR253 was posted on 7/15/10.  On 7/22/10, PRS voted to refer NPRR253 to COPS.  There was one abstention from the Independent Generator Market Segment.  Credit review is pending.

  - NPRR256, Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”) [Luminant Energy].

Proposed Effective Date:  Pending.

CEO Determination:  Not necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR aligns the Nodal Protocols with changes implemented from PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”), approved by the ERCOT Board on 8/18/09, and addresses the exclusion of Generation Resource Energy Deployment Performance (GREDP) during testing periods.  This NPRR also addresses timing discrepancies in updating Resources’ Ancillary Service Schedule during qualification testing.

Procedural History:  NPRR256 was posted on 7/15/10.  On 7/22/10, PRS unanimously voted to table NPRR256.  On 8/19/10, PRS unanimously voted to refer NPRR256 to NATF.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR257, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  No budgetary impact; no ERCOT staffing impacts; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR gray-boxes multiple sections of the Nodal Protocols to align with Nodal Operating Guide Section 9, Monitoring Programs.

Procedural History:  NPRR257 was posted on 7/23/10.  On 8/19/10, PRS unanimously voted to refer NPRR257 to NATF.  The IPM Market Segment was not present for the vote.  Credit review is pending.

  - NPRR258, Synchronization with Nodal Operating Guide Section 9, Monitoring Programs [ERCOT].

Proposed Effective Date:  Pending.

CEO Determination:  Necessary prior to the Texas Nodal Market Implementation Date.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 824, Primary Frequency Response from WGRs and PRR833, Primary Frequency Response Requirement from Existing WGRs; refines and clarifies the definition of Generation Resource Energy Deployment Performance (GREDP);  moves the definition of Measurable Event to Section 2.1; and proposes a definition for Dead Band as defined in Section 6.2.1.4, Definitions, of the zonal Operating Guides.

Procedural History:  NPRR258 was posted on 7/23/10.  On 8/19/10, PRS unanimously voted to refer NPRR258 to ROS.  The IPM Market Segment was not present for the vote.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the September 23, 2010 PRS Meeting

None.