## Slide 1: Nodal Advisory Task Force
http://www.ercot.com/committees/board/tac/natf/ <number>
Update for TAC
September 2nd, 2010

## Slide 2: TAC Update from Nodal ATF
Met August 3rd, 9th, 12th, 17th, and the 31st.
  Also this morning 9/2 @ 8:30am
  August 17th was a joint NDSWG/NATF to address the Modeling Expectation whitepaper
Follow-on to the DAM Technical Workshops:
  DAM Deep Dive of results.
    Each Tuesday and Thursday @ 10am
    ERCOT and MPs
    Meetings posted on ERCOT Meetings page
Next few meetings scheduled for:
  Tuesday, September 7th, 2010
  Tuesday, September 14th, 2010 Cancelled
  Friday, September 17th, 2010 Post 168-hr Test Review
  Tuesday, September 28th, 2010
http://www.ercot.com/committees/board/tac/natf/ <number>
Meetings

## Slide 3: TAC Update from Nodal ATF
ERCOT BUSINESS PRACTICE MANUALS
RELIABILITY & WHOLESALE MARKET COMMERCIAL PRACTICES Current Operating Plan Practices by Qualified Scheduling Entities
NETWORK OPERATIONS
Modeling Expectations for TSPs, REs, & QSEs - Version 5.1
http://www.ercot.com/committees/board/tac/natf/ <number>
Business Practice Manuals

## Slide 4: TAC Update from Nodal ATF
ERCOT BUSINESS PRACTICE MANUALS
SETTING THE SHADOW PRICE CAPS & POWER BALANCE PENALTIES IN SECURITY CONSTRAINED ECONOMIC DISPATCH
ERCOT AND QSE OPERATIONS PRACTICES DURING THE OPERATING HOUR
Comments to either of these documents should be submitted by close of business Friday, September 3, 2010, to NATF@lists.ercot.com. These documents are posted to the August 31st, 2010 NATF meeting page (http://www.ercot.com/calendar/2010/08/20100831-NATF).
http://www.ercot.com/committees/board/tac/natf/ <number>
Business Practice Manuals

## Slide 5: TAC Update from Nodal ATF
3.1. Intermittent Resources – Wind Generation Resources (WGR)
Nodal Protocol 3.13 (1) requires ERCOT to produce forecasts of Renewable Production Potential for Wind Generation Resources (WGRs) to be used as input into the Day-Ahead and Hour Ahead Reliability Unit Commitment processes (DRUC and HRUC). Additionally, Protocols require QSE’s to provide a Resource Status in the COP reporting hours to indicate the availability of the WGR and its LEL/LSL/HSL/HEL capability. If the WGR is available the expected Resource Status is either ON (indicating that the WGR has submitted an EOC) or ONOS (indicating that the WGR will operate under the Protocol provisions for a WGR with/without an Output Schedule). A WGR reporting a Resource Status OFF may be subject to a Reliability Unit Commitment Dispatch Instruction.
As described in Protocol 4.2.2 (1), ERCOT provides for each WGR a rolling Short Term Wind Power Forecast (STWPF) in the form of an hourly forecast for the next 48 hours. Protocol 3.9.1 (7) requires the QSE representing a WGR to enter in its COP an HSL no greater than the most recent STWPF provided by ERCOT. WGRs/QSEs are required to adjust the STWPF provided by ERCOT to account for WGR deratings or availability reductions due to outages, regulatory or physical impairments to the generation or transmission interconnection facilities. Updates to the STWPF are provided hourly by ERCOT, consequently, the QSE is required to make hourly updates to the WGR’s HSL and potentially it’s Resource Status in its COP.
The Protocol requirements related to the COP entries for HSL as noted above cover only the first 48 hours in the COP reporting period. COP entries are the responsibility of the QSE and these entries represent the QSE’s best estimate of the anticipated or expected operating condition for the remaining hours in the COP reporting period. QSEs and WGR owners should provide their best estimate for HSL consistent with expected meteorological, regulatory, and physical conditions for the WGR(s) for all hours in the COP reporting period.
http://www.ercot.com/committees/board/tac/natf/ <number>
WRUC - 168 Hour COP
Wind Forecast for 168 hours (excerpt from ERCOT Business Practices Manual for the COP)

## Slide 6: TAC Update from Nodal ATF
FUTURE AGENDA ITEMS:
• LFC Tests results
Shadow Price Caps in Real-Time and DAM
Power Balance Penalties in Real-Time
Preparation for TAC required approval for Go-Live Items
Documenting and Tracking Nodal Issues
Competitive Constraints using Decision Making Entities
Transition Plans for Go-Live
Testing requirements in October and November
Availability of testing environments running DAM for test submissions
• 168-Hour Test Review
• Competitive Constraint Test Values
• DAM Issues
http://www.ercot.com/committees/board/tac/natf/ <number>
Future Agenda Items

## Slide 7: TAC Update from Nodal ATF
DAM Credit Issues
  ACL Calculation for non-business days
  May require ERCOT Systems Changes prior to go-live
  Separate Presentation from this morning’s meeting
http://www.ercot.com/committees/board/tac/natf/ <number>
TAC ACTION