## Slide 1: ERCOT SPWG ASPEN License Proposal
Current Status
  A majority of ERCOT SPWG members use ASPEN
  Current case update process requires most members to convert files from ASPEN to PSS/E format, then submit to ERCOT
Problem
  Once the case is compiled most members then have to convert from PSS/E format back to ASPEN
    Information is sometimes lost in the conversion
    Aspen and PSSE are competitors, so conversion utilities are not updated at same time as software updates.
Benefits
  ERCOT’s purchase of ASPEN will eliminate this conversion process for most members
  Future ASPEN updates may include the use of graphics for short circuit models; currently graphics are added back after file conversion
Testing
  SPWG completed a successful trial earlier this year in updating both the current and future year cases using a temporary license of ASPEN
  Conversion to PSS/E format for members that do not have ASPEN will be maintained
Recommendation
  The SPWG recommendation is to purchase ASPEN for ERCOT’s use in updating ERCOT short circuit cases.