CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | June 4, 2010 |
| Revision Request Number | NOGRR043 |
| Revision Request Name | Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Operating Guide Revsion Request (NOGRR) 043, Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement, relocates generator voltage requirements from Section 6, Disturbance Monitoring and System Protection, to Section 2, System Operation and Control Requirements, and establishes Voltage Ride-Through (VRT) requirements for Wind Generation Resources (WGRs) to synchronize with the zonal Operating Guides. Clarifications to Qualified Scheduling Entity (QSE) and Resource Entity responsibilities regarding reactive capability and communication of changes have also been made. After initial review, NOGRR043 has no impact to Nodal systems, budget, or schedule so there is no reason at this time not to allow the NOGRR to proceed in the stakeholder review process. The ERCOT CEO has determined that NOGRR043 is necessary prior to the Texas Nodal Market Implementation Date. The ERCOT CEO has the right to reevaluate the NOGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Explain: Changes needed in the Nodal Operating Guides to maintain continuity of reliability requirements of the ERCOT System.; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.