CEO Revision Request Review

| I. Revision Request Details |  |
| --- | --- |
| Date | June 10, 2010 |
| Revision Request Number | NOGRR045 |
| Revision Request Name | Synchronization of OGRR219, Time Error Correction |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Nodal Operating Guide Revision Request (NOGRR) 045 Synchronization of OGRR219, Time Error Correction, synchronizes the Nodal Operating Guide with Operating Guide Revision Request (OGRR) 219, Time Error Correction, which removes the requirement that ERCOT perform time error corrections for accumulated time errors exceeding five seconds. Since it would be problematic to use outdated Operating Guide language, it is imperative that the Nodal Operating Guide be synchronized with the current Zonal Operating Guide in order to have a clear transition from one set of rules to another for ERCOT and Market Participants to operate within. Furthermore, after initial review, NOGRR045 does not impact Nodal systems, budget or schedule. Therefore, ERCOT has no objection to this NOGRR proceeding through the stakeholder review process. As OGRR219, has been approved the ERCOT CEO has determined that NOGRR045 is necessary prior to the Texas Nodal Market Implementation Date. The ERCOT CEO has the right to reevaluate the NOGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other (see explanation below) Explain: OGRR219; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.