| NOGRR Number | 043 | NOGRR Title | Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement |
| --- | --- | --- | --- |

| Date | September 16, 2010 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Bradley Schwarz |
| E-mail Address | bradley.schwarz@eon.com |
| Company | E.ON Climate & Renewables North America, LLC |
| Phone Number | 512-482-4003 |
| Cell Number | 512-289-7425 |
| Market Segment | Independent Generator |

Comments

E.ON Climate & Renewables North America, LLC appreciates the opportunity to offer comments on NOGRR043. These comments are submitted to clarify misconceptions presented by ERCOT in Section 2.9.1, Additional Voltage Ride-Through Requirements for Wind-powered Generation Resources, on Wind-powered Generation Resources’ (WGR) Voltage Ride-Through (VRT) capability.

WGR VRT capability is not solely provided by individual turbine capability, but rather by a combination of turbine capability, sub-station reactive devices, sub-station transformers, collection system properties and the reactive control scheme for the WGR.  Paragraph (3) of Section 2.9.1 states that WGR VRT capability is measured at the Point of Interconnection (POI) to the ERCOT grid. Assertions that individually turbines that are replaced shall be VRT capable assume that WGR VRT capability is derived solely from individual turbine capability and that WGR VRT capability is measured at the individual turbine terminals rather than the POI for the WGR.

Revised Proposed Guide Language

None.