| NPRR Number | 266 | NPRR Title | Installed Capacity of Unregistered Distributed Generation (DG) |
| --- | --- | --- | --- |
| Date Posted |  | August 31, 2010 |  |
| Nodal Protocol Section Requiring Revision |  | 16.5, Registration of a Resource Entity |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies that only the capacity of unregistered Distributed Generation Resources (DGs) is totaled for the determination that the DG registration threshold must be lowered. |  |
| Reason for Revision |  | The approved NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW, added language to Section 16.5, paragraph (2) requires that ERCOT report the total unregistered installed capacity below the current DG registration threshold, summed by Load Zone. The report is to be used to determine if the registration threshold needs to be reduced to keep the total installed capacity of unregistered DG to no more than seven MW in any Load Zone. However, the language can be misinterpreted to mean that the capacity of registered and unregistered DG is to be totaled. |  |
| Overall Market Benefit |  | Reduced Market Participant costs of registration and provide clarity to the requirements. |  |
| Overall Market Impact |  | The market impact will be negligible, as this NPRR clarifies the requirements. |  |
| Consumer Impact |  | Reduces the registration requirements for owners of small DG. |  |
| Credit Implications |  | To be determined. |  |
| Submitter Justification for Necessity Prior to the Texas Nodal Market Implementation Date |  | The current language could be used to lower the DG registration threshold upon the Texas Nodal Implementation Date. |  |
| CEO Determination |  | The ERCOT CEO has no opinion on whether or not NPRR266 is necessary prior to the Texas Nodal Market Implementation Date (TNMID). |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | None |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None | $0 |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Reduced Market Participant costs of registration and provide clarity to the requirements. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | David J. Detelich |
| E-mail Address | djdetelich@cpsenergy.com |
| Company | CPS Energy |
| Phone Number | 210-353-3037 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512.248-6463 |

Proposed Protocol Language Revision

16.5	Registration of a Resource Entity

(1)	A Resource Entity owns or controls an All-Inclusive Resource connected to the ERCOT System.  Each Resource Entity operating in ERCOT must register with ERCOT.  To become registered as a Resource Entity, an Entity must execute a Standard Form Market Participant Agreement (using the form in Section 22, Attachment A, Standard Form Market Participant Agreement), designate Resource Entity Authorized Representatives, contacts, and a User Security Administrator (USA) (per the Application for Registration as a Resource Entity), and demonstrate to ERCOT’s reasonable satisfaction that it is capable of performing the functions of a Resource Entity under these Protocols.  The Resource Entity shall register each All-Inclusive Resource with ERCOT through ERCOT registration, except for Distributed Generation (DG) with an installed capacity equal to or lower than the DG registration threshold.

(2)	Beginning on the Texas Nodal Market Implementation Date, DG with an installed capacity greater than one MW, the DG registration threshold, must register with ERCOT.  ERCOT shall reduce the DG registration threshold as required by these Protocols and post this requirement on the Market Information System (MIS) Public Area.  ERCOT shall produce quarterly reports on the total unregistered installed capacity of DG greater than 50kW below the current threshold, summed by Load Zone.  Such quarterly report shall contain the current DG registration threshold.  If the total installed capacity of unregistered DG greater than 50kW exceeds ten MW in any Load Zone, then ERCOT shall issue a Market Notice that states a lower DG registration threshold.  Such registration threshold shall be calculated by ERCOT to reduce the total installed capacity of unregistered DG greater than 50kW to no more than seven MW in any Load Zone.  This new DG registration threshold shall become effective nine months after ERCOT has issued the Market Notice and posted the new requirement on the MIS Public Area.  Notwithstanding the above, at no time shall ERCOT reduce the DG registration threshold below 50 kW.

(3)	Following this Market Notice, ERCOT shall inform the appropriate Technical Advisory Committee (TAC) subcommittee of the change in DG registration requirements at its next meeting.  The subcommittee shall analyze the quarterly report, and may take any action it deems appropriate, including submitting a Nodal Protocol Revision Request (NPRR) to alter this Section.