| LPGRR Number |  | LPGRR Title | Distributed Generation (DG) Long-Term Solution |
| --- | --- | --- | --- |
| Date Posted |  |  |  |

| Load Profiling Guide (LPG) Section(s) Requiring Revision (Include Section No. and Title) | Appendix D: Profile Decision Tree Appendix E: Profile Model Spreadsheets |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any |  |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| Revision Description | This LPGRR adds profile segments for DG (Distributed Generation) to the Profile Decision Tree and adds seven DG load profile models |
| Reason for Revision | To bring the Load Profiling Guide in agreement with the grey-boxed portion of NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW |
| Overall Market Benefit | Aligns the Load Profiling Guide with the Nodal Protocols |
| Overall Market Impact | Minor |
| Consumer Impact | Minimal |

Quantitative Impacts and Benefits

Instructions:  To allow for comprehensive LPGRR consideration and development of the Cost Benefit Analysis (CBA), please fill out each block below completely and provide as much detailed information as possible.  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to this LPGRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | A Market Notice will be issued giving at least a 150-day notice prior to the DG load profile segments becoming effective. The effective date will likely coincide with the implementation date of the grey-boxed portion of NPRR208. |  |
|  | 2 | The DG model spreadsheets use the same inputs and calculations as their ‘standard’ counterparts, e.g., RESHIDG is the same model as RESHIWR. |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ernie Podraza on behalf of the Profiling Working Group (PWG) |
| E-mail Address | Ernest.Podraza@directenergy.com |
| Company | Direct Energy |
| Phone Number | 713.877.3517 |
| Cell Number |  |
| Market Segment | Independent Retail Electric Providers |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512.248.6463 |

Proposed Guide Language Revision

# Appendix D

Profile Decision Tree

See electronic Microsoft Office Excel© file on the ERCOT Website

# Appendix E

Profile Model Spreadsheets

See electronic Microsoft Office Excel© files on the ERCOT Website