| SMOGRR Number | 009 | SMOGRR Title | Submittal Timeline for EPS Metering Design Proposals |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | August 17, 2010 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Settlement Metering Operating Guide (SMOG) Section Requiring Revision |  | 3.2.1, Design Proposal |  |  |
| Revision Description |  | This Settlement Metering Operating Guide Revision Request (SMOGRR) changes the timeline for Transmission and/or Distribution Service Provider (TDSP) submittal of ERCOT-Polled Settlement (EPS) Metering Design Proposals. |  |  |
| Reason for Revision |  | The submittal timeline in the SMOG in regards to EPS Metering Design Proposals will need to change to reduce risk associated with ERCOT generating production-ready network models. |  |  |
| Overall Market Benefit |  | Fewer changes to production-ready models. |  |  |
| Overall Market Impact |  | TDSPs will need to provide EPS Metering Design Proposals earlier. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Procedural History |  | - On 7/15/10, SMOGRR009, a CEO Revision Request Review and an Impact Analysis were posted. - On 8/17/10, the Metering Working Group (MWG) considered SMOGRR009. |  |  |
| MWG Decision |  | On 8/17/10, MWG was in consensus to recommend approval of SMOGRR009 as submitted. |  |  |
| Summary of MWG Discussion |  | On 8/17/10, whether Market Participants can comply with the 90 day time limit was discussed. It was also confirmed that the EPS Metering Design Proposal form does not need to be revised in light of SMOGRR009. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | TDSPs will need to provide EPS Metering Design Proposals earlier. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Fewer changes to production ready models. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 |
| Cell Number | 512-560-2378 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Comments

Please also note that the baseline SMOG language reflects the August 1, 2010 implementation of SMOGRR008, Revisions for Texas Nodal Market Implementation and Synchronization with PRR821.  These revisions are shown with “SMOGRR008” as the author.

Proposed Guide Language Revision

### 3.2.1	EPS Metering Design Proposal

The ERCOT-Polled Settlement (EPS) Metering Design Proposal should be provided no less than 90 days prior to the cutover date for adding or removing any EPS Meter for settlements.

(a)	Facility Information and Contact Information;

(b)	Metering Facility Details;

(c)	Detailed one-line drawing of facilities showing metering points; and

(d)	Other information as required.