## Slide 1: QSE Managers Working Group
Meeting Notes
7 September, 2010
Report to WMS
22 September, 2010
David Detelich - Chairperson

## Slide 2: QMWG Topics
Wind-powered Generation Resource (WGR) / Intermittent Renewable Resource (IRR) Base Point Deviation
  Mr. Goff moved to direct QMWG to draft an NPRR with grey box language for the use of telemetered HSL in calculating Base Point deviation, to correct the negative price issue, and to recommend interim options. Mr. Greer seconded the motion. The motion carried unanimously.
  Draft NPRR: IRR Generation Resource Base Point Deviation Charge Corrections

## Slide 3: QMWG Recommends Flag
Flag indicating SCED has dispatched a Generation Resource below HDL used by SCED;
Provides a clear curtailment signal to the IRR
Eliminates a time delay from the 5 minute update of HSL.
Settlement system will use the flag

## Slide 4: Correct the Negative Price Issue
Revision charges based on absolute value of RTSPP
Applies to all generation
Charge is small around zero RTSPP; is BPD charge a claw back or a penalty?
Alternative is to pick a minimum value; MAX (RTSPP, Penalty value)

## Slide 5: Interim Options
Suspend the charge until the correct solution can be programmed.
QMWG developed no alternate method for a charge
The 2 MW trigger shall remain in effect
GREDP calculation remains in effect.
IMM can monitor offer behavior

## Slide 6: When is charge Effective
The IRR BPDAMT = 0 when the flag is not set for all SCED intervals in the Settlement Interval
Charge could still be incorrect if applied to Settlement intervals that the flag is set for part of it.
There was not agreement on this issue
ERCOT Settlements could see no way around this in the meeting.

## Slide 7: Next meeting
October 12, 2010
  GREDP and other Nodal Reliability Performance Metrics
    Posting of GREDP scores
    Setting the X, Y and Z values
    Comparing to Adjusted Aggregated Base Point
    Publishing of intervals excluded from GREDP
    Exemptions
  AWS Truewind forecasts and data requirements.