OWG Meeting Notes 08/18/10

Attendance:

Colleen Frosch	ERCOT

Yvette Landin		ERCOT

Rand Westbrook	CNP (TO)

Brad Calhoun		CNP (TO)

Rick Keetch 		Reliant Energy

Ross Owen 		ONCOR (TO)

Wayne Bolton		Brazos (QSE)

Kevin Brown		Austin Energy

Brent Torgrimson 	TRE

Leo Villanueva	ERCOT

Jeff Sims		CPS Energy

Stan Morris		        TNMP (TO)

Mike Noth		         LCRA

Leticia Soto-Reyes	         ERCOT

Walter Reid 		         Wind Coalition

Dana Showalter 	         ERCOT

Sandip Sharma (phone)       ERCOT

Syndey Niemeyer (phone)   NRG

Dennis Sauriol	(phone)        AEP (TO)

Sherry Looney		         Luminant (QSE)

Kelly Blackmer (phone)      ERCOT

Cathy Carter (phone)	         ERCOT

9:30 Meeting opened with Antitrust Admonition by Brad Calhoun.

ROS meeting Report

- NOGRR039– ROS approved

- NOGRR050 – ROS approved

The June meeting notes were reviewed.

All action items are highlighted in green

NOGRR 051 Synchronization of OGRR238

NOGRR 051 Synchronization of OGRR192 – It was noted that NOGRR051 was undergoing an Urgency vote.  OWG endorsed NOGRR051 as revised by OWG.

OGRR 236 Fast Response Distributed Energy Resource (DER) – No Action.  It was noted that the sponsor submitted a Request for Withdrawal.

NOGRR 041 Synchronization of Section 2 with Nodal Protocols – 2.7.4.2 Parameters for Standard Reactor and Capacitor Switching Plan discussion. Group Recommended approval to ROS.

NOGRR 042 Synchronization of Section 3 with Nodal Protocols – Reviewed no impact IA.

OWG was in consensus to recommend approval with the 8/9/10 ERCOT comments. Group Recommended approval to ROS.

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement –

Reviewed no impact IA.  Group Recommended approval to ROS.

NOGRR 044 Clarification of a PSS In-Service – OWG was in consensus to table for one month to allow time for additional manufactures to comment.

NOGRR 045 Synchronization of OGRR219, Time Error Correction –  Reviewed no impact IA. Group Recommended approval to ROS.

NOGRR 046 Synchronization of Sections 4 and 5 with Nodal Protocols – Reviewed no impact IA. Group Recommended approval to ROS.

NOGRR 047 Synchronization of Sections 6 and 7 with Nodal Protocols – Reviewed no impact IA. Group Recommended approval to ROS.

NOGRR 048 Synchronization with OGRR240, CREZ Facility Protection and Control Requirements – The need to clarify language in section 6.2.5.2.2 was discussed per ONCOR. OWG was in consensus to recommend approval as revised by OWG and will come back with IA.

OGRR 245 Alignment with NERC Reliability Standard PRC-001-1, System Protection Coordination. – OWG was in consensus to table one month allow time for the SPWG to withdraw.  Action Item for Brad Calhoun (CNP) to contact the sponsor to move forward with withdrawal.

Operations Report – ERCOT reviewed the July Operations Report.

Operations Task Force Report – TNMP none comments.

Black Start Task Force Report – ERCOT provided dates of the Black start training

Compliance Report – Brent (TRE) Operations Training Seminar will be run March 7-10 and the 6, week sessions, will run March 28- May 4th. A location is still being determined.

Other Item

Wind Coalition review Draft NOGRR for OGRR226 under development. Action Item for Brad Calhoun (CNP) to submit draft for processing.

Oncor requested that Chad Thompson (ERCOT) be at the next OWG meeting to discuss the lag/lead test data.  Reliant asked if access to the data can be given to QSE’s.  Planning reported that the system would not allow this.

Next meeting – September 23rd

13:30 meeting adjourned.