draft ETIP v8 blackline MJB Change List for RTWG review

System Planning Issues

SO-01 Verify Wind Turbine Technical Data

1. Rejected PSEG comments on policy impacts.

2. Added MJB language to Performance/Compliance considerations.

3. Linked Follow-Up language to new issue SO-35.

4. Updated Status.

SO-02 Wind Turbine Computer Models

1. Incorporated STEC and Centerpoint comments into description.

2. Incorporated STEC comments into Technical considerations.

3. Accepted PSEG language on Cost Allocation.

4. Accepted Centerpoint language on Strategy.

5. Rejected STEC deletion of workshop suggestion.

6. MJB change “rework all” to “consider”.

7. MJB tweaked Schedule language.

8. Added Status.

9. Still need higlighted source cite.

SO-03 Wind Turbine Fault Tolerance

1. Rejected PSEG edit to Description related to existing WGRs.

2. Rejected PSEG edit to Policy; added MJB Policy language to reflect BoD OGRR 208 decision

3. Accepted PSEG edit to Technical considerations related to determining and meeting requirement.

4. Deleted PSEG comment inserted into text.

5. Rejected PSEG edits to Market considerations paragraph 1.

6. Accepted PSEG insert “by the WGR” and rejected PSEG deletion of “very expensive”

7. MJB updated Performance/Compliance language to reflect OGRR 208 language.

8. MJB updated Strategy to reflect OGRR 208 passage.

9. Updated Schedule.

10. Updated Follow up with NOGRR language.

11. Added NOGRR 043 Status.

SO-04 Voltage Transient and Small Signal Stability Study

1. Accepted RTWG edit to Policy considerations.

2. Accepted STEC edit to Performance/Compliance considerations.

3. MJB edit to Strategy to reflect existing study process.

4. MJB edit to Follow-Up to reference SO-35.

5. Accepted STEC comment on Strategy.  Oncor comment on Strategy is reflected in SO-35.

6. Added Status.

SO-05 Impact of Wind Turbines on System Inertia

1. Accepted Luminant revision to Priority.

2. Accepted RTWG and Centerpoint edits to Policy considerations.

3. Accepted PSEG and PDCWG edits to Reliability considerations.

4. Accepted PSEG edit to Market Design considerations and inserted MJB homework from RTWG to reference MD-04.

5. Accepted PDCWG edits to Performance/Compliance considerations.

6. Accepted PDCWG edits to Strategy.

7. Accepted PDCWG and PSEG edits to Activities with MJB cosmetic changes.

SP-06 Use of VFTs

1. MJB added Description language.

SP-07 Voltage Control Process

1. Accepted all PSEG edits to Description except last two statements relating to “typical” case for WGRs and lack of “sufficient study”.

2. Rejected PSEG edit to Policy.

3. Rejected PSEG edit to Market Design.

4. Rejected PSEG edit to Performance/Compliance.

5. Accepted PSEG addition to Cost Allocation but also reinserted orginal language deleted by PSEG.

6. Accepted PSEG edit to Strategy by MJB modified “develop” to “another option may be to develop”.

7. Rejected PSEG edit to Follow-Up.

SP-08 VRT Study

1. Deleted original policy language and rejected the PSEG edit and inserted MJB attempt at more neutral and descriptive language.

2.  Accepted all PSEG edits to Technical considerations except the deletion of the sentence pointing out that transmission solutions may be the most economical alternative.

3. Accepted PSEG edits to Market considerations.

4.  MJB rewrite of Cost Allocation.

5.  Accepted PSEG edits to Strategy.

6.  MJB updates to Follow-Up and Schedule to reflect recent developments.

SP-09 Wind Turbine Dynamic Model Validation

1. MJB syntax edits in Description.

2.  Accepted all RTWG and PSEG edits and rejected all Centerpoint edits.

3. MJB edits to insert STEC comment regarding Performance/Compliance.

4. MJB edits to Strategy.

SP-10 DOE Long-Term Planning Study

1.  Accepted all PSEG edits.

2. MJB filled in blank spots.

SP-11 Sub-Synchronous Interaction

New issue write-up by MJB based, in part, on PSEG comments in RTWG meeting discussion.

SP-12 Track Amount of Installed Distributed Generation

New issue write up by Steve Isser with MJB edits.

SP-13 Monitor Technologies That Impact Load

New issue write up by Steve Isser with MJB edits.

System Operations Issues

SO-01 Inventory of Wind Generation Facilities

1.  Accepted PSEG edits to Description and added MJB edit to close the issue.

2. Accepted PSEG Policy edits.

3. MJB edits to Technical considerations.

4. Rejected PSEG edits to Market considerations and inserted MJB edits.

5. MJB edits to Strategy, Follow-up and Schedule.

SO-02 Nodal Tools to Integrate Wind Generation

MJB note:  For some reason I cannot find a write up of this issue at all in my notes or in prior versions of the TRIP.  The SO-02 write-up included in TRIP draft v 6 was actually an erroneous copy of SP-02.  This issue needs a complete write up.

SO-03 WGR Response to DBES

1.  Accepted PSEG edits to Description but deleted PSEG questions inserted into text and also delted the statements about which PSEG had questions.  Added MJB clarifying edits.

2. Accepted PSEG edits to Reliability considerations.

3. Added MJB clarifications to Technical considerations.

4. Accepted PSEG edits with MJB clarifications to Market considerations.

5. MJB edits to Strategy, Activities, Follow-Up, and Schedule.

SO-04 Smart Grid Implications for Renewable Resources

1. Accepted all PSEG edits.

SO-05 Operational Studies Related to Wind Integration

1. Accepted all PSEG and OWG edits

2. MJB clarifying edits throughout.

SO-06 Testing Reactive Capability of Wind Generation

SO-07 Wind Generation and High System Frequency

SO-08 Wind Generation and System Inertia

SO-09 SCADA Control of Generation Circuit Breakers

SO-10 Voltage Management Practices Applicable to Wind Generators

SO-11 Technology-Specific Procedures and Protocols Changes

SO-12 VRT for WGRs

SO-13 WGR Performance Metrics

SO-14 Transmission Outage Planning Impacts on WGRs

SO-15 WGR/TSP Communications

SO-16 WGR Ramp Rate Limits

SO-17 Load Forecast Weather Sensitivity

SO-18 Evaluate Transmission Line and Wind Power Production Outage Criteria

SO-19 Improve CSC Process

SO-20 Dynamic Transmission Line Ratings

SO-21 Evaluate EECP Steps

SO-22 Open

SO-23 Impact of Advanced Meters on Integration of Renewable Resources

SO-24 Settlement of Advanced Meters in the Nodal Market

SO-25 Generator Governor Response for WGRs

SO-26 Impact of Solar Generation on Systems Operations

SO-27 Manual Curtailment of Wind Generation to Resolve Local Congestion

SO-28 SPS Actuation for N-0 Conditions

SO-29 Transmission Outage Planning for CREZ

SO-30 Application of Wind Generation to PASA

SO-31 Tension Monitors on Transmission Lines

SO-32 Real-Time Wind Generation Capacity

SO-33 Real-Time Wind Turbine Availability

SO-34 SCED Line Ratings

SO-35 Operational Checklist for Resource Interconnection

Market Design Issues

MD-01 Ancillary Services Cost Allocation Applicable to WGRs

MD-02 Ancillary Services Procurement Optimization for 2009

MD-03 Non-Spinning Reserve Service Requirements

MD-04 New Ancillary Services Products Needed for Reliability

MD-05 Benefits of Storage Technologies

MD-06 Ancillary Services Procurement Methodology

MD-07 WGRs Providing Ancillary Services

MD-08 Reactive and Voltage Requirements Applicable to WGRs

MD-09 WGR Dispatch in Nodal

MD-10 WGR Nodal Performance Metrics

MD-11 WGR Nodal Base Point Deviation

MD-12 WGR LSL as Percentage of HSL

MD-13 State of the Art Wind Forecast

Workshop/Training Issues

WT-01 Resource Plan and Schedule Update Process

WT-02 Wind Workshop III

WT-03 Wind Turbine Operator Training

WT-04 Wind in the Nodal Market

WT-05 Wind Workshop IV

WT-06 Solar Workshop

WT-07 Energy Storage Workshop I

WT-08 Post-TNMID Ancillary Services Evaluation Workshop

WT-09 Energy Storage Workshop II

WT-10 Periodic Renewable Resource Seminar

WT-11 Develop Wind Ramp Rate Simulator for Operator Training