Preface

The combination of several forces has led to a rapid and significant addition of renewable energy generating capacity within the Electric Reliability Council of Texas (ERCOT) in recent years, primarily in the form of large-scale wind generation resources.  While this influx of wind power has provided many benefits to Texas, it has also created numerous challenges which must be addressed to maintain bulk electric system reliability and wholesale market functionality.

Although work on this document began as a quest to develop a holistic approach to the myriad issues associated with wind generation with an eye toward other emerging renewable technologies, ERCOT stakeholders quickly realized that many emerging technologies other than renewable generation resources have characteristics similar to wind generation, such as variable energy output or limitations on dispatchability, which must be addressed.  Accordingly, this document evolved from the original concept of a renewable technologies integration plan into a broader emerging technologies integration plan which more accurately captures the full array of potentially significant technical challenges likely to be presented to ERCOT system planners and operators in the coming years in a number of key areas.

The ERCOT stakeholders acknowledge the open access network paradigm adopted by the Texas Legislature; strive to effectively and efficiently implement policy directives to integrate renewable energy resources into the ERCOT system; and endeavor to allow market forces, to the greatest extent possible, to provide the generation resources, ancillary services, and other technical solutions necessary to ensure adequate system security.  However, those parties responsible for system planning and operational security also recognize that the widespread introduction of variable energy resources and other emerging technologies presents significant challenges which must be addressed in order to effectively and efficiently maintain system reliability.

In particular, meeting the Texas Legislature’s target for increased amounts of installed renewable energy generation capacity and implementing the Public Utility Commission of Texas order designating Competitive Renewable Energy Zones has required a comprehensive review of ERCOT planning models and assumptions, operational capabilities and procedures, and certain elements of the ERCOT Zonal and Nodal market designs and systems.

The Emerging Technologies Integration Plan documents recent ERCOT stakeholder efforts to integrate renewable and other emerging technologies; catalogues a number of recommendations and strategies to address future integration issues; and provides a holistic framework to guide and track further integration activities.

The Emerging Technologies Integration Plan is the work product of the ERCOT Technical Advisory Committee by and through its Renewable Technologies Working Group.

Table of Contents

| Preface |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. | Introduction |  |  |  |  |
| 2. | Emerging Technologies Integration Plan Overview |  |  |  |  |
|  | 2.1. | ETIP Purpose |  |  |  |
|  | 2.2. | ETIP Structure |  |  |  |
|  |  | 2.2.1. | Phases |  |  |
|  |  | 2.2.2. | Goals |  |  |
|  |  | 2.2.3. | Recommendations and Strategies |  |  |
|  |  | 2.2.4. | Issues Organization |  |  |
|  |  | 2.2.5. | Issues Identification and Prioritization |  |  |
|  |  | 2.2.6. | Considerations |  |  |
|  |  |  | 2.2.6.1. | Policy Considerations |  |
|  |  |  | 2.2.6.2. | System Reliability Considerations |  |
|  |  |  | 2.2.6.3. | Technical Considerations |  |
|  |  |  | 2.2.6.4. | Market Design Considerations |  |
|  |  |  | 2.2.6.5. | Performance Criteria and Compliance Metrics Considerations |  |
|  |  |  | 2.2.6.6. | Cost Allocation Considerations |  |
|  |  |  | 2.2.6.7. | Texas Nodal Market Implementation Considerations |  |
|  |  |  | 2.2.6.8. | ERCOT Resource Considerations |  |
|  |  | 2.2.7. | Issues Resolution and Follow-Up |  |  |
|  |  | 2.2.8. | Schedule |  |  |
|  |  | 2.2.9. | Activities for ERCOT and Market Participants |  |  |
|  |  | 2.2.10. | Issues Tracking |  |  |
|  |  | 2.2.11. | Quarterly Reports |  |  |
|  | 2.3. | Integration of ETIP Issues into ERCOT and TAC Processes |  |  |  |
|  |  | 2.3.1. | TAC Activities Related to Emerging Technologies Integration |  |  |
|  |  |  | 2.3.1.1. | Renewable Technologies Working Group |  |
|  |  |  | 2.3.1.2. | Development of ETIP |  |
|  |  |  | 2.3.1.3. | Revision Requests Related to Emerging Technology Issues |  |
|  |  |  | 2.3.1.4. | Other Noteworthy Stakeholder Activities |  |
|  |  | 2.3.2. | ERCOT Activities Related to Emerging Technologies Integration |  |  |
|  |  |  | 2.3.2.1. | Workshop and Training Activities |  |
|  |  |  | 2.3.2.2. | Participation in Stakeholder Activities |  |
|  |  |  | 2.3.2.3. | System Planning Activities |  |
|  |  |  | 2.3.2.5. | System Operations Activities |  |
|  |  | 2.3.3. | Recommendations for TAC Organization of Emerging Technologies Issues |  |  |
|  |  |  | 2.3.3.1. | Repurpose the RTWG |  |
|  |  |  | 2.3.3.2. | Place the New ETWG under WMS |  |
|  |  |  | 2.3.3.3. | Improve the Issues Tracking System |  |
|  |  |  | 2.3.3.4. | Provide ERCOT Staff Support for ETWG Activities |  |
| 3. | Key Issues and Strategies for Resolution |  |  |  |  |
|  | 3.1. | System Planning Issues |  |  |  |
|  |  | ET-001-SP-001 |  | Verify Wind Turbine Technical Data |  |
|  |  | ET-002-SP-002 |  | Wind Turbine Computer Models |  |
|  |  | ET-003-SP-003 |  | Wind Turbine Fault Tolerance |  |
|  |  | ET-004-SP-004 |  | Voltage Transient and Small Signal Stability Study |  |
|  |  | ET-005-SP-005 |  | Impact of Wind Turbines on System Inertia |  |
|  |  | ET-006-SP-006 |  | Use of Variable Frequency Transformers to Solve Stability Problems |  |
|  |  | ET-007-SP-007 |  | Voltage Control Process |  |
|  |  | ET-008-SP-008 |  | Voltage Ride-Through Study |  |
|  |  | ET-009-SP-009 |  | Wind Turbine Dynamic Model Validation |  |
|  |  | ET-063-SP-010 |  | DOE Long-Term Planning Study |  |
|  |  | ET-064-SP-011 |  | Sub-Synchronous Interactions |  |
|  |  | ET-069-SP-012 |  | Track Amount of Installed Distributed Generation |  |
|  |  | ET-070-SP-013 |  | Monitor Technologies That Impact Load |  |
|  | 3.2. | System Operations Issues |  |  |  |
|  |  | ET-010-SO-001 |  | Inventory of Wind Generation Facilities |  |
|  |  | ET-011-SO-002 |  | Nodal Tools to Integrate Wind Generation |  |
|  |  | ET-012-SO-003 |  | Wind-powered Generation Response to Down Balancing Instructions |  |
|  |  | ET-013-SO-004 |  | Smart Grid Implications for Renewable Resources |  |
|  |  | ET-014-SO-005 |  | Operational Studies Related to Wind Generation |  |
|  |  | ET-015-SO-006 |  | Testing Reactive Capability of Wind Generation |  |
|  |  | ET-016-SO-007 |  | Wind Generation and High System Frequency |  |
|  |  | ET-017-SO-008 |  | Wind Generation and System Inertia |  |
|  |  | ET-018-SO-009 |  | SCADA Control of Generation Circuit Breakers |  |
|  |  | ET-019-SO-010 |  | Voltage Management Practices Applicable to Wind Generators |  |
|  |  | ET-020-SO-011 |  | Technology-Specific Procedures and Protocols Changes |  |
|  |  | ET-021-SO-012 |  | Low-Voltage Ride-Through for Wind Generators |  |
|  |  | ET-022-SO-013 |  | Performance Metrics for Wind Generation |  |
|  |  | ET-023-SO-014 |  | Impact of Transmission Outage Planning on Wind Generation |  |
|  |  | ET-024-SO-015 |  | Communications Between WGRs and TSPs |  |
|  |  | ET-025-SO-016 |  | Wind Generation Ramp Limits |  |
|  |  | ET-026-SO-017 |  | Mid-Term and Short-Term Load Forecast Weather Sensitivity |  |
|  |  | ET-027-SO-018 |  | Evaluate Transmission Line and Wind Power Production Outage Criteria |  |
|  |  | ET-028-SO-019 |  | Improve Commercially Significant Constraint Process |  |
|  |  | ET-029-SO-020 |  | Dynamic Transmission Line Ratings |  |
|  |  | ET-030-SO-021 |  | Evaluate Emergency Electric Curtailment Plan Steps |  |
|  |  | ET-031-SO-022 |  | Open |  |
|  |  | ET-032-SO-023 |  | Impact of Advanced Meters on Integration of Renewable Resources |  |
|  |  | ET-033-SO-024 |  | Settlement of Advanced Meters in the Nodal Market |  |
|  |  | ET-034-SO-025 |  | Generator Governor Response for Wind Generators |  |
|  |  | ET-035-SO-026 |  | Impact of Solar Generation on System Operations |  |
|  |  | ET-036-SO-027 |  | Manual Curtailment of Wind Generation to Resolve Local Congestion |  |
|  |  | ET-037-SO-028 |  | SPS Actuation for N-0 Conditions |  |
|  |  | ET-038-SO-029 |  | Transmission Outage Planning for CREZ |  |
|  |  | ET-039-SO-030 |  | Application of Wind Generation to PASA |  |
|  |  | ET-040-SO-031 |  | Tension Monitors on Transmission Lines |  |
|  |  | ET-041-SO-032 |  | Real-Time Wind Generation Capacity |  |
|  |  | ET-042-SO-033 |  | Real-Time Wind Turbine Availability |  |
|  |  | ET-043-SO-034 |  | SCED Line Ratings |  |
|  |  | ET-066-SO-035 |  | Operational Checklist for Resource Interconnection |  |
|  | 3.3. | Market Design Issues |  |  |  |
|  |  | ET-044-MD-001 |  | Ancillary Services Cost Allocation Applicable to Wind |  |
|  |  | ET-045-MD-002 |  | Ancillary Services Procurement Optimization for 2009 |  |
|  |  | ET-046-MD-003 |  | Non-Spinning Reserve Service Requirements |  |
|  |  | ET-047-MD-004 |  | New Ancillary Services Products Needed for Reliability |  |
|  |  | ET-048-MD-005 |  | Benefits of Storage Technologies |  |
|  |  | ET-049-MD-006 |  | Ancillary Services Procurement Methodology |  |
|  |  | ET-050-MD-007 |  | Wind Generation Resources Providing Ancillary Services |  |
|  |  | ET-051-MD-008 |  | Reactive and Voltage Requirements Applicable to Wind Generators |  |
|  |  | ET-052-MD-009 |  | Wind Generation Dispatch in the Nodal Protocols |  |
|  |  | ET-053-MD-010 |  | Wind Generation Performance Metrics in the Nodal Protocols |  |
|  |  | ET-054-MD-011 |  | Wind Generation and Base Point Deviation in the Nodal Protocols |  |
|  |  | ET-055-MD-012 |  | Wind Generation Resource LSL as a Percentage of HSL |  |
|  |  | ET-056-MD-013 |  | Use of State of the Art Wind Forecast |  |
|  | 3.4. | Workshop and Training Issues |  |  |  |
|  |  | ET-057-WT-001 |  | Resource Plan and Schedule Update Process |  |
|  |  | ET-058-WT-002 |  | Wind Workshop III |  |
|  |  | ET-059-WT-003 |  | Wind Turbine Operator Training |  |
|  |  | ET-060-WT-004 |  | Wind in the Nodal Market |  |
|  |  | ET-061-WT-005 |  | Wind Workshop IV |  |
|  |  | ET-062-WT-006 |  | Solar Workshop |  |
|  |  | ET-065-WT-007 |  | Energy Storage Workshop |  |
|  |  | ET-067-WT-008 |  | Ancillary Services Evaluation Workshop |  |
|  |  | ET-068-WT-009 |  | Storage Workshop II |  |
|  |  | ET-071-WT-010 |  | Periodic Renewable Resource Seminar |  |
|  |  | ET-072-WT-011 |  | Develop Wind Ramp Rate Simulator for Operator Training |  |
| 4. | Summary Tables |  |  |  |  |
| 5. | Appendices – Proposed Emerging Technologies Issues Forms |  |  |  |  |
|  | 5.1. | Proposed ET Issues Submission Form |  |  |  |
|  | 5.2. | Proposed ET Issues Comment Form |  |  |  |
|  | 5.3. | Proposed ET Issues Tracking Form |  |  |  |
| 6. | References and Additional Resources |  |  |  |  |

1.	Introduction

The electric power industry is undergoing a period of significant change.  In recent years, a number of factors including public policy directives, consumer choices, environmental concerns, the emergence of organized open access markets, and technological advances in telecommunications and information technologies combined with advances in power generation and equipment manufacturing technologies have merged to introduce a number of new products and services in the electric power sector at both the transmission and distribution system levels and on both the resource and load sides of the equation.

The State of Texas, and ERCOT in particular, have been significantly impacted by many of these technological changes – notably, the rapid interconnection of large-scale wind generation units as illustrated in Figure 1.  For reasons discussed in detail below, it is reasonable to assume additional impacts to ERCOT planning and operations functions will apppear in the near term.  To maintain bulk electric power system security, it is essential that ERCOT understand the emerging changes in generation resources and load behaviors and management capabilities.

Fig. 1  Historical and Projected Installed Wind Capacity in ERCOT

Source:  ERCOT System Planning Report to ROS, Date, p. X.

In early 2008, ERCOT Staff approached the TAC leadership with a request to hold a workshop focused on operational challenges related to the increasing amount of wind energy production on the ERCOT system.  The workshop, which has since become known as Wind Workshop I, was scheduled for mid-March 2008.  In the intervening period, ERCOT experienced a significant system disturbance on Feb. 26, 2008.  During this event, which had numerous causes and complicating factors, dramatic variations in wind energy output and deviation from wind energy schedules were noteworthy contributing factors.  This event added urgency to the scheduled workshop and demonstrated the near-term importance of addressing several operational challenges posed by wind energy production.

Wind Workshop I kicked off a 2-year period of intense focus by ERCOT Staff and stakeholders to address wind integration challenges.  The immediate task was to address the issues raised by ERCOT Staff at the workshop because they were viewed to be critical to system security.  The key issues and their resolution are summarized below.

- Develop a common understanding of the impact of wind generation on operations:  ERCOT provided examples of recent operational experiences with wind generation under various scenarios and noted that a lack of understanding on the part of some wind resource owners regarding the details of certain operational procedures  produced inconsistent results in unit responses to instructions and introduced operational challenges.  As a common understanding of wind generation impacts on ERCOT operations was developed, numerous changes to operational practices by many parties including ERCOT, WGR operators, QSEs, and TSPs were implemented such as voltage control practices, the timing of QSE updates to energy schedules and Resource Plans, and changes to wind forecasting practices and uses.

- Replace WGR QSE wind schedules with ERCOT wind forecast:  ERCOT observed that the accuracy of WGR Resource Plans varied widely across the market and illustrated the consequences of poor forecasting on Day Ahead and Hour Ahead capacity adequacy studies.  Because ERCOT’s look-ahead studies automatically use Resource Plan data from the Scheduling Pricing Dispatch (SPD) system, any modifications to the software would have significantly impacted ERCOT resources and budget.  A quicker and more cost-effective solution was developed (PRR 763) that required WGR QSEs to make the changes in their own Resource Plans using ERCOT-provided forecast data (i.e., the AWS TruePower forecast).  ERCOT developed a system project to provide wind operators with the forecast for use in the Resource Plans.  PRR 763 became effective July 1, 2008.

- Establish ramp rate limitations for WGRs:  ERCOT provided examples of wind units with high ramp rates, especially when released from down balancing instructions during windy periods.  The steep ramp rates presented operational challenges to ERCOT, notably impacting system frequency control.  Due to variations in wind turbine technical capabilities, stakeholders bifurcated the issue into two solutions.  The first (PRR 771), applied a ramp rate limit when responding to or being released from an ERCOT deployment instruction for WGRs with Interconnection Agreements executed on or after January 1, 2009. The second (PRR 788), applied to the same standard to most existing wind turbines in ERCOT.  PRRs 771 and 788 were effective Jan. 1, 2009 and Feb. 1, 2009, respectively.

- Identify the list of current issues and potential future issues which should be addressed in the stakeholder process and identify ERCOT system changes which should be implemented in the zonal market or in the nodal market prior to the nodal market launch date:  In the weeks following Wind Workshop I, ERCOT and stakeholders identified a range of issues which required Revision Requests to implement.  The limited lifespan on zonal market systems and the ERCOT and stakeholder resource constraints related to the nodal market transition effort guided parties to narrow stakeholder focus to high priority items and reach solutions that minimized systems impacts and maximized ease of implementation.  The full list of approved Revision Requests stemming from this effort are described in Section 2.3.1.3.  Some noteworthy examples include:

  - replacing WGR QSE wind schedules with an independent ERCOT wind forecast;

  - imposing WGR ramp rate limitations;

  - requiring WGRs to accelerate implementation of nodal telemetry standards;

  - clarifying definitions and performance measures for WGR energy schedule and Resource Plan submission and updating practices; and

  - imposing WGR voltage ride-through requirements.

- Additionally, focused collaboration between ERCOT and stakeholders led to numerous procedural changes and data collection projects which did not require Revision Requests to implement.  Noteworthy examples of issues addressed identified and resolved in this manner include:

  - improved communication between WGRs and TSPs regarding operational practices;

  - clarification and strengthening of voltage support requirements;

  - improved quality and quantity of ERCOT data on WGR unit designs and capabilities; and

  - more frequent CSC limit calculations to improve zonal transfers.

Following Wind Workshop I and the subsequent related work of resolving the identified issues of immediate concern, TAC and the ERCOT Board directed ERCOT Staff and the stakeholder process to undertake a variety of efforts to more holistically address the wide array of issues related to integration of renewable technologies with a particular focus in the near term on operational challenges associated with WGRs while also developing a long term view on an appropriate scope of renewable technologies integration activities.  TAC formed the RTWG and charged it to identify, frame, prioritize, and track renewable technologies issues while coordinating with other stakeholder committees to develop strategies to resolve identifies issues.

As previously discussed, the Emerging Technologies Integration Plan (ETIP) is one product of the broad stakeholder effort to address renewable technologies integration issues.  This document also includes detailed discussion of other, non-renewable emerging technologies which have impacts similar to those posed by certain renewable technologies.  Herein, the RTWG has endeavored to provide sufficient background discussion and information to give the reader some contextual sense of the issues in relationship to each other and to other ERCOT priorities.  However, this document is not intended to be a general primer on renewable and other emerging technologies integration issues.  Section 6 of this document provides references to such material.  Rather, this document is intended to track recent activities to address emerging technologies, identify key issues, and propose a process through which ERCOT stakeholders can further identify, track, consider, and resolve issues related to emerging technologies integration.  The ETIP is intended for use by an audience already generally familiar with most of these issues and with the ERCOT stakeholder process.

2.	Emerging Technologies Integration Plan Overview

The Emerging Technologies Integration Plan (ETIP) is a work product of the TAC by and through its RTWG.  The ETIP describes the efforts of ERCOT and stakeholders to address the challenges posed by the integration emerging technologies into the ERCOT system.

The ETIP provides detailed documentation of integration efforts from March 2008-August 2010 and discusses a range of contemplated activities and potential issues to be addressed in the 2011-2014 time frame.

The ETIP strives to be technology-neutral and avoid endorsing or contesting the appropriateness of introducing any particular technology into the ERCOT marketplace, applying any particular technology to provide solutions to emerging technologies integration issues, or modifying any market rules or reliability standards to accommodate emerging technologies.  Futhermore, the ETIP does not recommend solutions for any specific identified issue.  Such solutions are appropriately developed through normal stakeholder processes such as the Revision Request process or the Regional Planning Group process.  Rather, as discussed below, the ETIP strives to document renewable and emerging technology issues addressed to date and to identify and organize pending and future key issues and considerations to enable informed, holistic decisionmaking regarding the challenges presented by emerging technologies.

Five broad areas of focus can be identified throughout the ETIP.

- Process:  The ERCOT stakeholder process has been reasonably effective at resolving a number of the issues presented by significant levels of installed wind capacity.  Between Wind Workshop I in March 2008 and August 2010, ERCOT adopted 22 Revision Requests related to wind integration issues.  However, the PUCT and ERCOT Board have requested ERCOT and stakeholders look beyond wind-specific issues to identify opportunities and challenges presented by other renewable technologies as well non-renewable technologies such as energy storage devices.  Policy makers and decision makers have requested TAC devise a means of tracking and communicating the activities associated with the integration of emerging technologies to provide a tool for more holistic decisionmaking.

- Awareness:  Although the electric power industry is undergoing a period of rapid change, many new technologies will take a significant amount of time to appear on the system at such levels of penetration as to require action by ERCOT.  In several areas, the ETIP addresses the need for a general level of awareness of industry trends and in many places discusses ERCOT and stakeholder efforts to balance the desire for up-to-date knowledge with resource constraints and the recognition that not all identified or potential issues require ERCOT and/or stakeholder activity in the near term.

- Education:  The ETIP documents recent efforts by ERCOT and stakeholders to increase technical education in key areas related to renewable and emerging technologies and discusses potential areas where further education may be beneficial.  The ETIP also discusses a need to balance the desire to gain technical expertise with the application of ERCOT and stakeholder resources to those select integration issues which pose near-term challenges to core ERCOT functions.

- Preparedness:  A primary concern of the efforts to address identified renewable and emerging technology issues is to ensure that ERCOT and stakeholder resources are appropriately applied to ensure ERCOT is reasonably prepared to handle integration challenges associated with emerging technologies which pose near-term challenges to core ERCOT functions.

- Communication:  The ETIP itself is designed to communicate a wide range of identified issues for consideration by policy makers, decision makers, and stakeholders as well as to identify means of improving future effectiveness of communication on these issues and related activities.

2.1.	ETIP Purpose

The ETIP serves five key purposes.

- Identify issues related to the integration of renewable and emerging technologies which have been recently addressed by ERCOT or the ERCOT stakeholder process, issues which are currently under active consideration in ERCOT and stakeholder processes, and issues which perhaps should be considered in the future.

- Report the status of identified renewable and emerging technologies integration issues.

- Provide TAC, the ERCOT Board, and the PUCT with a resource document and high-level plan from which to holistically consider the appropriate policies, activities, and allocation of resources committed to addressing renewable and emerging technologies integration efforts.

- Suggest goals to guide the emerging technologies integration efforts of ERCOT and stakeholders.

- Recommend organizational and procedural changes in the ERCOT stakeholder process to improve the management of renewable and emerging technologies issues and the transparency of ERCOT and stakeholder activities related to integration of renewable and emerging technologies.

2.2.	ETIP Structure

The ETIP is primarily organized around specific identified issues regarding the integration of emerging technologies as related to ERCOT functions and ERCOT market functionality.  The issues are divided into four broad categories – system planning, system operations, market design, and workshops and training.  A consistent set of considerations are applied to each issue to ensure all angles are thoroughly vetted.  As the issues are framed, most are assigned a priority, a schedule for resolution, and one or more responsible parties are identified to produce the required work product, such as a white paper or Protocol Revision Request.  Each of the renewable and emerging technology issues identified between March 2008 and August 2010 are discussed in detail in Section 3.  Summary tables of the issues are provided in Section 4.

The ETIP also identifies three broad phases of integration activities and suggests five goals to guide further ERCOT and stakeholder emerging technology integration efforts.  Finally, the ETIP contains four specific recommendations to improve the process for addressing integration issues and discusses the many issue-specific strategies which have been pursued to date by ERCOT and stakeholders to address identified issues.

2.2.1.	Phases

As discussed in greater detail below, two specific policy directives of the PUCT directly impact the scope of efforts to address emerging technologies challenges – the order for ERCOT to implement a nodal market design and the designation of Competitive Renewable Energy Zones (CREZs).  The significance and scope of the Texas Nodal Market implementation project presents a variety of challenges to any effort to revise the ERCOT market rules, systems, and procedures in both the zonal and nodal markets.  Additionally, the scale of future wind generation capacity which may be installed as part of the CREZ initiative by early 2014 requires particular focus to ensure ERCOT preparedness to handle significant levels of wind energy penetration.  Accordingly, the ETIP suggests ERCOT and stakeholders consider three broad phases of integration activities which are organized around the nodal market implementation project and CREZ implementation activities.

- Phase One:  Identify high priority  wind integration issues which can and should be resolved in the zonal market as well as those with ERCOT systems changes deemed necessary for the Texas Nodal Market Implementation Date (TNMID).  Phase One began in March 2008 with Wind Workshop I and ended in Summer 2010 with the “pens down” date for zonal systems changes and TNMID systems changes.

- Phase Two:  Identify post-TNMID wind integration and CREZ implementation issues which require resolution, develop and implement resolution strategies, and keep policy makers and decision makers apprised of integration activities.  Also, as appropriate, identify integration issues associated with other renewable and emerging technologies such as solar generation and energy storage devices which present near-term opportunities and challenges related to core ERCOT functions and ERCOT market functionality.  Continue Phase One follow-up activities to evaluate effectiveness of previously implemented solutions.  Phase Two activities should begin in the weeks preceeding TNMID and draw to a close as the PUCT’s CREZ Plan is integrated into the ERCOT system.

- Phase Three:  Contemplated Phase Three activities include tracking and communication of the implementation of Phase Two solutions and follow-up activities.  The ETIP does not contemplate many ERCOT or stakeholder activities beyond early 2014.  It is assumed TAC and the ERCOT Board will reassess ERCOT and stakeholder efforts relating to the integration of  renewable and other emerging technologies prior to 2014 and make appropriate adjustments if necessary.

Due to the large number and urgent nature of wind integration issues which were addressed as the ETIP was developed, most Phase One activities described in this document are shown as completed issues, although some of them have ongoing follow-up activities.

Insert Fig. X  Three Phases of Emerging Technologies Integration Activities

2.2.2.	Goals

The ERCOT Board may wish to consider the adoption of goals relating to the integration of emerging technologies in order to guide ERCOT and stakeholder efforts in this area.  The ETIP suggests five goals for emerging technologies integration efforts.

- Process:  Improve the stakeholder processes for identifying, organizing, deliberating, resolving, and tracking issues of importance regarding the integration of emerging technologies into the ERCOT system.

The first step to ensuring an adequate and appropriate response to the introduction and integration of new technologies on the ERCOT system is to utilize a process through which issues of importance can be identified and managed.  Such processes should be efficient, transparent, and user-friendly both at a detailed technical level as well as at the strategic level.

The process should allow for development and deliberation of issues which may not yet be ripe for resolution through the Revision Request process and should broaden current stakeholder efforts beyond strictly renewable technologies to those emerging technologies which pose or address similar issues such as forecasting uncertainty or variable energy output.

This goal purposefully includes restrictive language (“issues of importance”) to guide ERCOT and stakeholders to limit the application of time and resources to those issues which should be addressed in the stakeholder process and to exclude the application of ERCOT and stakeholder resources to issues not yet ripe for consideration or action.  An important function of the revised process should be to transparently filter issues by priority to enable long-term assessment of ERCOT and stakeholder resource requirements to address emerging technologies integration issues.

- Awareness:  Increase ERCOT and stakeholder awareness of emerging technologies which may impact ERCOT functions or ERCOT market functionality.

The increased pace of development and deployment of new technologies suggests ERCOT and stakeholders should proactively increase awareness of those technologies which have the potential to pose challenges to key ERCOT functions.  While there is an identified need to maintain awareness of technological developments, this goal contains purposefully restrictive language (“which may impact ERCOT functions or ERCOT market functionality”) to guide the application of ERCOT and stakeholder resources to focus on those emerging technologies which may raise issues requiring resolution by ERCOT.  The suggested approach is to stay current without striving to be avant garde.  A general level of awareness of industry trends should be sufficient for ERCOT and stakeholders to identify those emerging issues which require particular focus.

- Education:  Increase ERCOT and stakeholder education on those technical issues related to emerging technologies which are anticipated to have meaningful impact on ERCOT functions or ERCOT market functionality.

Recent efforts to address wind integration challenges have highlighted a need to increase ERCOT and stakeholder technical education of wind generation technologies, WGR unit design, transmission system equipment options and functionality, and ERCOT modeling and operating capabilities and limitations.  Preliminary investigation into solar generation and energy storage technologies has highlighted similar educational needs.

This goal purposefully includes restrictive language (“anticipated to have meaningful impact on ERCOT functions or ERCOT market functionality”) to guide ERCOT and stakeholders to limit the application of time and resources to those issues which should be addressed in ERCOT and/or stakeholder processes and to exclude the application of ERCOT and stakeholder resources to issues not yet ripe for the timely development of technical expertise.

- Preparedness:  Ensure ERCOT is sufficiently prepared to resolve integration challenges associated with emerging technologies.

This goal is informed by the core ERCOT function of maintaining electric system reliability.  The ultimate aim of increasing awareness, broadening education, developing technical expertise, and executing a holistic approach to resolving issues associated with emerging technologies is to not be surprised by the challenges they may present to ERCOT system security.

This goal purposefully includes restrictive language (“sufficiently prepared”) to guide ERCOT and stakeholders to limit the application of time and resources to those issues which should be addressed in the stakeholder process and to exclude the application of ERCOT and stakeholder resources to issues not yet requiring preparedness activities.

The ETIP in general and this goal in particular do not attempt to define “sufficiently prepared” as such determinations will likely be informed on an issue-specific and fact-specific basis through the stakeholder deliberative process with guidance from policy makers and decision makers.

- Communication:  Provide timely and effective communication to policy makers, decision makers, and stakeholders regarding the issues arising from the integration of emerging technologies and the progress and effectiveness of strategies to resolve such issues.

Many stakeholders have opined that the breadth of renewable technologies integration issues under consideration in the stakeholder process is difficult to track and difficult to consider from a high-level strategic perspective.  Timely and effective communication of emerging technologies issues and activities will facilitate better planning and management of issues and the application of ERCOT and stakeholder resources where most needed and most effective and/or efficient.

2.2.3.	Recommendations and Strategies

The ETIP includes four specific recommendations related to organization of the ERCOT stakeholder process to better address emerging technologies integration issues.  The recommendations are located in Section 2.3.3. below and are designed to facilitate strategic-level decisionmaking regarding ERCOT and stakeholder efforts to address emerging technologies issues and provide an open, transparent process by which issues can be identified, resolved, and tracked.

Section 3 of the ETIP also identifies numerous considerations and approaches to certain emerging technologies concerns and discusses many of the strategies employed by ERCOT and stakeholders to date to resolve identified integration issues.  Particularly for current issues discussed in the ETIP, these various strategies should be considered informative, not dispositive.  They are not intended to be prescriptive or binding and may evolve as ERCOT and stakeholders gain new information and experience and as issues are resolved through the deliberative stakeholder processes.

2.2.4.	Issues Organization

The ETIP is organized around identified renewable technology integration issues.  These issues are organized by general area of impact as follows:

- System Planning (SP):  Issues which impact or are impacted by the system planning function or require system planning activities to achieve resolution.

- System Operations (SO):  Issues which impact or are impacted by the system operations function or require system operations activities by ERCOT and/or market participants to achieve resolution.

- Market Design (MD):  Issues primarily concerning market activities or market outcomes.

- Workshops and/or Training (WT):  Issues which require stakeholder education and/or brainstorming.  Also, the activities related to effective communication of issues resolutions to market participants and the industry for implementation and operations.

2.2.5.	Issues Identification and Prioritization

Included in the ETIP is a detailed exploration of renewable and other emerging technologies issues which impact ERCOT functions and/or markets.  These issues are discussed in Section 3.  To facilitate issues management, identified issues named, numbered, described, and prioritized.  Issue prioritization depends upon several factors including significance of the issue to system reliability or market functionality, time required to complete associated tasks, resource availability, and any other identified dependencies.  Prioritization of issues is expected to assist ERCOT and market participants with the allocation of resources to emerging technologies integration efforts in a timely, methodical, coordinated, and cost-effective manner.

2.2.6.	Considerations

As emerging technologies integration issues are identified, stakeholders must address a wide array of considerations to ensure each issue is vetted from multiple perspectives, effective strategies for resolution are developed, and unintended consequences are minimized.  At a minimum, stakeholders are encouraged to weigh the eight key considerations outlined below for each issue.  Not all considerations will be applicable to each issue and some issues may present multiple considerations of importance.

2.2.6.1.  Policy Considerations

Some issues discussed in the ETIP arise from public policy directives of jurisdictional legislative or regulatory bodies related to emerging technologies which must be followed.  Where such public policy directives impact ERCOT functions and/or markets they may require activity by ERCOT or stakeholders.  Some issues discussed in the ETIP present policy questions which may not be suited for resolution in the stakeholder process and should be forwarded to the appropriate body for resolution.

Federal tax policy has perhaps been the most significant single driver for the installation of renewable generation technologies in the past two decades.  Since the passage of the federal Production Tax Credit (PTC) in the Energy Policy Act of 1992, installations of wind generation capacity have typically surged during periods of PTC availability and typically slowed during periods in which the PTC was allowed to lapse.  Likewise, the availability of an Investment Tax Credit (ITC), which could also be converted to a cash grant spurred installations of large-scale and distributed-scale renewable technologies.  ERCOT and stakeholders may wish to consider the availability of federal tax incentives on the likely installations of additional renewable or other emerging technologies.

Likewise, federal environmental and energy policies may also play a significant role in either encouraging the installation and use of renewable technologies through mechanisms such as a Renewable Energy Standard (RES) or limitations on certain emissions such as carbon dioxide (CO2).  At the request of the PUCT, ERCOT performed an analaysis of possible impacts of proposed legislation to limit CO2 emissions and found that such a policy directive could have significant market and technical impacts on the ERCOT system.

State energy policy can also significantly impact the installation of renewable and other emerging technologies on the ERCOT system.  The Goal for Renewable Energy adopted by the Texas Legislature and the Competitive Renewable Energy Zone plan developed by the PUCT have incentivized wind energy development in ERCOT and will likely result in significant amounts of wind generation capacity connected to ERCOT transmission system but located outside the traditional ERCOT footprint.

When considering emerging technologies issues, stakeholder should be mindful of public policy directives which may spur the introduction of certain technologies or increase the pace of emerging technologies penetration on the ERCOT system.  Stakeholders should also consider policies and policy directions set by the ERCOT Board of Directors where applicable.

2.2.6.2.  System Reliability Considerations

A primary mission of the ERCOT Independent System Operator  is to maintain the reliability of the ERCOT transmission system.  Both the system planning function and the system operations function play critical roles in ensuring system reliability.  Many emerging technology integration issues present challenges to one or both of these functions.  Issues identified in the ETIP are explored from both the planning and operations perspectives to ensure that the integration of new technologies does not compromise system reliability.

The ERCOT system planning function entails a wide array of activities essential to system security.  Key system planning issues explored in the ETIP include the improving the quality of data and models used by system planners, identifying and performing timely and appropriate system planning studies, and ensuring the appropriate application of ERCOT system planning resources to emerging technologies issues.

As challenging as variable generation and other emerging technologies can be for system planning, the task of effectively and efficiently integrating new technologies into Real Time system operations can be especially difficult.  It is no surprise, therefore, that majority of ETIP issues identified and resolved to date have primarily addressed operational issues.  In particular, the significant penetration of wind generation in the ERCOT system in recent years has revealed a need for greater system flexibility and raised concerns about ERCOT’s ability to perform core operational functions under ever-changing and increasingly uncertain operating conditions.  Key system operations issues explored in the ETIP include improving the quality of data, models, and systems used for operational functions; addressing the impacts of using generation resources with limited dispatchability; addressing issues arising from fast generation ramping or limitations on generation ramping; maintaining system frequency control; ensuring the availability and effectiveness of adequate ancillary services; maintaining voltage control; improving renewable generation forecasting; and ensuring the appropriate application of ERCOT system operations resources to emerging technologies issues.

2.2.6.3.  Technical Considerations

One consequence of the introduction of competitive markets and open access transmission networks in North America is the surge in research and development of grid-connected technologies across the planning and operations spectrum – demand management technologies, distribution system devices, retail products and services, transmission system equipment, and generation and storage technologies.  But while many emerging technologies provide technical or economic benefits to the electricity grid and energy consumers, they can also introduce significant technical challenge or incremental system costs.  In some respects, the electric power industry is moving away from the economies of scale of the historic large-scale technologies which provide a full range of grid functionality and toward a more complex system of numerous technologies providing more specialized functionality which, therefore, require higher degrees of coordination and integration.

Many of the emerging technologies discussed in the ETIP have very different operating abilities and characteristics than the conventional generation technologies familiar to system planners and operators.  Technical issues explored in the ETIP include the need for more advanced technical information and education regarding specific technologies and their related system integration issues and a discussion of methodological approaches to technical requirements for grid-connected equipment.

2.2.6.4.  Market Design Considerations

Sound market design principles can address many issues posed by new technologies through alignment of technical requirements and market incentives with desired performance and behavior outcomes.  As market issues such as potential barriers to market entry by new technologies are examined, care must be taken to also examine potential impacts to market efficiency and/or market functionality which may result from proposed market design changes.  The interrelated nature of market constructs and system reliability requirements is also an area requiring careful consideration.  Market design elements explored in the ETIP include numerous issues related to ancillary services provision and anticipated impacts of renewable technologies in the coming Texas Nodal Market design.

2.2.6.5.  Performance Criteria and Compliance Metrics Considerations

Some integration issues may be addressed through clarification or creation of performance criteria for new technologies or market participants.  In some instances, compliance metrics may also be required to provide regular, transparent reporting on adherence to market rules or procedures, both as a dashboard gauge for policy makers and to enable follow-up measurement and analysis for ongoing integration efforts.

2.2.6.6.  Cost Allocation Considerations

The ERCOT market design utilizes various cost allocation methodologies, some costs are directly assigned to one or more market participants based on direct causation principles while others are assigned across a number of market participants on a pro rata basis where direct cost assignment is not possible or cost-effective.

At the request of the ERCOT Board, ERCOT stakeholders have twice considered whether some ancillary services costs should be allocated to wind generation resources and other renewable technologies.  The first investigation of this question produced a recommendation to maintain the current allocation methodology which does not assign ancillary services costs to renewable generators.  The second investigation of this question did not produce a recommendation.

2.2.6.7.  Texas Nodal Market Implementation Considerations

As previously discussed, the significance and scope of the Texas Nodal Market implementation effort has been a major influence on ERCOT and stakeholder efforts to address renewable and emerging technologies issues.  As wind integration issues grew in importance to ERCOT operations, the short lifespan of zonal market limited the cost-effective options available to stakeholders where changes to ERCOT zonal systems could provide solutions.  Likewise, the need to finalize the “Go-Live” version of nodal market systems for the Texas Nodal Market Implementation Date (TNMID) necessitated stakeholders work quickly to identify any ERCOT nodal system improvements which could and should be implemented prior to TNMID and develop a second set of solutions more appropriate to post-TNMID implementation.

2.2.6.8.  ERCOT Resource Considerations

Although the nodal market implementation project is a dominant constraint on ERCOT and stakeholder resources to address emerging technologies issues, it is far from the only one.  Like all recommendations for system changes or other allocations of ERCOT resources, the framing of emerging technologies issues must balance the need to address particular issues with the availability of ERCOT and stakeholder resources to execute necessary day to day functions while addressing other important near and long term issues.  Consideration of ERCOT resource requirements during the emerging technologies issues development and prioritization process will likely enable a clearer view of the appropriate scope and scale of ERCOT efforts related to emerging technologies issues and the appropriate level of internal and external resources required to successfully address such issues.

2.2.7.	Issues Resolution and Follow-Up

The ETIP documents the various strategies adopted to address emerging technologies integration issues.  Some issues still require strategies to be developed.  Issues deemed unecessary or unripe for stakeholder deliberation may not have resolution strategies – they may closed or assigned a low priority for resolution.  The ETIP identifies some instances where closed issues require follow-up activities to evaluate the effectiveness of the adopted solution or to monitor whether further action is necessary.

2.2.8.	Schedule

Where possible, the ETIP identifies the schedules for activities related to a number of emerging technologies issues.  A summary schedule of major ETIP activities is presented in Section 4.5.

2.2.9.	Activities for ERCOT and Market Participants

The ETIP identifies activities undertaken by ERCOT and/or market participants.  A summary table of activities for ERCOT and market participants is found in Sections 4.3 and 4.4.

2.2.10.	Issues Tracking

Identified emerging technologies integration issues are tracked on the RTWG Issues List, which is an abbreviated spreadsheet that captures key components of Section 3 of the ETIP.  The Issues List is updated at least quarterly and presented to TAC, the Board, and the PUCT.  For each identified issue, the Issues List includes:

- the issue identification number;

- a brief description of the issue;

- the stakeholder or other body currently working on  the issue;

- the issue priority ranking;

- the proposed mechanism for issue resolution, if known (such as PRR, OGRR, etc.); and

- the current status of the issue, including keeping track of completed issues to preserve institutional knowledge.

2.2.11.	Quarterly Reports

In fulfillment of the PUCT Order requiring ERCOT to provide quarterly updates on the resolution of wind integration issues, the RTWG prepares quarterly reports on wind integration and other emerging technologies issues to the TAC which, in turn, reports to the ERCOT Board and PUCT.  Each quarterly report features:

- the amount of installed renewable generation capacity in ERCOT;

- a summary of renewable technology interconnection activities;

- a review of significant events in the previous quarter related to renewable technologies;

- an update on issues completed or new issues identified in the previous quarter;

- the most recent version of the RTWG Issues List; and

- any other relevant information.

2.3.  Integration of ETIP Issues into ERCOT and TAC Processes

An important step to ensuring ERCOT is sufficiently prepared to meet the challenges associated with the integration of new technologies is to effectively integrate the management of emerging technology issues into ERCOT and stakeholder processes.  Recent ERCOT and stakeholder activities related to emerging technologies issues are described below and four recommendations are provided to improve the process of identifying, resolving, and tracking such issues.

2.3.1.	TAC Activities Related to Emerging Technologies Integration

The TAC has spent a considerable amount of time and effort related to wind integration issues and has taken steps to more broadly address other emerging technologies issues as described below.

2.3.1.1.  Renewable Technologies Working Group

The RTWG Charter was approved by the TAC on November 6, 2008.

The ERCOT Technical Advisory Committee creates the Renewable Technologies Work Group to coordinate and track stakeholder efforts to capture the benefits and address the challenges associated with the introduction of renewable energy generating technologies interconnected to the ERCOT grid.

Created as a Work Group, rather than a Subcommittee, the RTWG does not have a formal voting structure, but rather strives to achieve consensus on the issues raised during the conduct of its duties.  Where applicable, the RTWG will report the consensus, majority, and / or minority views of participants on each issue.

The Chair and Vice Chair of the RTWG will be appointed by the TAC Chair and confirmed by the TAC.  The RTWG shall meet not less than quarterly and shall continue in the conduct of its duties until such time as TAC decides to dissolve the work group.

The RTWG is charged with the following duties:

- Identify issues related to renewable energy generation on the ERCOT system – either benefits not realized or challenges which need to be addressed.  This activity does not preclude WMS or ROS from identifying and resolving wind integration issues within their traditional purview.

- Define, frame, and prioritize the identified issues for resolution

- Refer issues to the appropriate TAC subcommittees for further development and resolution

- Gather input as provided from TAC subcommittees and RTWG activities and develop recommendations and / or frame issues for resolution by TAC

- Provide monthly status reports to TAC

- Maintain an issues tracking system

- Organize and host technical workshops as needed to ensure ERCOT Staff and market participants stay abreast of new technologies deployed on the ERCOT system, emerging technologies offering solutions to renewable generation technology challenges, and industry best practices

- Organize training seminars as needed to ensure ERCOT Staff and affected market participants effectively coordinate practices and procedures adopted to reliably integrate renewable generation technologies into the ERCOT grid

- Draft quarterly reports to TAC to support the ERCOT process to provide quarterly reports to the PUCT regarding reliability and grid integration issues related to renewable resources

From November 2008 through August 2010, the RTWG met 24 times.  All markets segments participated in RTWG activities.  The RTWG worked with ERCOT to develop Wind Workshops II, III, and IV, hosted educational presentations related to solar and energy storage technologies, and produced quarterly reports to TAC as required by its charter.

Subsequent to creating the RTWG, the TAC instructed the working group to develop a renewable technologies integration plan to provide a vehicle for discussion of longer-term renewable technology integration issues and to provide a tool facilitating a holistic approach to management of renewable technology issues.  The ETIP fulfills this purpose.

2.3.1.2.  Development of the ETIP

The ETIP was drafted by RTWG participants between January 2009 and September 2010.  Several versions were produced and distributed for comment to market participants and stakeholder groups.  RTWG received written comments from Calpine, Centerpoint, Luminant, Oncor, PSEG Texas, The Solar Alliance, and South Texas Electric Cooperative.  The RTWG also received written comments from the Dynamics Working Group, the Operations Working Group, the Performance Disturbance Compliance Working Group and the QSE Managers Working Group.  The RTWG received oral input to the ETIP at meetings of the PUCT, ERCOT Board, TAC, ROS, and WMS.

2.3.1.3.  Revision Requests Related to Emerging Technologies Issues

For reasons previously discussed, much of the early TAC activity related to renewable technologies was focused on addressing the operational challenges associated with WGRs.  A high priority was placed on solving those issues which would require changes to ERCOT zonal systems while such changes were still cost effective and providing solutions required for TNMID in time for such solutions to be incorporated into the Go-Live nodal systems.  Later efforts produced some solutions requiring post-TNMID implementation and broadened stakeholder focus to non-wind renewable technologies, other emerging technologies, and longer term issues not yet ripe for consideration in the Revision Request process.  Figure X below details the wind-related Revision Requests considered by TAC between Wind Workshop I in March 2008 and August 2010 as the ETIP was finalized and the “pens down” date was reached for both zonal market and TNMID system changes.  No Revision Requests particular to non-wind renewable technologies or other emerging technologies have yet been considered by TAC.

Fig. X. Summary of Revision Requests Addressing WGR Issue (Mar. ’08-Aug ’10)

| Revision Requests | Filed | Approved |
| --- | --- | --- |
| PRRs | 16 | 15 |
| NPRRs for TNMID | X | X |
| NPRRs for Parking Deck | X | X |
| OGRRs | 3 | 3 |
| Total RRs | XX | XX |

2.3.1.4.  Other Noteworthy Stakeholder Activities

In addition to RTWG activities and the considerable amount of time dedicated to processing wind-related Revision Requests, market participants and stakeholders engaged in other noteworthy activities including two task forces which considered whether to allocate certain costs to wind generators or other renewable technologies, addressing emerging technology issues through the ERCOT-led Regional Planning Group and Long-Term Study Task Force, creation of a Power Storage Working Group, participation in an energy storage issues workshop, and addressing issues related to the profiling and settlement of distributed renewable generation resources.

2.3.2.  ERCOT Activities Related to Emerging Technologies Integration

ERCOT has been heavily engaged in issues relating to emerging technologies, particularly large-scale wind generation issues, for the past several years.  In addition to supporting and participating in stakeholder deliberations on renewables integration issues and serving as a resource for the PUCT and market participants on CREZ implementation issues, ERCOT has also taken on more of a leadership role in identifying and resolving wind integration issues, particularly in the area of system operations.

2.3.2.1.  Workshop and Training Activities

ERCOT played a central role in organizing workshops focused on wind integration issues and energy storage device questions.  ERCOT also worked with the Texas Reliability Entity to incorprate certain WGR operations issues into the annual operator training seminars.

2.3.2.2.  Participation in Stakeholder Activities

Even with the resource constraints imposed by the nodal market implementation project, ERCOT has actively participated in numerous stakeholder efforts to address renewable integration issues, particularly through the Revision Request process.  Additionally, ERCOT’s System Planning Division has actively participated in the RTWG and development of the ETIP.

2.3.2.3.  System Planning Activities

In addition to numerous activities to support the PUCT’s CREZ process, ERCOT has conducted a variety of system planning activities related to renewable technologies integration and other emerging technology issues.  ERCOT has overseen third-party studies on WGR voltage ride-through needs, subsynchronous resonance issues, reactive compensation needs, and a long-term study addressing possible future system needs to integrate new technologies.

2.3.2.4.  System Operations Activities

In addition to actively working with stakeholders on numerous Revision Requests related to operational challenges associated with WGRs, ERCOT has developed new tools for system operators to predict and prepare for large wind ramping events, incorporated improved wind forecasting into operational activities, and coordinated solutions for WGR issues with stakeholders which could be addressed outside the Revision Request process.

2.3.3.  Recommendations for TAC Organization of Emerging Technologies Issues

As discussed above, numerous challenges exist to ensuring that ERCOT is sufficiently prepared to resolve integration challenges associated with emerging technologies.  The significant efforts devoted to nodal market implementation, the increased level of activity associated with CREZ development, the normal workload of a robust generation interconnection process, day to day system planning and operations functions, and support for the myriad issues resolved through the stakeholder process already challenge available ERCOT resources.  Likewise, the ERCOT stakeholder process is also focused on the same set of challenging issues while market participants also must tend to their core business functions.

An additional challenge to framing and resolving emerging technologies issues in the existing ERCOT stakeholder process is that many of the issues are not yet ripe for consideration in the Revision Request process which is the primary process by which issues are addressed by stakeholders.  Issues addressed by stakeholders outside the Revision Request process typically fall to one or more of the many working groups or task forces under the TAC and there is not a robust system for tracking such issues development or resolution.

The four recommendations outlined below are designed to create a process through which stakeholders can raise emerging technologies issues to be prioritized, framed, studied, resolved, tracked, and communicated to policy makers and decision makers.  Although the proposed process is modeled on the existing Revision Request process, it is not intended to be duplicative.  Rather, the process is intended to be used for issues which may not yet be ripe for the Revision Request process or which may be resolved by means other than a Revision Request.  For emerging technologies issues which are being resolved through the Revision Request process, the process outlined below simply provides a means of organizing, tracking, and communicating such issues as they relate to the full scope of emerging technologies integration activities for the benefit of the policy makers and decision makers who guide ERCOT’s full emerging technologies integration efforts.

2.3.3.1.  Recommendation 1:  Repurpose the RTWG

For the same reasons that the stakeholder effort to develop a renewable technologies integration plan evolved into a broader emerging technologies integration plan, the scope of the Renewable Technologies Working Group should be expanded to include all emerging technologies and the working group should be renamed the Emerging Technologies Working Group.  Many of the core issues presented by a number of emerging technologies are similar in nature to those posed by renewable technologies: variable or limited energy output; forecasting issues; and the introduction of new uncertainties into system planning and operations functions, among others.  Because so many of the issues are similar or interrelated, it makes sense to take them up together under a single umbrella and utilize the same process to address them.

2.3.3.2.  Recommendation 2:  Place the new ETWG under WMS

While a majority of RTWG participants favor placing the new ETWG under a standing TAC subcommittee such as the WMS, a minority of participants prefer to leave the repurposed working group under the TAC.

Proponents of moving the ETWG under a TAC subcommittee note that the lack of voting structure within the working group requires that certain issues be elevated to a voting body for resolution and that many such decisions may not be ripe for deliberation by the TAC.  Opponents of the recommendation argue that WMS, or any other TAC subcommittee, may be too narrowly focused for all of the issues which could arise and that TAC, as a higher level body with a broader scope, is better suited to address the range of issues which may arise.

Opponents of the recommendation to move the ETWG under a TAC subcommittee also note that many of the issues explored by the ETWG will likely not be “wholesale market” issues but rather may best be addressed by any number of stakeholder groups which fall under other TAC subcommittees.  Proponents of the recommendation counter that such a condition is no different than the scope of work performed by RTWG today where the bulk of work on emerging technologies issues is performed in various working groups under various subcommittees and the RTWG primarily serves to organize, track, and communicate the issues.  This work can be done, proponents argue, under the guidance of any of the TAC subcommittees, although WMS or ROS are the obvious candidates.

2.3.3.3.  Recommendation 3:  Improve ET Issues Tracking System

Since the RTWG began identifying and tracking renewable and emerging technologies issues, 71 discrete issues have been identified and tracked on the RTWG Issues List, which has been presented quarterly to the TAC, ERCOT Board, and PUCT.  For the issues which were addressed through the Revision Request process, a complete and transparent record of discussions, comments, votes, and final disposition are available on the ERCOT website.  For the remaining issues, however, whether deliberated in the RTWG or other TAC subgroups, it can often be difficult to construct a complete record of deliberations as issues can be raised in multiple forums and documents related to the discussions are posted, if at all, on scattered calendar pages of the ERCOT website.

In order to facilitate the development of a more complete and organized record of ERCOT and stakeholder activities related to emerging technologies integration efforts, it is recommended that a more defined process be utilized for this purpose.  A process modeled on the existing Revision Request process would have the benefits of being familiar to stakeholders, providing uniform treatment of all issues, centralized storage of documentation, and enhanced transparency of issues deliberations and accessibility of information related to the issues.

The Emerging Technologies Issues process would function similar to the Revision Request process.  Draft forms to facilitate this process are included in Section 5.  Any interested party could file an ET Issue Submission Form.  Any interested party could file an ET Issue Comment Form.  The ETWG could be charged with periodically updating the status of ET Issues using the ET Issue Tracking Form.  This would enable a periodic compilation of the status of all issues, similar to Section 3 of this document.  Additionally, the quarterly reports produced for the TAC, Board, and PUCT could easily be compiled from the tracking forms.

2.3.3.4.  Recommendation 4:  Provide ERCOT Staff Support for ETWG Activities

Implementation of the formalized ET Issues submission, comment, and tracking system would require resources beyond the abilities of the volunteer stakeholder process.  Like the existing Revision Request process, the processing, distribution, and posting of the documents would require the allocation of some ERCOT resources, likely the Market Rules staff who currently manage the Revision Request process.

3. 	Key Issues and Strategies for Resolution

The task of documenting the full range of renewable technologies integration issues of importance to ERCOT began with the list of issues generated through the interactive discussion at Wind Workshop I in March 2008.  From that initial list, other issues were identified by the RTWG and added to the list.  The RTWG further noted other renewable technologies issues which had been identified elsewhere in the stakeholder process and added them to the list.  As the RTWG refined the format for documenting integration issues considerations and activities over time, an attempt was made to return to earlier issues and fill in the blanks in the documentation to construct a recent historical record of ERCOT and stakeholder activity on such issues.  Therefore, some of the issues in this section are discussed more thoroughly than others, reflecting the evolution of the RTWG deliberative process over the time in which the ETIP was developed.

Some issues may seem to appear more than once or may be very similar to other issues.  Usually, this is because a the issue may have significant implications from multiple perspectives and so may be included in multiple issues groups.  For example, both the system planning and the system operations functions rely on quality data and models to perform studies and other tasks.  But each process may rely on different data sets or have different specific modeling requirements.  Thus there are multiple discrete issues relating to data verification and model validation on both the System Planning list and the System Operaterations lists to ensure each instance of identified deficiencies in data accuracy or model sufficiency is addressed as appropriate by the relevant subject matter experts.

The renewable and other emerging technologies issues identified to date are presented in this section organized by issue group.  Section 4 of the ETIP includes summary tables of these issues organized by priority and status to provide high-level views of the full scope of emerging technologies issues addressed in the stakeholder process.

| ET-001-SP-001: Verify Wind Turbine Technical Data: Wind turbines of various vintages in the ERCOT system possess different technical capabilities. Generally speaking, newer turbine types offer more technically advanced features and control systems than older technologies. It is unclear whether technical specifications and models for wind units provided to ERCOT by wind generators are sufficiently accurate or detailed for system planning and operations purposes. ERCOT and wind generators should collaborate to ensure wind turbine technical data relied upon by ERCOT is accurate. |  |
| --- | --- |
| Priority | High. |
| Considerations | Policy: No policy impacts. |
|  | Reliability: Accurate technical data for use in system planning and operations models is critical to ensuring system reliability. |
|  | Technical: Accurate representation of WGR design, configuration, and technical capabilities and limitations are required inputs for various planning and operation functions. The Resource Asset Registration Form (RARF) for each WGR should reflect all relevant data. |
|  | Market: No market impacts. |
|  | Performance/Compliance: No performance criteria are recommended. No compliance metrics are recommended. Wind generators are expected to comply with ERCOT requests to update, complete, or verify data. Failure to comply with ERCOT requests for information can lead to enforcement action by the Texas Reliability Entity. |
|  | Cost Allocation: There are no costs to allocate. WGRs are responsible for submitting timely, accurate data to ERCOT through the RARF process. |
| Strategy | ERCOT and WGR owners should collaborate to ensure completeness and accuracy of relevant wind turbine technical data used by ERCOT. |
| Activities | ERCOT: ERCOT Operations will develop questionnaire for WGR owners to complete. |
|  | Market Participants: WGR owners must complete the ERCOT questionnaire. |
| Schedule | Questionnaire developed in July 2008. All responses deemed complete by ERCOT in January 2009. Follow-Up activity to occur post-TNMID on aschedule to be determined by TAC and ERCOT Staff. |
| Follow-Up | Market Participants: Market Participants may wish to consider follow-up activities to this issues during deliberations on ET-066-SO-35 Operational Checklist for Resource Interconnection. Establishing a process by which RARF data is verified during the interconnection or RARF submission process may reduce or eliminate errors in data or incomplete data submissions and remove the need for a “catch-up” exercise such as this one. Market Participants: Determine post-TNMID whether additional data fields or other modifications are required to the RARF for WGRs or other renewable Resources. |
| Status | This issue was closed in Jan. 2009 after ERCOT deemed the responses of all WGR Owners to be complete. Follow-Up activity rests with TAC, which has not yet assigned it to a responsible subcommittee. |

| ET-002-SP-002 Wind Turbine Computer Models: Computer models used in operations and planning have not always been able to represent all wind-turbine technologies accurately. There are several factors affecting the accuracy of the modeling effort. The primary problem to date has been getting accurate, detailed, functional models from WGR manufacturers. Another factor is the mutual lack of familiarity and understanding between modelers and WGRs owners leading to misunderstanding of requirements. Yet another factor is the rapid growth of installed WGR capacity which makes an orderly incorporation of the new technologies’ characteristics difficult. Lastly, there is the rapidly evolving nature of the WGR technology itself, which makes it difficult to keep models current. |  |
| --- | --- |
| Priority | High |
| Considerations | Policy: None |
|  | Reliability: This is a key reliability issue. Proper models are needed to accurately perform planning, design, and operational studies. While a variety of approximations are used for all technologies, the degree of approximation for WGRs has seemed excessive. |
|  | Technical: Deficiencies in model availability and technical deficiencies in modeling software should be explored and addressed to aid key studies such as Voltage Ride Through requirements, subsynchronous resonance issues, and other studies. In addition, those designing the software and running the studies have limited experience with WGRs and may require additional education and training. A major technical issue for the whole industry is the need to create non proprietary standard models for the many different WGR turbine types. |
|  | Market: Indirectly, lack of confidence in the models used for studies can result in unneeded conservatism on the part of system planners which can increase the cost of facility designs and on the part of system operators which can increase the cost of market operations or lead to inefficient commitment of Resources. |
|  | Performance/Compliance: It is incumbent upon WGRs to provide accurate technical data to TSPs and ERCOT. Existing NERC standards and ERCOT Protocols define responsibilities and time frames. |
|  | Cost Allocation: Entire market absorbs cost of inefficiencies arising from modeling that is not as robust as it could be. WGRs operators absorb costs of providing their data to ERCOT. |
| Strategy | Near-term focus is to identify discrepancies between installed equipment and how that equipment is represented in studies. Two key areas should be addressed – lack of common understanding regarding technical specifications of equipment in the field and the technical capabilities and limitations of the modeling software itself. Increase ERCOT and market participant education regarding renewable generation technology and associated modeling issues. Encourage stakeholder participation in WGR model improvement efforts in the industry, such as the Electric Power Research Institute (EPRI) Project 17. Require WGRs to provide accurate models of their equipment. |
| Activities | ERCOT: Hold workshops for Market Participants and ERCOT staff to allow WGRs, equipment vendors, Transmission Service Providers, and ERCOT to present their information and issues to each other. Take advantage of study efforts to verify WGR data, to develop more appropriate models, and to initiate software changes. ERCOT and the Transmission Service Providers need to consider appropriate modeling processes for WGRs and use of a common database for all studies. |
|  | Market Participants: WGR Owners need to work with equipment suppliers to insure that the vendors provide complete, detailed, and accurate technical data for their equipment as needed to support all required studies. WGR Owners must update ERCOT and TSPs promptly and completely as their plans and actual facilities change. |
| Schedule | Wind Workshop One, March 17, 2008: Model issues raised. Wind Workshop Two, August 22, 2008: Model discrepancies identified. Wind Workshop Three, June 26, 2009: RARF data update process identified. Wind Workshop Four, date to be determined: ERCOT requirements should be explicitly identified and vendor solutions proposed. Voltage Ride Through Study phase 2, June 2010: WGR data and model verification. Post-TNMID: Consider creation of updated data repository, modified data collection process and establishment of common data base for planning and operations studies. |
| Follow-Up | Insure that the Voltage Ride Through findings relative to WGR modeling needs as well as the modeling data itself is captured and documented. Consider revisions to procedures and Protocols to establish a common data collection system and data base for all generators with appropriate modifications to ensure that ERCOT documents the actual characteristics of each facility’s technology. |
| Status | Open. Recommended next step is to further refine and define these issues at Wind Workshop IV, which has not yet been scheduled. |

| ET-003-SP-003 Wind Turbine Fault Tolerance: System reliability requires that during short circuit conditions (transmission system faults) that generators stay on line during the short circuit and after it clears. WGRs had been given specific exemption from fault tolerance requirements. As more WGRs were added to the ERCOT system, it became necessary to evaluate existing WGR fault tolerance capabilities as well as to establish fault tolerance standards for new WGRs. SP-03 identifies the VRT issue for WGRs. The issue was divided into two parts for follow through; ET-021-SO-012 dealing with establishing new standards for new WGRs and ET-008-SP-008 dealing with studies related to existing WGRs. A portion of the discussion is repeated in these three issue write-ups to allow each to be complete. |  |
| --- | --- |
| Priority | High |
| Considerations | Policy: Yes. At issue is whether the application of new technical requirements to existing equipment is appropriate or, conversely, whether the establishment of higher technical standards for new market entrants than those applicable to existing market participants is equitable. The policy decision reached by the Board on this issue was to establish a VRT requirement for new WGRs and to conduct a study to determine which, if any, existing WGRs should also meet the new standard to ensure system reliability. |
|  | Reliability: The ability of generators to have a reasonable level of fault tolerance is critical to system reliability. During system fault conditions, voltages electrically close to the fault are depressed and generators may come off line if the depressed voltages last too long. The fault tolerance requirements can be met by designing the transmission system to clear faults quickly and by designing generators to remain on line for certain low voltage situations. WGR fault tolerance must be evaluated / designed to function for typical transmission fault clearing times. |
|  | Technical: There is no significant technical challenge to designing new WGRs to meet fault tolerance requirements. However, existing WGRs may not be easily modified to meet new fault tolerance . In most cases, new WGRs can meet fault tolerance requirement by buying certain options in the wind-powered turbines. In some cases, such options cannot be retrofitted onto existing wind-powered turbines. Thus, the ability to meet new requirements may provide a significant technical challenge for older WGRs. |
|  | Market: New requirements would cause certain wind-powered turbines to no longer be able to be supplied for WGRs in ERCOT. The provision of fault tolerance for new WGRs from other wind-power turbine suppliers will increase WGR capital costs. There will not typically be any significant change in operating costs for new WGRs. There is little expected change in the competitive landscape for new WGRs that comply with new fault tolerance standards. For existing WGRs the possible expense of retrofitting existing equipment could be significant. Compliance by the WGR may require the addition of very expensive dynamic reactive devices in the WGR substation. The expense could cause some WGRs to be retired rather than be upgraded. For all WGRs there is likely to be both increased capital cost and operating cost as a result of complying with new standards. There are also commercial issues with inability to control single source prices and with warranty terms and conditions as well as warranty cost. These technical, cost, and commercial issues raise compliance with new standards by existing generators to a policy level as discussed above. See ET-008-SP-008 for additional details pertaining to existing WGRs. |
|  | Performance/Compliance: The WGR VRT standards established by OGRR 208 will utilize the standard ERCOT/TRE event-driven compliance regime. |
|  | Cost Allocation: The cost of OGRR 208 compliance associated with new WGRs will be borne by the new WGR developers. For existing WGRs see the discussion for ET-008-SP-008. |
| Strategy | Adopt an Operating Guide Revision Request establishing new standards applicable to new WGRs for Voltage Ride Through to provide fault tolerance capability. Perform detailed studies to evaluate exiting WGRs capability to ride through system faults and system fault tolerance needs from those existing facilities. |
| Activities | ERCOT: Participate in the process of establishing new standards. Specify scope and contract for studies to evaluate the need for system design changes related to faults affecting existing WGRs. |
|  | Market Participants: TSPs, generators and all market participants actively participate in the development of new standards for WGRs and provide input as needed for development of VRT Study for existing WGRs. |
| Schedule | OGRR 208: Approved November 17, 2008. Established VRT standards for new WGRs (see ET-021-SO-012). VRT Study for existing WGRs completed in June 2010 (see ET-008-SP-008). NOGRR synchronizing OGRR 208 to Nodal Operating Guide to be completed in late 2010. |
| Follow-Up | Synchronizing NOGRR required upon completion of VRT Study for existing WGRs. |
| Status | Open. NOGRR 043 to synchronize OGRR 208 into the Nodal Operating Guide is currently pending. |

| SP-04 Voltage Transient and Small Signal Stability Study: The West-to-North Transfer study is performed annually by ERCOT Operations, with input from ERCOT Planning and review by the Dynamics Working Group. The purpose is to calculate how much power can safely be transferred from West to North while maintaining a safe small signal stability margin. The DWG assembles the dynamic data set necessary for ERCOT staff to do the study. |  |
| --- | --- |
| Priority | Medium or Medium-High |
| Considerations | Policy: None |
|  | Reliability: Yes. The results of the study inform ERCOT Operations how much transfer they can allow reliably in the real time operation. Without this information they must operate more conservatively to maintain the system reliability. |
|  | Technical: The technical challenge is to allow as much power transfer as possible without risking a system separation due to the undesired system oscillation. The solution is to do the study every year and limit the west to north power transfer based on small signal stability criteria. |
|  | Market: The market consideration is to maximize the wind-to-load transfer based on security constraints. Generally, ERCOT appears to take action when loading on the stability limit reaches 85%. Encourage ERCOT and market participants to periodically review commercial implications of the management of stability limits with the ultimate goal of the stability limit elements being managed similarly to the rest of the system. |
|  | Performance/Compliance: Each renewable generation resource owner must provide good dynamic models and each TSP must provide a good dynamic load model. ‘Good’ in this context means (1) compatible with the version of software being used, and (2) accurately describing the dynamic electrical characteristics of the equipment or load. Re-using old models for old facilities is not always good enough. |
|  | Cost Allocation: None. |
| Strategy | No specific strategy outside of existing annual ERCOT study process. |
| Activities | ERCOT: Perform study annually or as needed when major system changes occur that may impact previous study results. |
|  | Market Participants: TSPs should maintain database of dynamic models of all transmission and generation facilities and provide to DWG when requested. Resource Owners must provide complete dynamic model of generators to TSPs and ERCOT staff. The provision of accurate models is also addressed in ET-066-SO-035. |
| Schedule | Each year: November DWG requests TSPs for input models. December TSPs submit models. February DWG assembles the base case and checks it. March ERCOT performs study. June ERCOT reports results |
| Follow-Up | See ET-006-SO-035. |
| Status | Issue closed. Follow-up activity may be tracked in Issue ET-066-S0-035. |

| ET-005-SP-005 Impact of Wind Turbines on System Inertia: Determine the potential impact on system reliability of large amounts of wind turbine generating capacity on ERCOT’s system inertia requirements. This is one of two entries on this topic. The other is ET-017-SO-008 which was resolved in October 2008 by a PDCWG (Performance, Disturbance, Compliance Working Group) presentation to ROS. This issue looks to the future problem of maintaining system frequency as installed wind power capacity approaches the level of system minimum load. |  |
| --- | --- |
| Priority | MediumHigh |
| Considerations | Policy: Policy decisions have led to market changes which give rise to this technical challenge. There are technical limitations upon other resource owners to maintain ERCOT frequency fluctuations associated with intermittent resources, particularly if a lower percentage of such other resources are dispatched as a larger percentage of renewable generation is connected and dispatched. |
|  | Reliability: The reliability concern is that wind plants do not automatically respond to frequency deviations in the same way synchronous generators do. As the proportion of synchronous generation decreases, maintaining frequency will require more operator action, or additional under-frequency load-shed relay settings, or in real-time reaction by the operators at the Frequency Desk The inertia of the ERCOT Interconnection impacts the rate of change of grid frequency during normal operation and during contingencies. As the ratio of non-synchronous generation increases, the rotating mass of synchronous generators and rotating loads will decrease. Inertia of the grid helps limit the rate of change of frequency to allow conventional synchronous generators time to deliver Primary Frequency Response and stabilize grid frequency. During contingencies, load dampening provided by synchronized rotating loads and initial Primary Frequency Response (PFR) from conventional synchronous generators provide Primary Frequency Response to stabilize frequency at the NERC C point. On the ERCOT grid this traditionally occurs in 4.5 to 6 seconds following the NERC A point. As grid inertia decreases, frequency rate of change will increase causing lower stabilizing frequencies at Point C. This is caused by the time delay in delivery of Primary Frequency Response from conventional generators. Compound reheat steam turbines will typically provide 25 to 30% of their PFR within 4 to 6 seconds due to the time required for additional steam flow to travel through the high pressure turbine and be converted to energy. Combustion turbines will also be limited by the addition of air to support combustion that must be coordinated to prevent flame-out. These physical limitations are technology specific. An EPRI study performed on the WECC and Eastern Interconnections determined that frequency rate of change increases the risk of voltage collapse. |
|  | Technical: The technical challenge is how to operate the grid reliably with fewer synchronous generators available to respond automatically to frequency deviations. |
|  | Market Design: There is a long-term question whether units which provide spinning mass or stabilize system frequency will continue to be installed in the ERCOT system and whether such units will be able to remain online during periods of high wind production and correspondingly low prices. Additionally, a new Ancillary Service that provides quick ramp response to the grid during frequency deviations may be required since the full value of such service may not be compensated in the energy-only market. This market design issue is more fully explored in ET-047-004. |
|  | Performance/Compliance: ERCOT: NERC CPS1 and DCS criteria and Balancing Authority ACE limit and Interconnection minimum Frequency Response. QSEs with synchronous generators: Correct SCE bias settings, correct implementation and delivery of Primary Frequency Response (PFR) from all generators. This includes correct Governor Dead-Band, droop setting, proportional response (no step response at the Dead-Band) and continuous delivery of PFR for the duration of the frequency deviation. Wind-only QSEs: None now Develop a standard on delivery of “initial” and “sustained” PFR. |
|  | Cost Allocation: To be determined. |
| Strategy | For each significant contingency on the ERCOT grid, evaluate Primary Frequency Response delivery at the NERC C point. This includes calculation of Load Dampening’s percent of PFR at point C, time difference between Point A and Point C and the rate of change of frequency between Point A and Point C. Correlate this data to the ratio of non-synchronous generation providing energy at the time of the contingency. This study may be addressed in ET-063-SP-10. |
| Activities | ERCOT: ERCOT Planning staff will study the problem. ERCOT Operations should evaluate whether a targeted fast ramping Ancillary Service would cost-effectively aid WGR integration. |
|  | Market Participants: Work with ERCOT to consider developing a fast ramping Ancillary Service that will support system security and frequency response. This response must be delivered during the transition from Point A to Point C to stabilize frequency above UFLS. Determine other sources of PFR that can be delivered between Point A and Point C to replace the reduced inertia of the system. This could be fly wheel or other technologies. |
| Schedule | ERCOT already provided data to NERC. When the NERC study is completed it will inform ERCOT’s study. ERCOT staff will start this study when the VRT study is done (June 2010). |
| Follow-Up | This will be a periodically recurring study as the percentage of wind as compared to all ERCOT generation increases. |
| Status | Open. |

| ET-006-SP-006 Use of Variable Frequency Transformers to Solve Stability Problems: This issue was added to the Emerging Technologies Issues List early in RTWG process but was never fully defined. |  |
| --- | --- |
| Priority | To be determined. (tbd) |
| Considerations | Policy: tbd |
|  | Reliability: tbd |
|  | Technical: tbd |
|  | Market Design: tbd |
|  | Performance/Compliance: tbd |
|  | Cost Allocation: tbd |
| Strategy | tbd |
| Activities | ERCOT: tbd |
|  | Market Participants: tbd |
| Schedule | tbd |
| Follow-Up | tbd |
| Status | Open. |

| ET-007-SP-007 Voltage Control Process: This issue has been raised in recognition of the fact that West Texas / the Panhandle will have many different transmission providers serving a large concentration of wind-powered generation. Voltage is coordinated by Resources, TSPs, and ERCOT in response to daily load and generation variations. Transmission Service Providers (TSPs) have designed, installed, and operated some reactive devices for their systems. Historically, ERCOT has conducted seasonal studies to establish required voltage profiles at the point of generator interconnection. Then the Transmission Service Providers (TSPs) manage the day to day and hour to hour variations by calling on Generators to increase or decrease output to maintain their voltage profiles. The eight TSPs involved in the CREZ projects must coordinate voltage control expectations. One TSPs voltage control efforts could have a large impact on another TSP’s facilities and on other generators. The large concentration of wind-power served by eight different TSPs requires a detailed and coordinated design effort and operating strategy. Thus this issue has both a planning and operations component. |  |
| --- | --- |
| Priority | High |
| Considerations | Policy: None |
|  | Reliability: Voltage control is a key reliability issue. The coordinated reactive design effort will determine a holistic solution. |
|  | Technical: Currently available technology will provide the needed reactive components. |
|  | Market: None.. |
|  | Performance/Compliance: Existing performance and compliance should be adequate to direct the design effort. |
|  | Cost Allocation: ERCOT Protocols 6.5.7.1 requires generators to maintain a set voltage profile. All costs of complying with the required voltage profile fall to the generator.Althoug no new cost allocation issues are anticipated, there may be some issues when determining appropriate TSP to purchase and operate a particular reactive device. |
| Strategy | Recommendation. Initiate a reactive design study involving all TSPs in West Texas / Panhandle coordinated by ERCOT. Another option may be to develop a VAR Ancillary Service to allow resources that do not have the capability to comply with the Protocols to “provide services in kind” by buying from the market or bilaterally. |
| Activities | ERCOT: Assist in study devlopment and oversight. |
|  | Market Participants: Consider development of a VAR Ancillary Service to allow resources that do not have the capability to comply with the Protocols to “provide services in kind” by buying from the market or bilaterally. TSPs should actively participate in developing and conducting study and implementing the study design requirements. |
| Follow-Up | Normal planning, design, and certification processes provide the needed follow up procedures for the design effort. Additional follow up is needed for the operations component of this issue (see SO-10) |
| Schedule | The reactive design study is currently underway. May 2010 – reactive device requirements portion of the study completed. 2010-2013 TSPs specify, purchase, and install needed reactive devices. |

| ET-008-SP-008 Voltage Ride-Through (VRT) Study: System reliability requires that during short circuit conditions (transmission system faults) that generators stay on line during the short circuit and after it clears. As more WGRs were added to the ERCOT system, a process was initiated to establish fault tolerance standards for new WGRs. The process was expanded to include a study of system needs for existing WGRs during fault conditions. SP-03 identifies the VRT issue for WGRs. The issue was divided into two parts for follow through; SO-12 dealing with establishing new standards for new WGRs and SP-08 dealing with studies related to existing WGRs. A portion of the discussion is repeated in these three issue write-ups to allow each to be complete. |  |
| --- | --- |
| Priority | High |
| Considerations | Policy: Yes. At issue is whether the application of new technical requirements to existing equipment is appropriate or, conversely, whether the establishment of higher technical standards for new market entrants than those applicable to existing market participants is equitable. The policy decision reached by the Board on this issue was to establish a VRT requirement for new WGRs and to conduct a study to determine which, if any, existing WGRs should also meet the new standard to ensure system reliability. |
|  | Reliability: The ability of generators to have a reasonable level of fault tolerance is critical to system reliability. During system fault conditions, voltages electrically close to the fault are depressed and generators may come off line if the depressed voltages last too long. The fault tolerance requirements can be met by designing the transmission system to clear faults quickly and by designing generators to remain on line for certain low voltage situations. WGR fault tolerance must be evaluated / designed to function for typical transmission fault clearing times. |
|  | Technical: There is no significant technical challenge to designing new WGRs to meet fault tolerance requirements. The studies needed to evaluate fault tolerance of existing WGRs require extremely detailed modeling of the WGRs. The software and data needed are generally available but the technical challenge results from the volume of data needed from many different organizations. Consistency in interpreting the data needs of the software and fidelity of the representation will require intense, centralized data review efforts. In some cases, existing WGRs are not easily modified to meet new fault tolerance requirements. In most cases, new WGRs can meet fault tolerance requirement by buying certain options in the wind-powered turbine equipment. In most cases, options available for new resources cannot be retrofit onto existing wind-powered turbines; thus, the ability of existing resources to meet new requirements may provide significant technical challenges. It is possible that design changes to the transmission system will be the most effective and economical solution to any problems that are found. |
|  | Market: For existing WGRs the possible expense of retrofitting existing equipment could be significant. Compliance may require the addition of very expensive dynamic reactive devices in the WGR substation to make up for the lack of capability of the generation equipment itself. The expense could cause some WGRs to be retired rather than be upgraded. For all WGRs there could be increased capital cost and operating cost as a result of complying with new standards. There are also commercial issues with inability to control single source prices and with warranty terms and conditions as well as warranty cost. These technical, cost, and commercial issues raise compliance with new standards by existing generators to a policy level. |
|  | Performance/Compliance: The WGR VRT standards established by OGRR 208 will utilize the standard ERCOT/TRE event-driven compliance regime. |
|  | Cost Allocation: The cost of meeting the WGR VRT standard for new WGRs will be borne by WGR owners. Results of the study applicable to existing WGRs may raise cost allocation issues depending on whether generator or TSP solutions are identified. |
| Strategy | Develop a VRT standard for new WGRs. For existing WGRs, evaluate need for any VRT related design changes by performing detailed studies using validated data to evaluate exiting WGR capability to ride through system faults. The study scope shall include detailed modeling. A major effort to collect consistent and correct detailed data needs to be a part of the study effort. |
| Activities | ERCOT: Specify scope and contract for studies to evaluate the need for system design changes related to faults affecting existing WGRs. Provide staff to oversee the study. |
|  | Market Participants: WGRs and TSPs should respond to ERCOT/contractor data requests to support study efforts. |
| Follow-Up | A Nodal Operating Guide Revision Request is needed to synchronize OGRR 208 to the Nodal Operating Guide following the results of the VRT study for existing WGRs. |
| Schedule | Studies for existing WGRs were reported in June 2010. No VRT needs were identified for existing WGRs. NOGRR 043 is under consideration in the stakeholder process to synchronize the OGRR 208 WGR VRT requirement in the Nodal Operating Guide. |

| ET-009-SP-009 Wind Turbine Dynamic Model Validation: ERCOT Operations, ERCOT Planning, and the Dynamics Working Group perform a variety of studies that require dynamic models of individual wind generator turbines and entire wind farms. The existing dynamic models are of mixed vintage and quality. The behavior of the models in time-simulations should be compared to the in-service behavior of wind farms to provide assurance that the studies utilizing the dynamic models are accurate. |  |
| --- | --- |
| Priority | Medium |
| Considerations | Policy: What are the criteria that ERCOT should or could use to disallow interconnection or energization of equipment absent a validated operational model. The policy challenge is to strike the appropriate balance between maintaining an “open access” network while ensuring system reliability. |
|  | Reliability: Yes, if appropriate and complete data are not available to ERCOT, ERCOT’s studies are necessarily impacted. |
|  | Technical: Revisit this item as it relates to NERC definition |
|  | Market: : Could be a market issue. If appropriate and complete data are not available to ERCOT, ERCOT’s studies are necessarily impacted. Thus, operational information is not as complete as it could be and this could potentially lead to out of market actions to resolve unanticipated issues. |
|  | Performance/Compliance: To be determined. |
|  | Cost Allocation: Unknown |
| Strategy | RTWG should monitor EPRI Project No. 173 and communicate developments in that model validation effort to ERCOT Planning Staff and the Dynamics Working Group. |
| Activities | ERCOT: None. |
|  | Market Participants: ERCOT stakeholders are encouraged to participate in / monitor the EPRI validation effort. |
| Follow-Up | To be determined. |
| Schedule | Unknown |

| ET-063-SP-010 DOE Long-Term Planning Study: ERCOT secured federal Department of Energy funding to conduct a Long-Term Planning Study to evaluate reliability impacts and system planning considerations related to various scenarios for future pentration levels of emerging technologies and other considerations. |  |
| --- | --- |
| Priority | Medium |
| Considerations | Policy: As part of the study effort, all participants must be mindful of existing PUCT policy regarding the energy only market and transmission cost of service. |
|  | Reliability: ERCOT shall evaluate reliability outcomes in the scenarios studied. |
|  | Technical: A technical challenge to establishing the study parameters will be the development of long-range scenarios to and the appropriate assumptions to use for grid-connected equipment and system topology. |
|  | Market Design: The study may suggest market design issues to be considered by stakeholders. |
|  | Performance/Compliance: None. |
|  | Cost Allocation: The study effort is funded by the U.S. Department of Energy and supplemented by ERCOT Admin Fee-funded ERCOT Planning Staff resources and market participant efforts. |
| Strategy | Utilize a robust, collaborative process between ERCOT Staff and market participants to develop the Long-Term study and evaluate the results. |
| Activities | ERCOT: ERCOT will lead the study. |
|  | Market Participants: Participate in scenario development. |
| Follow-Up | To be determined. |
| Schedule | To be determined. |
| Status | Open. Study scenarios are under development in the ERCOT Planning Staff-led Long-Term Study Task Force. |

| ETIP Number | ET-064- SP-011 | Issue Title | Sub-Synchronous Interactions |  |
| --- | --- | --- | --- | --- |
| Date Posted |  |  |  |  |
| Short Description of Proposed Emerging Technology Issue |  | A sub-synchronous interaction issues was experienced on the ERCOT grid in late November 2009. As stakeholders work through CREZ implementation issues, there is some concern that planned series compensated transmission lines, particularly those which radially interconnect Generation Resources, may experience sub-synchronous resonance issues. |  |  |
| Proposed Priority (High, Medium, or Low) |  | High |  |  |
| Proposed ETIP Classification (SO, SP, MD, or WT) |  | System Planning (SP). Planning studies are needed to further define concerns and develop strategies to address identified issues. |  |  |
| Considerations |  | Policy |  | Many of the transmission elements of concern were specifically identified in the PUCT CREZ Order (Docket No. 33672). |
|  |  | Reliability |  | Sub-synchronous interactions between Generation Resources are a serious reliability concern which could result in major equipment damage if not addressed. |
|  |  | Technical |  | Highly technical studies with specialized resources are needed to fully scope sub-synchronous interaction concerns. ERCOT may need to contract outside resources to address this issue. |
|  |  | Market Design |  | To be determined. |
|  |  | Performance / Compliance |  | To be determined. |
|  |  | Cost Allocation |  | To be determined. |
|  |  | ERCOT Resources |  | ERCOT Planning Staff are engaged on this issue. |

| ETIP Number | ET-SP12 | Issue Title | Distributed Generation Interconnection Tracking |  |
| --- | --- | --- | --- | --- |
| Date Posted |  |  |  |  |
| Short Description of Proposed Emerging Technology Issue |  | Distributed Generation (DG) will impact load shapes, increase load variability and create complications for ERCOT load forecasting and operations. Significant penetration of DG technologies may impact system frequency control and increase the total amount of Variable Energy Resourecs. Prior to the point at which DG achieves sufficient penetration to impact system operations or market efficiencies, it will become important to understand the amount and type of interconnected DG technologies. |  |  |
| Proposed Priority (High, Medium, or Low) |  | Medium |  |  |
| Proposed ETIP Classification (SO, SP, MD, or WT) |  | System Planning (SP) |  |  |
| Considerations |  | Policy |  | Can the PUCT coordinate the transfer of information from TDSPs, NOIEs, REPs or other participants with direct knowledge of customer DG installation activities to ERCOT? |
|  |  | Reliability |  | Incomplete or inaccurate information regarding the amount and type of DG technology on the system will likely increase short- and long-term load forecast errors, increase error in renewable generation forecasting, and may result in over- or under-procurement of ancillary services. |
|  |  | Technical |  | There should be no technical impediments to tracking DG installations. |
|  |  | Market Design |  | N/A |
|  |  | Performance / Compliance |  | Once an information accumulation process is established, no performance metrics or compliance measures should be required. |
|  |  | Cost Allocation |  | There should be no costs to allocate. |
|  |  | ERCOT Resources |  | It is anticipated ERCOT can manage a DG capacity tracking function in conjunction with its existing function to track other renewable generation capacity in its role as Renewable Energy Credit trading program administrator. |

| ETIP Number | ET-SP13 | Issue Title | Monitor Technologies That Impact Load |  |
| --- | --- | --- | --- | --- |
| Date Posted |  |  |  |  |
| Short Description of Proposed Emerging Technology Issue |  | Numerous emerging technologies have the potential at significant penetration levels to noticeably impact the accuracy of ERCOT load forecasting and present Real Time challenges to system operations. ERCOT does not currently actively monitor the development of such technologies, their adoption, or their impact on load forecasting or system operations. Such knowledge may be needed in the future. |  |  |
| Proposed Priority (High, Medium, or Low) |  | Low. It will take some time before significant penetration levels of new technologies dramatically impact load shape relative to historical norms. |  |  |
| Proposed ETIP Classification (SO, SP, MD, or WT) |  | System Planning (SP) |  |  |
| Considerations |  | Policy |  | It is not anticipated there will be policy impacts related to gathering information on emerging load management technologies, EVs, or other relevant technologies that impact electricity demand or load shape. However, in the development of a tracking process, care should be taken to ensure the privacy of customer information as required by PUCT rules. |
|  |  | Reliability |  | At significant penetration levels, the failure to account for such technologies could impact system reliability. |
|  |  | Technical |  | It is anticipated the challenges to monitoring such emerging technologies development and deployment are primarily procedural, not technical. |
|  |  | Market Design |  | At significant penetration levels, the failure to account for such technologies could impact market efficiencies, such as through the over- or under-procurement of ancillary services. Additionally, market efficiencies may be realized through the facilitation of more robust demand response in ERCOT markets. Retail demand response currently participates in other markets in response to FERC mandates under Order 719. ERCOT market rules changes may be considered to enable wider demand response and/or distributed generation market participation. |
|  |  | Performance / Compliance |  | At this stage of load-impacting technologies knowledge development, no performance or compliance issues are anticipated. However, as more information is gathered or market rules enabling new market entrants are established, performance measures may require consideration. |
|  |  | Cost Allocation |  | At this stage of load-impacting technologies knowledge development, no cost allocation issues are anticipated. However, as more information is gathered or market rules enabling new market entrants are established, such issues may require consideration. |
|  |  | ERCOT Resources |  | Monitoring new technologies will likely require the attention of ERCOT Planning staff. In the future, market design changes, if any, to enable market participation by such technologies could require a significant resource commitment by ERCOT Staff. |

| ET-010-SO-001 Inventory of Wind Generation Facilities: As wind-power was added to the ERCOT system it became apparent that there were inconstancies in the communications and understanding between WGRs, ERCOT, and Transmission Service Providers. ERCOT launched a number of initiatives to address the communication and interpretation inconsistencies. The Inventory of Wind Generation Facilities was initiated by ERCOT to insure that ERCOT and the WGRs were communicating correctly about voltage control capability, reactive devices, and operating procedures. ERCOT staff engaged in an effort to contact each WGR in writing and by phone to answer specific questions about the WGR’s voltage control equipment and procedures. Written responses from the WGRs were all followed up with site visits and/or phone calls by ERCOT staff to insure there was a common understanding and interpretation of the questions and responses. The inventory process led to many follow up initiatives including changes in data collection forms and procedures (SP-01, SP-02, SP-09), workshops (WT-02, WT-05), and better coordination with Transmission Service Providers (TSPs)(SO-15). The actual inventory has been completed so this issue is closed. However, Follow-Up activities are still ongoing. See related issues below. |  |
| --- | --- |
| Priority | Medium |
| Considerations | Policy: Yes. Inconsistent understanding led to existing disputes about various Protocol requirements –for example those around requirement to supply reactive power. |
|  | Reliability: Consistent interpretation of requirements and communications is fundamental to reliable operations. The lack of familiarity with ERCOT by the new WGRs and the lack of familiarity with wind-power by ERCOT and TSPs can result in miscommunication. |
|  | Technical: This issue is primarily considered with educational and procedural, ratehr than technical, issues. |
|  | Market: No market design issues are raised as this issue is focused only on ensuring ERCOT has an accurate inventory of certain WGR equipment, configurations, and technical capabilties. Other related issues may have market design considerations. |
|  | Performance/Compliance: No new compliance considerations, but better understanding and communications will result in a higher standard of compliance. |
|  | Cost Allocation: No |
| Strategy | The basic issue that was identified was the need for ERCOT to ensure WGR capabilities were accurately recorded for ERCOT use and for improved communication and common understanding of ERCOT requirements and WGR characteristics. ERCOT and WGR owners should develop a common understanding of ERCOT requirements and procedures and WGR equipment characteristics through direct verbal communication between ERCOT and WGRs. |
| Activities | ERCOT: Directly communicate in person or by phone with each WGR to establish a common understanding of the WGRs chacteristics. |
|  | Market Participants: WGRs must respond to ERCOT questions and should proactively communicate with ERCOT to ensure information is understood. |
| Follow-Up | SP-01 Verify Wind Turbine Technical Data SP-02 Wind Turbine Computer Models SP-09 Wind Turbine Model Validation WT-02 and WT-05 Wind-power Workshops SO-15 Communications Between Wind Farms and TSPs A project to create a common generator data base for use by ERCOT planning, ERCOT operations, ERCOT dispatch software, and TSPs is scheduled to start soon after the Nodal go live date. This project may require its own issue number to be tracked in the ETIP process. |
| Schedule | This issue is closed. The inventory process is completed. |

| ET-011-SO-002 Nodal Tools to Integrate Wind Generation: This issue needs description. |  |
| --- | --- |
| Priority | High |
| Considerations | Policy: Text. |
|  | Reliability: Text. |
|  | Technical: Text. |
|  | Market: Text. |
|  | Performance/Compliance: Text. |
|  | Cost Allocation: Text. |
| Strategy | Text. |
| Activities | ERCOT: Text. |
|  | Market Participants: Text. |
| Follow-Up | Text. |
| Schedule | Text. |

| ET-012-SO-003 : Wind-powered Generation Response to Down Balancing Instructions It is difficult for ERCOT to determine compliance with a Down Balancing instruction because there is confusion about whether the instruction is based off of real time output level or the Resource Plan value. This problem is a result of the zonal market design and specific software limitations that do not exist in the nodal market. A process has been developed (PRR 812) requiring all WGRs to update their resource plan every hour and to use the best forecast available. This new procedures will improve ERCOT’s ability to accurately calculate the appropriate Balancing Energy Offset instructions without requiring Zonal market software changes. |  |
| --- | --- |
| Priority | Medium |
| Considerations | Policy: None |
|  | Reliability: Every 15 minutes ERCOT operations calculates a Balancing Energy Offset amount to account for the differences between what the software thinks WGRs are doing and what they are actually doing. Extreme errors in calculating the offset can lead to reliability issues, but this happens rarely. |
|  | Technical: There is no real technical impediment to resolving this issue; the proposed solution requiring WGR owners to provide hourly Resource Plan updates is the most cost effective way to improve the accuracy of the Balancing Energy Offset without spending considerable time and money to change Zonal market software that is about to be replaced. The nodal software completely resolves this issue. |
|  | Market: Market impacts arise from inaccurate forecasts and from the Balancing Energy Offset process. Effectively, Balancing Energy Service and Regulation Service are used to make up the difference between forecasted and actual WGR output. In special circumstances, out of merit instructions are employed by ERCOT to mitigate potential reliability issues. ERCOT can also deploy Responsive Reserve and NonSpin if conditions warrant. |
|  | Performance/Compliance: This new process imposes new requirements on WGRs. The requirements are clear and enforceable. |
|  | Cost Allocation: No cost allocation issues. |
| Strategy | Develop a workable solution for the Zonal market which does not require system changes. The issue should be fully resolved with Nodal market implementation. Require all WGRs to update their resource plan every hour using the best available forecast. |
| Activities | ERCOT: Monitor the accuracy of WGR forecasts as needed. |
|  | Market Participants: WGR QSEs changed procedures to ensure Resource Plans are updated hourly. |
| Follow-Up | None. PRR 812 is deemed an adequate solution for the remainder of the Zonal market. This issue is resolved by the Nodal market design. |
| Schedule | This issue is closed. PRR 812 was approved on Sept. 15, 2009. |

| ET-013-SO-004 – Smart Grid Implications for Renewable Resources – Determine how development of a "smart grid" might benefit and improve integration of renewable resources into the ERCOT grid. Specifically, determine if there are new technical capabilities associated with electronic metering and monitoring systems that would allow higher penetration of renewable resources, particularly at the customer (i.e., distribution) level. |  |
| --- | --- |
| Priority | Low |
| Considerations | Policy: This issue might involve policy considerations depending on the type and level of “smart grid” deployment. |
|  | Reliability: This issue involves reliability considerations, particularly if it encourages deployment of additional renewable resources at or near a customer’s premises. |
|  | Technical: This issue involves the technical feasibility considerations associated with deployment of a “smart grid” and its associated hardware and software. |
|  | Market Design: This issue may impact market design because as the penetration of renewables and smart technologies change the composition of the market changes. This could lead to changes in market design, including changes to the structure of the Ancillary Service markets. |
|  | Performance/Compliance: This issue includes performance or compliance considerations, particularly if new generation resources are connected at the distribution level. |
|  | Cost Allocation: This issue does not directly involve cost allocation considerations. |
| Strategy | Examine hardware and software capabilities of electronic metering equipment and other electronically-controlled devices associated with a “smart grid” deployment to determine if they will benefit integration of additional renewable generation resources, particularly at the distribution voltage level. |
| Activities | ERCOT: Assist market participants in the preparation of a whitepaper examining the various technologies associated with deployment of “smart grid” technology in ERCOT. |
|  | Market Participants: Prepare a whitepaper examining the various technologies associated with deployment of a “smart grid” and assess the capability of such technologies to improve or enhance integration of additional renewable generation technologies. |
| Follow-Up | If the concepts presented in the final whitepaper gain market acceptance, then individual market participants should follow-up with appropriate changes in the ERCOT Protocols and/or Operating Guides to facilitate the deployment of “smart grid” technology in the ERCOT market. |
| Schedule | Topics for whitepaper are under discussion at RTWG; a draft whitepaper should be available for review by the end of 2010. |

| ET-014-SO-005 Operational Studies Related to Wind-powered Generation: This issue is essentially a follow up to the GE Ancillary Services study. ERCOT now has a growing data base of actual wind-power operations at a significant level of penetration. Using that data base, a new studies should use actual data rather than assumed data to evaluate the need for new ancillary services or operational procedures. Key areas for further study might include evaluation of actual WGR ramping history, and evaluation of particular operational scenarios, such as high wind penetration during low load conditions. The objective of the studies is to further refine operational tools to manage further increases in installed wind capacity. |  |
| --- | --- |
| Priority | Low |
| Considerations | Policy: None |
|  | Reliability: As additional wind-power is added to ERCOT, there may be new and unfamiliar operating situations. Anticipating and studying those situations can prepare ERCOT staff to handle the situations reliably. |
|  | Technical: There may be some issues in how WGRs can provide reliability services. |
|  | Market: There could be a large market impact if operational needs are not investigated ahead of time to determine the most effective methods of ensuring system reliability. |
|  | Performance/Compliance: There may be new operational requirements or new services that are defined which need follow up to establish Performance/Compliance requirements. |
|  | Cost Allocation: No |
| Strategy | ERCOT has initiated a variety of much needed studies having to do with stability, voltage control, ancillary services, and voltage ride through. It is critical that ERCOT continue to anticipate and study future operational issues in order to avoid entering an unfamiliar operating situation unprepared. ERCOT should consider performing an follow-up to the GE Ancillary Services study using actual WGR data with an emphasis on fleshing out any operational procedures and resource changes that may be needed. |
| Activities | ERCOT: ERCOT should exercise a leadership role in the effort to determine needed studies and identify the study resources. |
|  | Market Participants: As appropriate, the stakeholder process support ERCOT study efforts and facilitate market participant engagement in identifying needed studies and providing input on study scope. |
| Follow-Up | The results of the studies will dictate any follow up that is needed. Possible outcomes include new procedures, mechanisms for WGRs to provide regulation, or modifications to ancillary service market design. |
| Schedule | The need for this update is not immediate. Operational data from the Nodal market may be required for a meaningful study. The updated study and some of the follow up should be completed before the completion of CREZ Plan construction at the end of 2013, at which time it can be anticipated that installed WGR capacity will exceed 15,000 MW (the installed WGR capacity level abalyzed in the GE study). |

6.  References and Additional Resources

DISTRIBUTED GENERATION

Anderson, K. et al., Interconnecting PV on New York City’s Secondary Network Distribution System, National Renewable Energy Laboratory, NREL/TP-7A2-46902, November 2009.  At http://www.nrel.gov/docs/fy10osti/46902.pdf.

Basso. T.S., System Impacts from Interconnection of Distributed Resources: Current Status and Identification of Needs for Further Development, National Renewable Energy Laboratory, NREL/TP-550-44727, January 2009.  At http://www.nrel.gov/docs/fy09osti/44727.pdf.

Campbell, J. B., T. J. King, B. Ozpineci, D. T. Rizy, L. M. Tolbert, Y. Xu and X. Yu, Ancillary Services Provided From DER, Oak Ridge National Laboratory, ORNL/TM-2005/263, December 2005.  At http://www.ornl.gov/sci/engineering_science_technology/cooling_heating_power/pdf/reactive%20power%20report_ORNL_TM_2005_263.pdf.

Electric Power Research Institute, Concepts to Enable Advancement of Distributed Energy Resources, 1020432, EPRI, Palo Alto, CA:  February 2010.  At www.smartgridnews.com/.../EPRI_1020432ConceptsAdvancementDER.pdf.

Marney, Chris, Ryan M. Firestone, Judy Lai and Giri Venkataramanan, Microgrids for Commercial Building Combined Heat and Power and Power and Heterogeneous Power Quality and Reliability, Lawrence Berkeley National Laboratory, LBNL-63520, October 2007.  At http://eetd.lbl.gov/ea/emp/reports/63520.pdf.

Marnay, Chris, Microgrids and Heterogeneous Power Quality and Reliability: Matching the

Quality of Delivered Electricity to End-Use Requirements, Lawrence Berkeley National Laboratory, LBNL-63524, October 2007.  At http://eetd.lbl.gov/ea/ems/reports/LBNL-777E.pdf.

National Energy Technology Laboratories, Backup Generators (BUGS):  The Next Smart Grid Peak Resource, DOE/NETL-2010/1406, April 15, 2010.  At http://www.netl.doe.gov/smartgrid/referenceshelf/whitepapers/BUGS_The%20Next%20Smart%20Grid%20Peak%20Resource%20(April%202010).pdf.

Shipley, Anna, Anne Hampson, Bruce Hedman, Patti Garland and Paul Bautista, Combined Heat and Power:  Effective Energy Solutions for a Sustainable Future, Oak Ridge National Laboratory, ORNL/TM-2008/224, December 1, 2008.  At http://www1.eere.energy.gov/industry/distributedenergy/pdfs/chp_report_12-08.pdf.

Ton, Dan T., Charles J. Hanley, Georgianne H. Peek and John D. Boyes, Solar Energy Grid Integration Systems–Energy Storage (SEGIS-ES), Sandia National Laboratory, SAND2008-7247, July 2008.  At http://www1.eere.energy.gov/solar/pdfs/segis-es_concept_paper.pdf.

Whitaker, Chuck, Jeff Newmiller, Michael Ropp and Benn Norris, Distributed Photovoltaic Systems Design and Technology Requirements, Sandia National Laboratories, SAND2008-0946 P, February 2008. At http://www1.eere.energy.gov/solar/pdfs/distributed_pv_system_design.pdf.

ELECTRIC VEHICLES

Electric Power Research Institute, Environmental Assessment of Plug-In Hybrid Electric Vehicles, 1015325, EPRI, Palo Alto, CA:  July 2007.  At http://mydocs.epri.com/docs/public/000000000001015325.pdf.

Galus, Matthias D. and Goran Andersson, “Demand Management of Grid Connected Plug-In Hybrid Electric Vehicles (PHEV),” Energy 2030 Conference, November 17-18, 2008, pp. 1-8.

Hadley, Stanton W. Hadley Alexandra Tsvetkova, Potential Impacts of Plug-in Hybrid Electric Vehicles on Regional Power Generation, Oak Ridge National Laboratory, ORNL/TM-2007/150, January 2008.  At http://apps.ornl.gov/~pts/prod/pubs/ldoc7922_regional_phev_analysis.pdf.

KEMA, Assessment of Plug-in Electric Vehicle Integration with ISO/RTO Systems, ISO/RTO Council, March 2010.  At http://projectgetready.com/docs/IRC_Report_Assessment_of_Plug-in_Electric_Vehicle_Integration_with_ISO-RTO_Systems_03232010.pdf.

Kempton, W. and Jasna Tomić, “Vehicle-to-Grid Power Implementation: From Stabilizing the Grid to Supporting Large-Scale Renewable Energy.” Journal of Power Sources, December 8, 2004.  At:  http://www.udel.edu/V2G/KempTom-V2GImplementation05.PDF.

Kromer, Matthew A. and John B. Heywood, Electric Powertrains: Opportunities and Challenges in the U.S. Light-Duty Vehicle Fleet, Massachusetts Institute of Technology , LFEE 2007-03 RP, May 2007.  At http://wiki.greenneedham.org/gnc/images/b/b9/MIT_ElectricDrivetrains.pdf.

NYISO, Alternate Route:  Electrifying the Transportation Sector:  Potential Impacts of Plug-In Hybrid Electric Vehicles on New York State’s Electricity System, June 2009.  At www.nyiso.com/.../Alternate_Route_NYISO_PHEV_Paper_062909.pdf.

Peterson, Scott, Jay Whitacre and Jay Apt, The Economics of Using PHEV Battery Packs for

Grid Storage, Carnegie Mellon Electricity Industry Center, CEIC09-03, March 2009.  At https://wpweb2.tepper.cmu.edu/ceic/PDFS/CEIC_09_03_teo.pdf.

Samaraas, Constantine and Kyle Meisterling, “Life Cycle Assessment of Greenhouse Gas Emissions from Plug-in Hybrid Vehicles: Implications for Policy,” Environmental Science & Technology, 42(9), 2008, pp. 3170-3176.  At http://solar.gwu.edu/index_files/Resources_files/LCA_for_PHEVs.pdf.

Sovacool, Benjamin K. and Richard F. Hirsh, ’Beyond Batteries: An Examination of the Benefits and Barriers to Plug-in Hybrid Electric Vehicles (PHEVs) and a Vehicle-to-Grid (V2G) Transition, Energy Policy 37 (2009):  1095–1103.

INTEGRATING RENEWABLE ENERGY

Bebic, J., Power System Planning: Emerging Practices Suitable for Evaluating the Impact of High-Penetration Photovoltaics, National Renewable Energy Laboratory, NREL/SR-581-42297, February 2008.  At  http://www1.eere.energy.gov/solar/pdfs/42297.pdf.

Black and Veatch, 20 Percent Wind Energy Penetration in the United States, American Wind Energy Association, October 2007.  At http://dnr.wi.gov/environmentprotect/gtfgw/documents/Black_Veatch_20_Percent_Report.pdf.

Charles River Associates, SPP WITF Wind Integration Study, January 4, 2010.  At http://www.spp.org/section.asp?group=1385&pageID=27.

DeCesaro, Jennifer and Kevin Porter, Wind Energy and Power System Operations: A Review of Wind Integration Studies to Date, National Renewable Energy Laboratory, NREL/SR-550-47256, December 2009.  At http://digitalcommons.library.unlv.edu/cgi/viewcontent.cgi?article=1017&context=renew_pubs.

Department of Energy, Energy Efficiency and Renewable Energy, 20% Wind Energy by 2030

Increasing Wind Energy’s Contribution to U.S. Electricity Supply DOE/GO-102008-2567, July 2008.  At http://www1.eere.energy.gov/windandhydro/pdfs/41869.pdf.

Enernex Corporation, Eastern Wind Integration and Transmission Study, The National Renewable Energy Laboratory, January 2010.  At http://www.nrel.gov/wind/systemsintegration/ewits.html.

GE Energy, Western Wind and Solar Integration Study, National Renewable Energy Laboratory, NREL/SR-550-47434, May 2010.  At http://www.nrel.gov/wind/systemsintegration/wwsis.html.

ISO/RTO Council, Variable Energy Resources, System Operations and Wholesale Markets, Response to The Federal Energy Regulatory Commission’s Notice of Inquiry on Integration of Variable Energy Resources (Docket No. RM10-11-000), April 12, 2010.

KEMA, Research Evaluation of Wind Generation, Solar Generation, and Storage Impact on the California Grid, California Energy Commission, CEC-500-2010-010, June 2010.  At http://www.energy.ca.gov/2010publications/CEC-500-2010-010/CEC-500-2010-010.PDF.

Kirby, B. and M. Milligan, Examination of Capacity and Ramping Impacts of Wind Energy on Power Systems, National Renewable Energy Laboratory, NREL/TP-500-42872, July 2008.   At http://www.nrel.gov/docs/fy08osti/42872.pdf.

Komor, Paul, Wind and Solar Electricity:  Challenges and Opportunities, Pew Center on Global Climate Change, June 2009.  At http://www.pewclimate.org/publications/report/wind-and-solar-electricity-challenges-and-opportunities.

Makarov, Y.V., et al., Wide-Area Energy Storage and Management System to Balance Intermittent Resources in the Bonneville Administration and California ISO Control Areas, Pacific Northwest Laboratory,  PNNL-, June 2008.  At http://www.electricitystorage.org/images/uploads/docs/Wide_Area_EMS_Report_V7.pdf.

Milligan, M. et al., Large-Scale Wind Integration Studies in the United States: Preliminary Results, National Renewable Energy Laboratory, NREL/CP-550-46527, September 2009.  At

http://www.nrel.gov/wind/systemsintegration/pdfs/2009/milligan_large_integration_studies.pdf.

Mills, Andrew, Ryan Wiser, and Kevin Porter, The Cost of Transmission for Wind Energy: A Review of Transmission Planning Studies, Lawrence Berkeley National Laboratory, LBNL-1471E, February 2009.  At http://eetd.lbl.gov/ea/emp/reports/lbnl-1471e.pdf.

North American Electric Reliability Corporation, Accommodating High Levels of Variable Generation, April 16, 2009. At http://www.nerc.com/files/IVGTF_Report_041609.pdf.

NYISO, Integration of Wind into System Dispatch, October 2008.  At www.nyiso.com/.../wind_management_whitepaper_11202008.pdf.

Parsons, B. et al., Grid Impacts of Wind Power Variability: Recent Assessments from a Variety of Utilities in the United States, National Renewable Energy Laboratory, NREL/CP-500-39955, July 2006.   At www.nrel.gov/docs/fy06osti/39955.pdf.

Porter, Kevin, Porter, K. and Intermittency Analysis Project Team, Intermittency Analysis Project:  Summary of Final Results. California Energy Commission, PIER Research Development & Demonstration Program. CEC‐500‐2007‐081. July 2007. At  http://www.energy.ca.gov/2007publications/CEC-500-2007-081/CEC-500-2007-081.PDF.

Porter, K, S. Fink, C. Mudd and J. DeCesaro, Generation Interconnection Policies and Wind Power: A Discussion of Issues, Problems, and Potential Solutions, National Renewable Energy Laboratory, NREL/SR-550-44508, January 2009.  At www.nrel.gov/wind/systemsintegration/.../porter_interconnection_policies.

Vajjhala, Shalini, Anthony Paul, Richard Sweeney, and Karen Palmer, Green Corridors: Linking Interregional Transmission Expansion and Renewable Energy Policies, Resource for the Future, RFF DP 08-06, March 2008.  At http://www.rff.org/documents/RFF-DP-08-06.pdf.

SMART GRID TECHNOLOGY

Bonneville Power Administration, Transmission Technology Road Map, September 2006.  At http://www.bpa.gov/corporate/business/innovation/docs/2006/rm-06_transmission.pdf.

Brattle Group, “Quantifying the Benefits of Dynamic Pricing in the Mass Market.” Edison Electric Institute, January 2008.  At

http://www.eei.org/ourissues/electricitydistribution/Documents/quantifying_benefits_final.pdf.

Brockway, Nancy, Advanced Metering Infrastructure: What Regulators Need to Know About Its Value to Residential Customers, National Regulatory Research Institute, February 13, 2008.  At http://sites.energetics.com/MADRI/toolbox/pdfs/vision/Brockway_on_AMI.pdf.

Electricity Advisory Committee, Smart Grid: Enabler of the New Energy Economy, December 2008. At http://www.oe.energy.gov/eac.htm.

Electric Power Research Institute, Characterizing and Quantifying the Societal Benefits Attributable to Smart Metering Investments, 1017006, EPRI, Palo Alto, CA:  July 2008.  At http://www.smartgridnews.com/artman/uploads/1/001017006.pdf.

Electric Power Research Institute,  Integrating New and Emerging Technologies into the California Smart Grid Infrastructure:  A Report on a Smart Grid for California, California Energy Commission, CEC-500-2008-047, September 2008.

Electric Power Research Institute, Sensor Technologies for a Smart Transmission System, EPRI White Paper, December 2009.  At http://www.smartgridnews.com/artman/uploads/1/1020619SensorsSmartTransmission1-2010_1_.pdf.

Federal Energy Regulatory Commission, 2008 Assessment of Demand Response and Advanced Metering Staff Report, December 2008

Federal Energy Regulatory Commission, A National Assessment of Demand Response Potential, June 2009.

Gordon, Kenneth, Wayne P. Olson and Amparo D. Nieto, Responding to EPAct 2005:  Looking at Smart Meters for Electricity, Time-Based Rate Structures, and Net Metering, Edison Electric Institute, May 2006.

ISO New England, Overview of the Smart Grid: Policies, Initiatives, and Needs, February 17, 2009. At http://www.iso-ne.com/pubs/whtpprs/smart_grid_report_021709_final.pdf.

Jiang, Zhenhua et al., A Vision of Smart Transmission Grids, Power & Energy Society General Meeting, Calgary, July 26-30, 2009.

National Energy Technology Laboratory, The Transmission Smart Grid Imperative, September 2009.  At http://www.netl.doe.gov/smartgrid/referenceshelf/whitepapers/The%20Transmission%20Smart%20Grid%20Imperative_2009_09_29.pdf.

National Energy Technology Laboratory, A Compendium of Smart Grid Technologies, July 2009.  At http://www.netl.doe.gov/smartgrid/referenceshelf/whitepapers/Compendium_of_Technologies_APPROVED_2009_08_18.pdf.

Office of the National Coordinator for Smart Grid Interoperability, NIST Framework and Roadmap for Smart Grid Interoperability Standards,  Release 1.0, Department of Commerce, National Institute of Standards and Technology, January 2010.  At http://www.nist.gov/public_affairs/releases/upload/smartgrid_interoperability_final.pdf.

Parks, Raymond C., Advanced Metering Infrastructure Security Considerations, Sandia Report, SAND2007-7327, November 2007.  At http://www.sandia.gov/ccss/documents/Parks-2007-7327.pdf.

Power Systems Engineering Research Center, U.S. Energy Infrastructure Investment:

Large-Scale Integrated Smart Grid Solutions with High Penetration of Renewable Resources, Dispersed Generation, and Customer Participation, PSERC Publication 09‐01, March 2009.  At http://www.pserc.org/ecow/get/publicatio/2009public/pserc_smart_grid_white_paper_march_2009_adobe7.pdf.

Pratt, RG et al, The Smart Grid: An Estimation of the Energy and CO2 Benefits, Pacific Northwest National Laboratory, PNNL-19112, January 2010.  At http://www.pnl.gov/main/publications/external/technical_reports/PNNL-19112.pdf.

U.S. Demand Response Coordinating Committee, Demand Response and Smart Metering Policy Actions Since the Energy Policy Act of 2005:  A Summary for State Officials, National Council on Electricity Policy, Fall 2008.  At http://www.smartgridnews.com/artman/uploads/1/SGNR_2009_DR_and_SM_Policy_Actions_Fall_2008.pdf.

U.S. Department of Energy, Smart Grid System Report, July 2009.  At www.oe.energy.gov/DocumentsandMedia/SGSRMain_090707_lowres.pdf.

Willrich, Mason, Electricity Transmission Policy for America:  Enabling a Smart Grid, End-to-End, MIT-IPC-Energy Innovation Working Paper 09-003, July 2009.  At http://web.mit.edu/ipc/research/energy/pdf/EIP_09-003.pdf.

STORAGE

Baker, James, “New Technology and Possible Advances in Energy Storage,” Energy Policy, December 2008, pp. 4368-4373.

Connolly, David, A Review of Energy Storage Technologies For the integration of fluctuating renewable energy, University of Limerick, August 17, 2009.

Denholm, Paul, Erik Ela, Brendan Kirby, and Michael Milligan, The Role of Energy Storage with Renewable Electricity Generation, National Renewable Energy Laboratory, NREL/TP-6A2-47187, January 2010.  At http://www.nrel.gov/analysis/pdfs/47187.pdf.

Electric Power Research Institute, Energy Storage and Distributed Generation Technologies:  Real Options Valuation/Benefit Case Studies, 1010746, EPRI, Palo Alto, CA: March 2006.  At

Electric Power Research Institute, Compressed Air Energy Storage Scoping Study for California, Prepared for the California Energy Commission, CEC-500-2008-069, November 2008.

EPRI-DOE Handbook of Energy Storage for Transmission and Distribution Applications, 10018346, EPRI, Palo Alto, CA:  December 2003.

Electricity Advisory Committee, Bottling Electricity: Storage as a Strategic Tool for Managing Variability and Capacity Concerns in the Modern Grid, December 2008.  At http://www.oe.energy.gov/eac.htm.

Eyer, Jim, Joe Iannucci, and Paul C. Butler, Estimating Electricity Storage Power Rating and Discharge Duration for Utility Transmission and Distribution Deferral, Sandia National Laboratories, SAND 2005-7069, November 2005.  At http://prod.sandia.gov/techlib/access-control.cgi/2005/057069.pdf.

Eyer, Jim, Benefits from Flywheel Energy Storage for Area Regulation in California—Demonstration Results, Sandia National Laboratories, SAND 2009-6547, October 2009.  At http://prod.sandia.gov/techlib/access-control.cgi/2009/096457.pdf

Eyer, Jim and Garth Corey, Energy Storage for the Electricity Grid:  Benefits and Market Potential Assessment Guide, Sandia National Laboratories, SAND 2010-0815, February 2010.

Guerrero, M.A., E. Romero, F. Barrero, M. I. Milanés and E. González, “Overview of Medium Scale Energy Storage Systems,” Compatibility and Power Electronics, 2009, CPE '09, May 20-22, 2009.

Jiang, W., D.W. Winiarski, S. Katipamula and P.R. Armstrong, Cost-Effective Integration of Efficient Low-Lift Base-Load Cooling Equipment, Pacific Northwest Laboratory,  PNNL-17157, December 2007.  At http://www.pnl.gov/main/publications/external/technical_reports/PNNL-17157.pdf.

KEMA, Emissions Comparison for a 20 MW Flywheel-based Frequency Regulation Power Plant, January 8, 2007.  At http://www.electricitystorage.org/images/uploads/docs/KEMA-CO2_Reduction.pdf.

KEMA, Cost Comparison for a 20 MW Flywheel-based Frequency Regulation Power Plant, September 2007.  At http://www.beaconpower.com/files/KEMA_Report_Cost_Comparisons_Nov%202007.pdf.

Norris, Benjamin L., Jeff Newmiller and Georgianne Peek, NAS® Battery Demonstration at

American Electric Power, Sandia National Laboratories, SAND2006-6740, March 2007.  At http://prod.sandia.gov/techlib/access-control.cgi/2006/066740.pdf.

Nourai, Ali, V. I. Kogan and Chris M. Schafer, “Load Leveling Reduces T&D Line Losses,” IEEE Transactions on Power Delivery, 23(4) October 2008, pp. 2168-2173.

Manz, D., O. Schelenz, R. Chandra, S. Bose, M. de Rooij and J. Bebic, Enhanced Reliability of Photovoltaic Systems with Energy Storage and Controls, National Renewable Energy Laboratory, NREL/SR-581-42299, February 2008.  At http://www1.eere.energy.gov/solar/pdfs/42299.pdf.

Nourai, Ali, Installation of the First Distributed Energy Storage System (DESS) at American Electric Power (AEP), Sandia National Laboratories, SAND2007-3580, June 2007.  At http://www.electricitystorage.org/images/uploads/docs/Sandia_First_Storage_AEP.pdf.

NYSERDA, Guide to Estimating Benefits and Market Potential for Electricity Storage in New York (With Emphasis on New York City), Final Report 07-06, March 2007.  At http://www.nyserda.org/publications/8723_DUA_NYSERDAStorage_Report2.pdf.

NYSERDA, Mini-Compressed Air Energy Storage for Transmission Congestion Relief and Wind Shaping Applications, Final Report 08-05, July 2008.

NYSERDA, Grid Frequency Regulation by Recycling Electric Energy In Flywheels, Final Report 08-06, July 2008.

NYSERDA, Compressed Air Energy Storage:  Engineering and Economic Study, Final Report 10-09, December 2009.  At http://www.nyserda.org/publications/10-09_compressed_air_energy_storage.pdf.

Peterson, Scott, Jay Apt and Jay Whitacre, Lithium-Ion Battery Cell Degradation Resulting from Realistic Vehicle and Vehicle-to-Grid Utilization, Carnegie Mellon Electricity Industry Center Working Paper CEIC-09-0.

Rounds, Robert and Georgianne H. Peck, Design and Development of a 20-MW Flywheel-based Frequency Regulation Power Plant, Sandia National Laboratories, SAND2008-8229. January 2009.

S Schoenung, Susan M. and William Hassenzahl, Long vs. Short-Term Energy Storage:

Sensitivity Analysis, Sandia National Laboratories, SAND2007-4253, July 2007.  At

Schoenung, Susan M. and Jim Eyer, Benefit/Cost Framework for Evaluating Modular Energy Storage, Sandia National Laboratories, SAND2008-0978, February 2008.  At http://prod.sandia.gov/techlib/access-control.cgi/2008/080978.pdf.

Sioshansi, Ramteen, Paul Denholm, Thomas Jenkin and Jurgen Weiss, “Estimating the value of electricity storage in PJM: Arbitrage and Some Welfare Effects,” Energy Economics 31 (2009) 269–277.

Sioshansia, Ramteen, Paul Denholm and Thomas Jenkin, “A Comparative Analysis of the Value of Pure and Hybrid Electricity Storage,” submitted to Energy Economics, March 11, 2010.  At http://iwse.osu.edu/isefaculty/sioshansi/papers/ps_caes.pdf.

Succar, Samir and Robert H. Williams, Compressed Air Energy Storage:  Theory, Resources,

And Applications For Wind Power, Princeton Environmental Institute, April 8, 2008.  At http://www.princeton.edu/~ssuccar/caesReport.html.

Sullivan, Patrick, Walter Short, and Nate Blair, Modeling the Benefits of Storage Technologies to Wind Power, National Renewable Energy Laboratory, NREL/CP-670-43510, Presented at the American Wind Energy Association (AWEA) WindPower 2008 Conference Houston, Texas

June 1–4, 2008.  At http://www.nrel.gov/analysis/pdfs/43510.pdf.

Walawalkar, Rahul and Jay Apt, Market Analysis of Emerging Electric Energy Storage Systems, DOE/NETL-2008/1330, July 31, 2008.  At http://www.netl.doe.gov/energy-analyses/pubs/Final%20Report-Market%20Analysis%20of%20Emerging%20Electric%20Energy%20Sto.pdf

Xu, P. and L. Zagreus, Demand Shifting with Thermal Mass in Light and Heavy Mass Commercial Buildings, Lawrence Berkeley National Laboratory, LBNL-2301E, Presented at the

2009 ASHRAE Annual Conference, Louisville, KY, June 20-24, 2009.

Title II, Texas Utilities Code, Public Utility Regulatory Act (PURA), §39.151(a)(1) requires an independent organization to “ensure access to the transmission and distribution systems for all buyers and sellers of electricity on nondiscriminatory terms.”

e.g., PURA §§39.904(a) and (g), 39.905(d)(11), 39.9053, 39.911, 39.914, 39.916.

PURA § 39.001(4)(d) directs regulatory authorities to “authorize or order competitive rather than regulatory methods to achieve the goals of this chapter to the greatest extent feasible,” and, “adopt rules and issue orders that are both practical and limited so as to impose the least impact on competition.”

PURA 39.904(a). The original Goal for Renewable Energy established in 1999 required 2,000 MW of new generation capacity from renewable energy technologies be installed in Texas by Jan. 1, 2009.  The goal was met in early 2006.  In 2005, the Legislature increased the goal to 5,000 MW of new renewable capacity by Jan. 1, 2015 and also established a target of 10,000 MW of renewable capacity, including 500 MW from non-wind resources, by Jan. 1, 2025.  The 5,000 MW goal was met in 2008 and the 10,000 MW target for renewable capacity in Texas was achieved in June 2010, more than 14 years ahead of schedule.  However, at this time Texas has not achieved the target to install at least 500 MW of new non-wind renewable technologies.

Staff’s Petition for Designation of Competitive Renewable Energy Zones, Public Utility Commission of Texas Docket No. 33672, Order on Rehearing, Oct. 7, 2008. The Commission selected 6 “zones” and ordered numerous major transmission system improvements to deliver renewable energy from the designated renewable energy zones to customers. The Commission estimated the ordered transmission system improvements could accommodate 18,456 MW of generation capacity.

WInd Workshop I presentations may be found at the following url: XXXXXXXXXXXXXXXXXXXXXXX.

cite ERCOT EECP Report for Feb 26 event with url cite

See p. XX for the complete list of approved PRRs, NPPRs, and OGRRs related to wind integration issues.

cite EPAct92 and ARRA extension

cite ERCOT May 2009 study with summary

For examples, see issues SP-001, SP-002, SP-009, and SP-013.

For examples, see issues SP-004, SP-005, SP-008, SP-010, and SP-011.

For examples, see issues SO-008, SP-010, and SP-011.

For examples, see issues SO-001, SO-005, SO-020, SO-026, SO-032, and SO-033.

For examples, see issues SO-002, SO-003, SO-007, SO-008, SO-016, SO-025, SO-027, MD-003, MD-004, MD-006, MD-007, and MD-009.

For examples, see issues SO-003, SO-007, SO-008, SO-016, MD-003, MD-004, and MD-007.

For examples, see issues SP-005, SO-003, SO-007, SO-008, SO-016, SO-021, SO-025, SO-026, MD-004, MD-007, and WT-011

For examples, see issues SP-010, SO-002, SO-025, MD-001, MD-002, MD-003, MD-004, MD-006, MD-007, MD-008, and WT-008.

For examples, see issues SP-003, SP-004, SP-007, SP-008, SO-010, SO-012, SO-015, and MD-008.

For examples, see issues SO-002, SO-005, SO-014, SO-018, SO-032, SO-033, and MD-013.

For examples, see issues SO-002, SO-035, and WT-011.

For examples, see issues SP-005, SP-010, SO-004, SO-010, SO-026, and MD-005, WT-001, WT-003, WT-005, WT-007, WT-009, and WT-010.

For examples, see issues SP-006, SO-011, and SO-013.

For examples, see issues SP-010, SO-002, SO-025, MD-001, MD-002, MD-003, MD-004, MD-006, MD-007, MD-008, MD-009, MD-010, MD-011, and WT-008.

For example, see issue SO-013.

cite TAC Report to BoD, date, p. XX. url

cite TAC Report to BoD, date, p. XX. url

PUCT Docket No. 33672 Order on Rehearing, Oct. 7, 2008, Ordering Paragraph No. 7, p.50.  “ERCOT is directed to study, in association with market participants, the system reliability and stability issues implicated by increased wind generation, particularly wind generation that is geographically concentrated, and report the status of these studies to the Commission at least quarterly through a committee or task force as designated by ERCOT.”

Previous quarterly reports to the PUCT can be found in Project No. 34577.

cite url for EPRI study materials (Howard Daniels)