| NPRR Number | 219 | NPRR Title | Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | September 23, 2010 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities 3.3.2.1, Information to Be Provided to ERCOT 6.3.2, Activities for Real-Time Operations |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) will require the Resource Entity to designate a Transmission Service Provider (TSP) as the responsible Entity that will manage Outage Scheduler entries for the Resource Entity for Transmission Elements owned by the Resource other than the Outage of the Generation or Load Resource itself. This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the Market Information System (MIS). |  |  |
| Reason for Revision |  | This change conforms the Nodal Protocols to the as-built Nodal system. |  |  |
| Overall Market Benefit |  | Alignment of the Nodal Protocols with the as-built Nodal system. |  |  |
| Overall Market Impact |  | Unknown. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 3/24/10, NPRR219, the CEO Revision Request Review, and Impact Analysis were posted. - On 3/31/10, Luminant Energy comments were posted. - On 4/22/10, PRS considered NPRR219. - On 5/17/10, Market Participant Workshop comments were posted. - On 5/18/10, TIEC comments were posted. - On 5/20/10, PRS again considered NPRR219. - On 6/16/10, ERCOT comments were posted. - On 6/17/10, PRS again considered NPRR219. - On 7/12/10, CenterPoint Energy comments were posted. - On 7/22/10, PRS again considered NPRR219. - On 8/18/10, a second set of TIEC comments were posted. - On 8/19/10, PRS again considered NPRR219. - On 9/16/10, a second set of ERCOT comments were posted. - On 9/21/10, ROS comments were posted. - On 9/22/10, LCRA comments were posted. - On 9/22/10, a third set of TIEC comments were posted. - On 9/23/10, PRS again considered NPRR219. |  |  |
| PRS Decision |  | On 4/22/10, PRS unanimously voted to table NPRR219. All Market Segments were present for the vote. On 5/20/10, PRS unanimously voted to table NPRR219. All Market Segments were present for the vote. On 6/17/10, PRS unanimously voted to table NPRR219. All Market Segments were present for the vote. On 7/22/10, PRS unanimously voted to table NPRR219. All Market Segments were present for the vote. On 8/19/10, PRS unanimously voted to table NPRR219 for one month. The Independent Power Marketer (IPM) Market Segment was not present for the vote. On 9/23/10, PRS unanimously voted to table NPRR219 until the 10/4/10 Special PRS meeting. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 4/22/10, there was discussion regarding the Market Participant Workshop held for NPRR219. Comments will be submitted for the language revisions made at the workshop. A Market Participant stated that Texas Regional Entity (TRE) is in the process of reviewing and registering Entities with transmission elements that could potentially have an impact. On 5/20/10, NPRR219 and NPRR238, Resolution of Alignment Item A47, A59, A104, A105, A114, A115, A130, A188, and A189 - Provides Clarification and Updates to Network Operations Model Processes for Resource Entities, both have revisions to Section 3.3.2.1, Information to Be Provided to ERCOT. A request was made to table NPRR219 and NPRR238 to allow for review of the Section 3.3.2.1 and possibly merge the revisions. It was noted that a decision on NPRR146, ICCP Telemetry Information Submittals, would affect NPRR219 and NPRR238 and removing the seven day switch capability should be considered. On 6/17/10, Market Participants agreed to table NPRR219 to provide additional time to review the 6/16/10 ERCOT comments and to determine if there are implications associated with adding the language regarding Private Use Networks. On 7/22/10, Market Participants agreed to table NPRR219 to allow ERCOT to submit a Nodal Operating Guide Revision Request (NOGRR) to address concerns regarding the reports on Outages. On 8/19/10, ERCOT Staff requested NPRR219 be tabled to allow additional time to review the 8/18/10 TIEC comments. ERCOT Staff also stated that comments would be filed to remove additional Outage reporting requirements. On 9/23/10, additional time was requested to address concerns raised in the 9/16/10 ROS comments and to review proposed changes in the 9/22/10 TIEC comments. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Unknown. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Alignment of Nodal Protocols with the as-built Nodal system. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Bill Blevins |
| E-mail Address | bblevins@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6691 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant Energy 033110 | Offered clarifying language that only the TSP that currently serves the Resource be allowed to submit status changes through the Outage Scheduler on transmission-related equipment on behalf of the Resource Entity. Clarified the definition of Outage. |
| Market Participant Workshop 051720 | Proposed revisions to align the “as designed” Outage Scheduler with the Nodal Protocols and to restore and grey-box the original language that allowed Resource owners to submit transmission equipment Outages for equipment they owned so that ERCOT can incorporate into the Nodal systems post Nodal go-live. |
| TIEC 051810 | Proposed revisions to the 5/17/10 NPRR219 Market Participant Workshop comments to exempt Transmission Facilities and unregistered generation within a Private Use Network from the Outage reporting requirements. |
| ERCOT 061610 | Incorporated the revisions proposed to Section 3.3.2.1 by NPRR238 into NPRR219 and addressed the 5/18/10 TIEC comments. Proposed additional revisions to provide clarification of the posting timing for Security-Constrained Economic Dispatch (SCED) Shadow Prices and binding constraints. |
| CenterPoint Energy 071210 | Proposed changes, in addition to those proposed by 6/16/10 ERCOT comments, to add the requirement for Resource Entities and Private Use Networks to submit information in certain portions of the language. |
| TIEC 081810 | Proposed changes to limit Outage reporting to Transmission Facilities and to exclude Private Use Networks. |
| ERCOT 091610 | Proposed removing planned vs. actual monthly and annual transmission Outage statistics from reporting and grey-boxing posting of Transmission Outage statistical reports. |
| ROS 092110 | Believed there is a conflict of Outage Scheduler responsibilities between ERCOT and the North American Electric Reliability Corporation (NERC) registration and federal Reliability Standards. |
| LCRA 092210 | Proposed additional language revisions so that TSPs are not required to enter Outage information for Generation Resources when there is no explicit agreement between the parties to allocate risks and responsibilities. |
| TIEC 092210 | Proposed additional language revisions to reflect that Resource Entities, not Private Use Networks, are the Entities governed by the Protocols, and to require Resource Entities within a Private Use Network to notify ERCOT when Transmission Facilities will be added or removed at the Point of Interconnection. |

Comments

3/24/10	The proposed language in Section 6.3.2, Activities for Real-Time Operations, includes language from NPRR169, Clarify the Calculation and Posting of LMPs for the Load Zone and LMPs for each Hub, that was approved by the ERCOT Board on March 23, 2010.  The approved language is tracked under author NPRR169.

7/22/10	Please note that the following NPRRs also propose revisions to the following sections that are included within this NPRR:

- NPRR238, Resolution of Alignment Item A47, A59, A104, A105, A114, A115, A130, A188, and A189 - Provides Clarification and Updates to Network Operations Model Processes for Resource Entities

  - Section 3.3.2.1

- NPRR256, Synchronize Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards (formerly “Add Violation Language to QSE Performance Standards”)

  - Section 2.1

Proposed Protocol Language Revision

2.1 Definitions

Outage

The condition of a Transmission Facility or Resource that is part of the ERCOT Transmission Grid and defined in the ERCOT Network Operations Model that has been removed from its normal service.

3.1.5.1	ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities

(1)	A TSP shall request a Planned Outage or Maintenance Outage for any Transmission Element in the Network Operations Model that requires the Transmission Element to be removed from its normal service including Outages of equipment owned by Resource Entities who have designated the TSP to provide for entries into the Outage Scheduler on behalf of the Resource Entity.  Planned Outages or Maintenance Outages for Electrical Buses will be treated as consequentially outaged Transmission Elements.  In those cases where a TSP enters the breaker and switch statuses associated with an Electrical Bus, a downstream topology processor will evaluate the breakers and switches associated with the applicable Electrical Bus to determine if the Electrical Bus is consequentially outaged, and to thereby designate the status of the Electrical Bus.  Proposed Transmission Planned Outage or Maintenance Outage information submitted by a TSP in accordance with this Section constitutes a request for ERCOT’s approval of the Outage schedule associated with the Planned Outage or Maintenance Outage.  ERCOT is not deemed to have approved the Outage schedule associated with the Planned Outage or Maintenance Outage until ERCOT notifies the TSP of its approval under procedures adopted by ERCOT.  The TSP shall notify the Resource Entity of ERCOT’s approval of any Outages submitted on behalf of the Resource Entity and provide status updates to the Resource Entity on request.  ERCOT shall evaluate requests under Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.

(2)	ERCOT shall review and approve Planned Outages and Maintenance Outages of Transmission Facilities schedules according to Section 3.1.5.11.  ERCOT shall transmit its approvals and rejections to TSPs via the ERCOT Outage Scheduler.  Once approved, ERCOT may not withdraw its approval except under the conditions described in Section 3.1.5.7, Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities.

3.3.2.1	Information to Be Provided to ERCOT

The energization or removal of equipment in the Network Operations Model requires an entry into the Outage Scheduler by a TSP or Resource Entity.  The Resource Entity shall make entries in the Outage Scheduler for energization or Outages of Resources and shall designate a TSP, and the TSP shall provide entries into the Outage Scheduler for any energization or removal of equipment owned by the Resource Entity as so requested by the Resource Entity.  If any changes in system topology or telemetry are expected, then the TSP shall notify ERCOT per the schedule in Section 3.3.1, ERCOT Approval of New or Relocated Facilities, and shall submit a Network Operations Model Change Request (NOMCR) to include the following:

(a)	Proposed energize date;

(b)	TSP performing work;

(c)	TSP(s) responsible for rating affected transmission element(s);

(d)	Station identification code;

(e)	Identification of existing Transmission Facilities involved and new Transmission Facilities (if any) being added or existing Transmission Facilities being permanently removed from service;

(f)	Ratings of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(g)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(h)	General statement of work to be completed with intermediate progress dates and events identified;

(i)	SCADA modification work, including descriptions of the telemetry points or changes to existing telemetry, providing information on equipment being installed, changed, or monitored;

(j)	Additional data determined by ERCOT and TSP(s) as needed to complete the ERCOT model representation of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(k)	Statement of completion, including:

(i)	Statement to be made at the completion of each intermediate stage of project; and

(ii)	Statement to be made at completion of total project.

(l)	Drawings, including:

(i)	Existing status;

(ii)	Each intermediate stage; and

(iii)	Proposed final configuration.

6.3.2	Activities for Real-Time Operations

(1)	Activities for Real-Time operations begin at the end of the Adjustment Period and conclude at the close of the Operating Hour.

(2)	The following table summarizes the timeline for the Operating Period and the activities of QSEs and ERCOT during Real-Time operations where “T” represents any instant within the Operating Hour.  The table is intended to be only a general guide and not controlling language, and any conflict between this table and another section of the Protocols is controlled by the other section:

| Operating Period | QSE Activities | ERCOT Activities |
| --- | --- | --- |
| During the first hour of the Operating Period |  | Execute the Hour-Ahead Sequence, including HRUC, beginning with the second hour of the Operating Period Review and communicate HRUC commitments Snapshot the Scheduled Power Consumption for Controllable Load Resources |
| Before the start of each Security-Constrained Economic Dispatch (SCED) run | Update Output Schedules for DSRs | Validate Output Schedules for DSRs Execute Real-Time Sequence |
| SCED run |  | Execute SCED |
| During the Operating Hour | Acknowledge receipt of Dispatch Instructions Comply with Dispatch Instruction Review Resource Status to assure current state of the Resources is properly telemetered Update COP with actual Resource Status and limits and Ancillary Service Schedules Communicate Resource Forced Outages to ERCOT | Communicate all Base Points, Dispatch Instructions and LMPs for energy and Ancillary Services using Inter-Control Center Communications Protocol (ICCP) or Verbal Dispatch Instructions (VDIs) Monitor Resource Status and identify discrepancies between COP and telemetered Resource Status Restart Real-Time Sequence on major change of Resource or Transmission Element Status Monitor ERCOT total system capacity providing Ancillary Services; Validate COP information Monitor ERCOT control performance; Distribute by ICCP, and post to the MIS Public Area, the LMPs created by each SCED process for each Resource Node. These prices shall be posted immediately subsequent to deployment of Base Points from SCED with the time stamp the prices are effective Post SCED Shadow Prices, Hub LMP, Load Zone LMP, and LMPs for each Electrical Bus via the MIS Public Area. These prices shall be posted immediately subsequent to deployment of Base Points from SCED with the time stamp the prices are effective. Post on the MIS Public Area active binding transmission constraints by Transmission Element name (contingency /overloaded element pairs) via the MIS Public Area Post the Settlement Point Prices for each Settlement Point immediately following the end of each Settlement Interval Post parameters as required by Section 6.4.8, Ancillary Services Capacity During the Adjustment Period and in Real-Time, to the MIS Secure Area |

(3)	At the beginning of each hour, ERCOT shall post on the MIS Secure Area the following information:

(a)	Changes in ERCOT System conditions that could affect the security and dynamic transmission limits of the ERCOT System, including:

(i)	Changes or expected changes,  in the status of Transmission Facilities as recorded in the Outage Scheduler for the remaining hours of the current Operating Day and all hours of the next Operating Day; and

(ii)	Any conditions such as adverse weather conditions as determined from the ERCOT-designated weather service;

(b)	Updated system-wide Load forecasts;

(c)	The quantities of Reliability Must-Run (RMR) Services deployed by ERCOT for each previous hour of the current Operating Day;

(d)	Total ERCOT System Demand, from Real-Time operations, integrated over each Settlement Interval; and

(e)	Updated Electrical Bus Load distribution factors and other information necessary to forecast Electrical Bus Loads for each hour of the current Operating Day and all hours of the next Operating Day.