| NOGRR Number | 050 | NOGRR Title | Resolution of Reporting Issues Related to NPRR219 |
| --- | --- | --- | --- |
| Date Posted |  | August 11, 2010 |  |

| Nodal Operating Guide Section Requiring Revision (Include Section No. and Title) | 9.2.3, Transmission Outage Reporting |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities 3.3.2.1, Information to Be Provided to ERCOT 6.3.2, Activities for Real-Time Operations |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Urgent – The change is needed to correspond to the required changes proposed in NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings. The Nodal Protocols for Outage Scheduling will become effective on November 1, 2010, and the proposed changes for the reports should also become effective on November 1, 2010. Urgency is required due to the time constraints, in order to have both NPRR219 and these proposed changes in effect by November 1, 2010. |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) proposes revisions to remove the requirement for ERCOT to produce several reports related to Outage Scheduling from the current Nodal Operating Guide and proposes inserting those requirements as grey-box language until such time ERCOT Systems can be changed to include only the Transmission Service Provider’s (TSP’s) Outages in the reports. |
| Reason for Revision | With the proposed changes in NPRR219, a TSP will be held accountable for Outage reporting that is completely outside of the TSP’s control. In other words, a TSP will be required by the Nodal Protocols to enter Outages into the Outage Scheduler for Resource Entities and Private Use Networks and the TSP will be held accountable under the reports in the Nodal Operating Guide for the information being submitted based on the needs of the Resource Entities and Private Use Networks. |
| Overall Market Benefit | Removes the requirement for ERCOT to produce misleading and incorrect reports. |
| Overall Market Impact | None |
| Consumer Impact | None |
| Submitter Justification for Necessity Prior to the Texas Nodal Market Implementation Date | NPRR219 is required prior to the Texas Nodal Market Implementation Date so that the as-built system complies with the Protocols. Grey-boxing the requirement for the reports should be implemented at the same time as NPRR 219. |
| CEO Determination (To be completed by ERCOT) | The ERCOT CEO has determined that, as written, NOGRR050 is necessary prior to the Texas Nodal Market Implementation Date. |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | Aligns the reporting requirements of the Nodal Operating Guides with the Nodal Protocols. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None expected. | None expected. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Reduces the reports issued by ERCOT that provide inaccurate information. |  |
|  | 2 | Supports market implementation. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | DeAnn Walker |
| E-mail Address | deann.walker@centerpointenergy.com |
| Company | CenterPoint Energy Houston Electric, LLC |
| Phone Number | 512-397-3032 |
| Cell Number | 512-784-0998 |
| Market Segment | Investor Owned Utility |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

Proposed Guide Language Revision

9.2.3	Transmission Outage Reporting

This Section describes the reporting data for the transmission Outage scheduling and is provided for informational purposes.  There are no performance metrics for this data.

(1)	ERCOT shall post a monthly report of Outages considered on the MIS Secure Area including:

(a)	Number of Outages by Outage type; and

(b)	Total Number of Outages that were requested, accepted, approved, cancelled, and withdrawn.

[NOGRR050: Replace paragraph (1) of Section 9.2.3, Transmission Outage Reporting, above, with the following upon system implementation:] (1) ERCOT shall post a monthly report of Outages considered on the MIS Secure Area including: (a) Number of Outage requests submitted in the ERCOT Outage Scheduler greater than 335 days (11 months) in advance; (b) Number of Outage requests submitted in the ERCOT Outage Scheduler between 90 and 334 days in advance of the desired Outage date; (c) Number of Outage requests submitted in the ERCOT Outage Scheduler between eight and 89 days in advance of the desired Outage date; (d) Number of Outage requests submitted in the ERCOT Outage Scheduler between three and seven days in advance of the desired Outage date; (e) Number of Outage requests submitted less than three days in advance; (f) Number of Outages by Outage type; and (g) Total Number of Outages that were requested, accepted, approved, cancelled, and withdrawn.

[NOGRR025: Add paragraph (2) to Section 9.2.3, Transmission Outage Reporting, above, upon system implementation:] (2) ERCOT shall post reports for each transmission owner showing the percentage of the total number of Outages, by type, described in paragraph (1) above.