| NPRR Number | 219 | NPRR Title | Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings |
| --- | --- | --- | --- |
| Date |  | July 28, 2026 |  |
| Submitter’s Information |  |  |  |
| Name |  | Katie Coleman |  |
| E-mail Address |  | kcoleman@andrewskurth.com |  |
| Company |  | Texas Industrial Energy Consumers (TIEC) |  |
| Phone Number |  | 512-320-9226 |  |
| Cell Number |  | 512-773-0394 |  |
| Market Segment |  | Consumer |  |

Comments

As proposed, NPRR219 would unreasonably expand the Outage reporting requirements for Private Use Networks without adding any real reliability or market benefits.  Currently, Private Use Networks are only required to report Outages for registered Generation Resources or Transmission Facilities at the Point of Interconnection with the ERCOT Transmission Grid.  The 5/18/10 TIEC comments specifically exempted Private Use Networks from being required to schedule Outages for internal Transmission Facilities or generation that is not registered as a Resource.  TIEC discussed these issues with ERCOT Legal and Staff, and ERCOT attempted to limit some of the language applicable to Private Use Networks in the 6/16/10 ERCOT comments. Specifically, the 6/16/10 ERCOT comments limited Private Use Network reporting requirements to Transmission Facilities in the Network Operations Model.

After obtaining feedback from its members regarding the 6/16/10 ERCOT comments, TIEC is not comfortable with ERCOT’s proposed solution.  Outage Reporting should be clearly limited to Transmission Facilities that are a part of the ERCOT Transmission Grid, and should not include Private Use Network Transmission Facilities behind the Point of Interconnection.  These Facilities are not a part of the ERCOT Transmission Grid, do not directly interconnect Generation Resources to the grid, and, absent some unique justifying circumstance, are not subject to North American Electric Reliability Corporation (NERC) standards or reliability monitoring by ERCOT.  As a result, there is no reliability reason to require Private Use Networks to submit Outage requests for these lines.

TIEC has also added language to exempt Load Resources from the Outage reporting requirements pursuant to discussions with ERCOT Staff in the following Sections:

- 3.1.2, Planned Outage or Maintenance Outage Data Reporting

- 3.1.3.2, Resources

- 3.1.4.3, Reporting for Planned Outages and Maintenance Outages of Resource and Transmission Facilities

The primary purpose for requiring Outage reporting for Resources is to allow ERCOT to populate its Projected Assessments of System Adequacy (PASA) and to notify ERCOT whether a Resource is available for Reliability Unit Commitment (RUC).  However, ERCOT does not rely upon the Outage Scheduler to obtain information for the PASA report for Load Resources, but instead relies on information from the Capacity, Demand and Reserves (CDR) report and the Current Operating Plans (COPs).  Further, Load Resources are not eligible to be selected for RUC, so this is not a justification for requiring Outage Reporting for those Resources.  In short, requiring Outage Reporting for Load Resources will impose a significant administrative burden on Load Resources, but without providing any additional useful information to ERCOT.  This additional burden could deter Loads, particularly smaller ones, from participating in Load Response programs.

Accordingly, TIEC has modified the 6/16/10 ERCOT comments to limit Outage reporting requirements to Generation Resources and Transmission Facilities that are a part of the ERCOT Transmission Grid.

Revised Proposed Protocol Language

2.1 Definitions

Outage

The condition of a Transmission Facility or Generation Resource that is part of the ERCOT Transmission Grid and defined in the Network Operations Model that has been removed from its normal service excluding the operation of Transmission Elements associated with the start-up and shutdown of Generation Resources.

3.1.2	Planned Outage or Maintenance Outage Data Reporting

Each Generation Resource and Transmission Service Provider (TSP) shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage schedule.  All information submitted about Planned Outages or Maintenance Outages must be submitted by the Generation Resource or the TSP under this Section.  If an Outage schedule for a Resource is also applicable to the COP, the QSE responsible for the Resource shall also update the COP to provide the same information describing the Outage.

3.1.3.2	Resources

(1)	Each Generation Resource shall provide to ERCOT a Planned Outage and Maintenance Outage plan in an ERCOT-provided format for the next 12-months updated monthly.  Planned Outage and Maintenance Outage scheduling data for Generation Resources must be kept current.  Updates, through an electronic interface as specified by ERCOT, must identify any changes to previously proposed Planned Outages or Maintenance Outages and any additional Planned Outages or Maintenance Outages anticipated over the next 12 months.

(2)	ERCOT shall report statistics monthly on how Resource Planned Outages compare with actual Resource Outages, and post those statistics to the MIS Secure Area.

3.1.4.3	Reporting for Planned Outages and Maintenance Outages of Resource and Transmission Facilities

(1)	Each Generation Resource and TSP shall submit information regarding proposed Planned Outages and Maintenance Outages under procedures adopted by ERCOT.  The obligation to submit that information applies to each Generation Resource that is responsible to operate or maintain a Generation Resource that is part of or that affects the ERCOT System.  The obligation to submit that information applies to each TSP that is responsible to operate or maintain Transmission Facilities that are part of or affect the ERCOT System.  A Generation Resource or TSP is also obligated to submit information for Transmission Facilities or Generation Resources that are not part of the ERCOT System or that do not affect the ERCOT System if that information is required for regional security coordination as determined by ERCOT.

(2)	Before taking an RMR or Black Start Resource (“Reliability Resources”) out of service for a Planned Outage or Maintenance Outage, the Single Point of Contact for that Reliability Resource must obtain ERCOT’s approval of the schedule of the Planned Outage or Maintenance Outage.  ERCOT shall review and approve or reject each proposed Planned Outage or Maintenance Outage schedule under this Section and the applicable Agreements.

3.1.5.1	ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities

(1)	A TSP shall request a Planned Outage or Maintenance Outage if any Transmission Element that is part of the ERCOT Transmission Grid and defined in the Network Operations Model will be removed from its normal service.  This includes Outages of such Transmission Elements that are owned by Generation Resources, but does not include Facilities that are behind the Point of Interconnection within a Private Use Network.  Generation Resourcesand Private Use Networks must designate a TSP to provide for entries into the Outage Scheduler on their behalf.  The Generation Resource or Private Use Network may only designate the TSP that serves its facility(ies) as the party responsible for providing entries into the Outage Scheduler   Planned Outages or Maintenance Outages for Electrical Buses will be treated as consequentially outaged Transmission Elements.  In those cases where a TSP enters the breaker and switch statuses associated with an Electrical Bus, a downstream topology processor will evaluate the breakers and switches associated with the applicable Electrical Bus to determine if the Electrical Bus is consequentially outaged, and to thereby designate the status of the Electrical Bus.  Proposed Transmission Planned Outage or Maintenance Outage information submitted by a TSP in accordance with this Section constitutes a request for ERCOT’s approval of the Outage schedule associated with the Planned Outage or Maintenance Outage.  ERCOT is not deemed to have approved the Outage schedule associated with the Planned Outage or Maintenance Outage until ERCOT notifies the TSP of its approval under procedures adopted by ERCOT.  The Generation Resource Ehall review the submitted Outage for accuracy of information and request the TSP to submit modifications if necessary.  ERCOT shall evaluate requests under Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.

[NPRR219: Replace paragraph (1) above with the following upon system implementation:] (1) A TSP shall request a Planned Outage or Maintenance Outage if any Transmission Element that is part of the ERCOT Transmission Grid and defined in the Network Operations Model will be removed from its normal service. Planned Outages or Maintenance Outages for Electrical Buses will be treated as consequentially outaged Transmission Elements. In those cases where a TSP enters the breaker and switch statuses associated with an Electrical Bus, a downstream topology processor will evaluate the breakers and switches associated with the applicable Electrical Bus to determine if the Electrical Bus is consequentially outaged, and to thereby designate the status of the Electrical Bus. Proposed Transmission Planned Outage or Maintenance Outage information submitted by a TSP in accordance with this Section constitutes a request for ERCOT’s approval of the Outage schedule associated with the Planned Outage or Maintenance Outage. ERCOT is not deemed to have approved the Outage schedule associated with the Planned Outage or Maintenance Outage until ERCOT notifies the TSP of its approval under procedures adopted by ERCOT. ERCOT shall evaluate requests under Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.

(2)	ERCOT shall review and approve Planned Outages and Maintenance Outages of Transmission Facilities schedules according to Section 3.1.5.11.  ERCOT shall transmit its approvals and rejections to TSPs via the ERCOT Outage Scheduler.  Once approved, ERCOT may not withdraw its approval except under the conditions described in Section 3.1.5.7, Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities.

3.3.2.1	Information to Be Provided to ERCOT

(1)	The energization or removal of a Transmission Facility or Generation Resource that is part of the ERCOT Transmission Grid and defined in the Network Operations Model requires an entry into the Outage Scheduler by a TSP or Generation Resource.  The Generation Resource shall make entries in the Outage Scheduler for Outages of new or relocated Generation Resources.  The Generation Resource shall designate a TSP, and request the TSP submit entries into the Outage Scheduler, on behalf of the Generation Resource, for any energization or removal of Transmission Facilities owned by the Generation Resourcethat are part of the ERCOT Transmission Grid, which does not include Facilities behind the Point of Interconnection within a Private Use Network.  The Generation Resource shall review the submitted Outage for accuracy of information and request the TSP to submit modifications if necessary. Resource Entity  Resource EntityIf any changes in system topology or telemetry are expected, then the TSP or Generation Resource shall notify ERCOT in accordance with the schedule in Section 3.3.1, ERCOT Approval of New or Relocated Facilities.

[NPRR219: Replace paragraph (1) above with the following upon system implementation:] (1) The energization or removal of a Transmission Facility or Generation Resource that is part of the ERCOT Transmission Grid and defined in the Network Operations Model requires an entry into the Outage Scheduler by the TSP or Generation Resource. If any changes in system topology or telemetry are expected, then the TSP or Resource Entity shall notify ERCOT in accordance with the schedule in Section 3.3.1, ERCOT Approval of New or Relocated Facilities.

(3)	TSPsand Resource Entities shall submit any changes in system topology or telemetry in accordance with the Network Operations Model Change Request (NOMCR) process or other ERCOT-prescribed process applicable to Resource Entities and according to the requirements of Section 3.10.1, Time Line for Network Operations Model Changes.  The submittal shall include the following:

(a)	Proposed energize date;

(b)	TSP or Resource Entity performing work;

(c)	TSP(s) or Resource Entity responsible for rating affected Transmission Element(s);

(d)	For Resource Entities, data and information required by Section 16.5, Registration of a Resource Entity;

(e)	Station identification code;

(f)	Identification of existing Transmission Facilities involved and new Transmission Facilities (if any) being added or existing Transmission Facilities being permanently removed from service;

(g)	Ratings of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(h)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(i)	General statement of work to be completed with intermediate progress dates and events identified;

(j)	SCADA modification work, including descriptions of the telemetry points or changes to existing telemetry, providing information on equipment being installed, changed, or monitored;

(k)	Additional data determined by ERCOT and TSP(s) or Resource Entity as needed to complete the ERCOT model representation of existing Transmission Facilities involved and new Transmission Facilities (if any) being added;

(l)	Statement of completion, including:

(i)	Statement to be made at the completion of each intermediate stage of project; and

(ii)	Statement to be made at completion of total project.

(m)	Drawings, including:

(i)	Existing status;

(ii)	Each intermediate stage; and

(iii)	Proposed final configuration.

6.3.2	Activities for Real-Time Operations

(1)	Activities for Real-Time operations begin at the end of the Adjustment Period and conclude at the close of the Operating Hour.

(2)	The following table summarizes the timeline for the Operating Period and the activities of QSEs and ERCOT during Real-Time operations where “T” represents any instant within the Operating Hour.  The table is intended to be only a general guide and not controlling language, and any conflict between this table and another section of the Protocols is controlled by the other section:

| Operating Period | QSE Activities | ERCOT Activities |
| --- | --- | --- |
| During the first hour of the Operating Period |  | Execute the Hour-Ahead Sequence, including HRUC, beginning with the second hour of the Operating Period Review and communicate HRUC commitments Snapshot the Scheduled Power Consumption for Controllable Load Resources |
| Before the start of each Security-Constrained Economic Dispatch (SCED) run | Update Output Schedules for DSRs | Validate Output Schedules for DSRs Execute Real-Time Sequence |
| SCED run |  | Execute SCED |
| During the Operating Hour | Acknowledge receipt of Dispatch Instructions Comply with Dispatch Instruction Review Resource Status to assure current state of the Resources is properly telemetered Update COP with actual Resource Status and limits and Ancillary Service Schedules Communicate Resource Forced Outages to ERCOT | Communicate all Base Points, Dispatch Instructions and LMPs for energy and Ancillary Services using Inter-Control Center Communications Protocol (ICCP) or Verbal Dispatch Instructions (VDIs) Monitor Resource Status and identify discrepancies between COP and telemetered Resource Status Restart Real-Time Sequence on major change of Resource or Transmission Element Status Monitor ERCOT total system capacity providing Ancillary Services; Validate COP information Monitor ERCOT control performance; Distribute by ICCP, and post to the MIS Public Area, the LMPs created by each SCED process for each Resource Node. These prices shall be posted immediately subsequent to deployment of Base Points from SCED with the time stamp the prices are effective Post Hub LMP, Load Zone LMP, and LMPs for each Electrical Bus via the MIS Public Area. These prices shall be posted immediately subsequent to deployment of Base Points from SCED with the time stamp the prices are effective. Post each hour on the MIS Secure Area SCED Shadow Prices, active binding transmission constraints by Transmission Element name (contingency /overloaded element pairs) Post the Settlement Point Prices for each Settlement Point immediately following the end of each Settlement Interval Post parameters as required by Section 6.4.8, Ancillary Services Capacity During the Adjustment Period and in Real-Time, to the MIS Secure Area |

(3)	At the beginning of each hour, ERCOT shall post on the MIS Secure Area the following information:

(a)	Changes in ERCOT System conditions that could affect the security and dynamic transmission limits of the ERCOT System, including:

(i)	Changes or expected changes, in the status of Transmission Facilities as recorded in the Outage Scheduler for the remaining hours of the current Operating Day and all hours of the next Operating Day; and

(ii)	Any conditions such as adverse weather conditions as determined from the ERCOT-designated weather service;

(b)	Updated system-wide Load forecasts;

(c)	The quantities of Reliability Must-Run (RMR) Services deployed by ERCOT for each previous hour of the current Operating Day;

(d)	Total ERCOT System Demand, from Real-Time operations, integrated over each Settlement Interval; and

(e)	Updated Electrical Bus Load distribution factors and other information necessary to forecast Electrical Bus Loads for each hour of the current Operating Day and all hours of the next Operating Day.