- MINUTES OF THE ERCOT

Nodal advisory task force (NATF) MEETING

ERCOT Austin Office

- 7620 Metro Center Drive

- Austin, TX 78744

- July 29, 2010

- Meeting Attendance:

Segment Representatives in Attendance:

| Name | affiliation | Market Segment |
| --- | --- | --- |
| Blackburn, Don | Luminant | Investor Owned Utility (IOU) |
| Brewster, Chris | City of Eastland | Consumer - Commercial |
| Fox, Kip | AEP Service Corporation | IOU (Alt.) |
| Jackson, James | CPS Energy | Municipal |
| Kroskey, Tony | Brazos Electric | Cooperative (Alt.) (Via Teleconference) |
| Lovelace, Russell | Shell Energy | Independent Power Marketer (IPM) |
| McEvoy, Kevin | Exelon Generation | IPM (Alt.) (Via Teleconference) |
| McMurray, Mark | Direct Energy | Independent Retail Electric Provider (IREP) (Alt.) |
| Ögelman, Kenan | CPS Energy | Municipal (Alt.) |
| Reynolds, Jim | StarTex Power | IREP |
| Richard, Naomi | LCRA | Cooperative (Via Teleconference) |
| Schwarz, Brad | E.ON | Independent Generator |
| Seymour, Cesar | Suez | Independent Generator (Alt.) |
| Wardle, Scott | Occidental Chemical | Consumer - Industrial |

Non-voting Attendees:

| Name | Affiliation |  |
| --- | --- | --- |
| Ahuja, Manan | Barclays Capital | Via Teleconference |
| Allen, Thresa | Iberdola USA | Via Teleconference |
| Anderson, Clinton | Sungard | Via Teleconference |
| Bailey, Dan | Garland Power and Light | Via Teleconference |
| Barnes, Bill | J Aron | Via Teleconference |
| Basaran, Harika | Austin Energy | Via Teleconference |
| Belk, Brad | LCRA | Via Teleconference |
| Bogen, David | Oncor | Via Teleconference |
| Brandt, Adrianne | Austin Energy |  |
| Brown, Jack | Garland Power and Light | Via Teleconference |
| Bruns, Scott | Direct Energy | Via Teleconference |
| Buckelew, Lee | CPS Energy | Via Teleconference |
| Cannon, Maribeth | Edison Mission | Via Teleconference |
| Caraway, Shannon | Luminant | Via Teleconference |
| Carter, Kevin | Duke Energy | Via Teleconference |
| Chudgar, Rajan | Sungard | Via Teleconference |
| Clevenger, Josh | Brazos Electric | Via Teleconference |
| Dietz, Karen | GDF Suez | Via Teleconference |
| Eddleman, Neil | Cirro Energy | Via Teleconference |
| Escamilla, Jose | CPS Energy | Via Teleconference |
| Fahey, Matt | ANP/IPA | Via Teleconference |
| Galliquez, Percy | Brazos Electric | Via Teleconference |
| Garrett, Mark | Direct Energy | Via Teleconference |
| Hall, Michael | CenterPoint Energy | Via Teleconference |
| Hampton, Brenda | Luminant |  |
| Harini, Shah | DTE Energy | Via Teleconference |
| Harrell, Patty | DC Energy | Via Teleconference |
| Hassouni, Daniel | DC Energy | Via Teleconference |
| Hebert, Jason | PCI | Via Teleconference |
| Hess, Stephen | Edison Mission | Via Teleconference |
| Hughes, Darren | Optim Energy | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Jacoby, Jim | AEP Texas | Via Teleconference |
| Jones, Mike | Infinite Energy | Via Teleconference |
| Kee, David | CPS Energy | Via Teleconference |
| Kennedy, Tim | Direct Energy | Via Teleconference |
| Krishnaswamy, Vikram | Constellation | Via Teleconference |
| Kunkel, Dennis | AEP Texas | Via Teleconference |
| Lange, Clif | STEC | Via Teleconference |
| Leckey, Sean | Edison Mission | Via Teleconference |
| Lewis, W. | Cirro Energy | Via Teleconference |
| Li, Y | Potomac Economics | Via Teleconference |
| Looney, Sherry | Luminant |  |
| Lucas, Ross | Sungard | Via Teleconference |
| Marchelli, Mario | The Structure Group | Via Teleconference |
| Meitner, James | Westar Energy | Via Teleconference |
| Melgoza, Moises | APX | Via Teleconference |
| Mishra, Shailesh | PCI |  |
| Moast, Pat | Texas Regional Entity | Via Teleconference |
| Morris, Sandy | LCRA |  |
| Munoz, Manuel | CenterPoint Energy | Via Teleconference |
| Oliver, Todd | Brazos Electric | Via Teleconference |
| Olson, Sara | Optim Energy | Via Teleconference |
| Orbe, John | Barclays Capital | Via Teleconference |
| Palani, Ananth | Optim Energy | Via Teleconference |
| Roach, Temujin | PUCT | Via Teleconference |
| Rodriguez, Linda | AEP Texas | Via Teleconference |
| Ryan, Martin | NRG Texas | Via Teleconference |
| Sack, Brandon | Westar Energy | Via Teleconference |
| Sandidge, Clint | Sempra Solutions | Via Teleconference |
| Satkowski, Ned | PSEG Texas | Via Teleconference |
| Scher, Eric | CenterPoint Energy | Via Teleconference |
| Starr, Lee | Bryan Texas Utilities | Via Teleconference |
| Stewart, Wendy | EDF Trading | Via Teleconference |
| Sucherland, Dave | LCRA | Via Teleconference |
| Toussaint, Margaret | BP Energy | Via Teleconference |
| Trayers, Barry | Citigroup | Via Teleconference |
| Trout, Seth | Customized Energy Solutions | Via Teleconference |
| Wallin, Shane | Luminant | Via Teleconference |
| Watson, Mark | Platts Oilgram | Via Teleconference |
| Whittle, Brandon | DB Energy | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Worley, Eli | Tenaska | Via Teleconference |
| Zang, Hailing | Potomac Economics | Via Teleconference |
| Zehani, Madjid | Austin Energy | Via Teleconference |
| Zhang, Bryan | Potomac Economics | Via Teleconference |

ERCOT Staff:

| Name |  |
| --- | --- |
| Adams, John | Via Teleconference |
| Bohart, Jim |  |
| Boren, Ann |  |
| Bridges, Stacy | Via Teleconference |
| Cleary, Mike |  |
| Coon, Patrick | Via Teleconference |
| Decuir, Kim | Via Teleconference |
| DiPastena, Phil | Via Teleconference |
| Geer, Ed | Via Teleconference |
| Gonzalez, Ino |  |
| Huang, Fred | Via Teleconference |
| Iacobucci, Jason | Via Teleconference |
| Kasparian, Ken | Via Teleconference |
| Landry, Kelly |  |
| Matlock, Robert | Via Teleconference |
| Mereness, Matt |  |
| Middleton, Scott |  |
| Natoli, Anthony | Via Teleconference |
| Nowikcki, Len | Via Teleconference |
| Ragsdale, Ken |  |
| Rasberry, Justin |  |
| Shaw, Pamela | Via Teleconference |
| Surendran, Resmi |  |
| Teixeira, Jay | Via Teleconference |
| Tomlin, Dale | Via Teleconference |
| White, Steve | Via Teleconference |
| Wise, Joan | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

Don Blackburn called the meeting to order at 9:29 a.m.

Antitrust Admonition

Mr. Blackburn read the Antitrust Admonition, which was displayed.  He asked those who had not yet reviewed the Antitrust Guidelines to do so.  Copies of the Antitrust Guidelines were available.

Outage Scheduler Readiness Criteria

Ken Ragsdale outlined key dates and activities regarding network operations modeling, Outage scheduling, and Congestion Revenue Rights (CRR), requiring Market Participant support.  He observed that there are 12 defects with the Outage Scheduler and the Outage Scheduler User Interface, and noted that one defect has been resolved, one defect is being retested, seven defects have an estimated fix date of 07/30/2010, and four have been traced to data issues and have an estimated fix date of 08/13/2010.  NATF made no changes to its 07/08/2010 recommendation to the Technical Advisory Committee (TAC) that the Outage Scheduling Market Readiness Criteria had been met.

Mr. Ragsdale reiterated that ERCOT will run a zonal to Nodal transfer of Outages on 08/13/2010, and that this action will transfer 80% to 85% of all Outages in the system, but that Resource Outages will not be included in the transfer and will need to be reentered by Market Participants.  Mr. Ragsdale stated that Transmission Service Providers (TSPs) and Qualified Scheduling Entities (QSEs) are responsible for ensuring that Outages are correctly entered into the Nodal Outage Scheduler, and that a list of Outages that will not be transferred by ERCOT may be obtained by sending an E-Mail request to MarketTrials@ercot.com.

Congestion Revenue Rights (CRR) Auction Readiness Criteria

Mr. Ragsdale stated that ERCOT continues to evaluate Nodal Market readiness by examining system, process, and people readiness, and reviewed the approval schedule for the CRR readiness criteria.  He noted that ERCOT continues to work with Siemens on defects with the Topology Processor, and stated that if Siemens is unable to provide a software patch, then a workaround would be instituted.  Market Participants inquired into the details of the Siemens patch and the alternative workaround.  Consensus among Market Participants was that a recommendation regarding CRR readiness criteria was not appropriate until the issue with the Topology Processor had been resolved.  Mr. Blackburn stated that a Special NATF meeting would be called for 08/03/2010 to consider a recommendation on CRR readiness criteria.  Marguerite Wagner noted discussions regarding the posting of CRR procedures and inquired as to whether they would be posted to the ERCOT website.  Matt Mereness noted that discussions continue regarding which procedures are appropriate to post, but that once that is determined they would be posted.

Nodal Protocol Revision Requests (NPRRs) referred to NATF from the Protocol Revision Subcommittee (PRS)

NPRR255, Resolution of Alignment Item A81 - DRUC Timing and Execution when DAM is Delayed or Aborted

Ann Boren noted that NPRR255 was referred to NATF by PRS to review the timeline in the event that the Day Ahead Market (DAM) is delayed but still executes or if the DAM is aborted and ERCOT still needs to procure Ancillary Services to meet the needs of the Ancillary Services Plan.  Mr. Mereness explained that NPRR255 codifies the procedures for a Supplementary Ancillary Services Market (SASM) in the event the DAM fails to run, and Ancillary Services have not been procured.  Market Participants discussed the details of NPRR255, but took no action regarding it.

Protocol Transition Plan Matrix

Ms. Boren noted that Protocol Transition Plan Matrix provides Market Participants with the effective dates of the varying sections of the Nodal Protocols, and stated that ERCOT will distribute a Market Notice 30 days and 10 days prior to the effective date of each Protocol requirement.  The Protocol Transition Plan Matrix is available at http://www.ercot.com/calendar/2010/07/20100729-NATF.

Current Operating Plan (COP) Expectations

Mr. Ragsdale noted that ERCOT incorporated Market Participant comments into the Business Practices for the COP, and stated that an important change was the addition of a section for Reliability Must-Run (RMR) Units.  Market Participants discussed the impact of forecasting requirements on Wind-powered Generation Resources (WGRs).  Mr. Blackburn noted that NATF could provide feedback to TAC regarding this issue, but that NATF had no directive to do so.  Mr. Ragsdale observed that ERCOT expects Generation Resources to indicate in the COP their best estimation of the status of their respective Generation Units for the preceding seven days.  Mr. Blackburn stated that he would highlight this issue at the next TAC meeting.

Market Trials Update

Mr. Middleton reviewed issues observed during the 07/21/2010 5-Hour Full System Reliability Test and requested that Market Participants review these issues prior to the next Full System Reliability Test.  He stated that an important issue to examine is Ramp Rates.  Mr. Middleton observed that Ramp Rates are validated against the reasonability limits and noted that it would be beneficial for Market Participants to verify that they are set correctly.  Market Participants discussed Low Reasonability Ramp Rate Limit (LRRL) and High Reasonability Ramp Rate Limit (HRRL) updates to the Resource Asset Registration Form (RARF).  Mr. Middleton noted that these limits set boundaries on how high and how low a QSE may adjust a Resources Ramp capability.  Mr. Ragsdale noted that updates not received at least 90 days in advance will be evaluated as an interim update.

168-Hour Full System Reliability Test

Mr. Middleton noted the importance of determining the length and content of the 168-Hour Full System Reliability Test.  He observed three options for testing.  He noted that options one and two both include full system market and reliability tests, but that option one would be less than seven days, and option two would be seven days.  Mr. Middleton stated that option three would encompass all the testing in options one and two, but would also include the dispatch of Resources through Nodal systems.  Mr. Middleton noted that the use of option three would create Settlement issues, and would require revisions to current zonal Protocols.  Market Participants noted that it is important to define the objectives of the test and set a testing design that reaches those objectives.  Randy Jones noted the need for quality metrics and suggested the use of the Control Performance Standard (CPS) 1 score utilized by the North American Electric Reliability Corporation (NERC) as a means for measuring performance during the 168-Hour test.  Russell Lovelace stated that the 168-Hour test represents a full dress-rehearsal of Nodal Market Systems and expressed support for option three using generic costs for Settlement.  Mr. Ragsdale expressed the concern that the use of test data to dispatch Generation Resources, and different data for Settlements, could cause both reliability and Settlement problems.

Market Participants discussed separating the 168-Hour test into different testing periods.  Ms. Wagner observed consensus around the value of dividing the test into separate periods and noted that this would allow time for retooling of Market Participant systems and the opportunity to later see corrections to systems in action.  Mr. Blackburn noted that the third option would require a type of hybrid Settlement system, and that the creation of such a system is unlikely.

Adjournment

Mr. Blackburn adjourned the meeting at 2:43 p.m.

Some attendees may not have been present for the entire meeting.