| NPRR Number | 283 | NPRR Title | Clarification of PCRR Allocation Eligibility |
| --- | --- | --- | --- |
| Date Posted |  | September 30, 2010 |  |
| Nodal Protocol Section Requiring Revision |  | 7.4.1, PCRR Allocation Eligibility |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) extends Pre-Assigned Congestion Revenue Right (PCRR) eligibility for certain wholesale supply over the high voltage Direct Current Ties (DC Ties). |  |
| Reason for Revision |  | Current Nodal Protocols have been interpreted by ERCOT Legal Staff to exclude from PCRR eligibility resources supplied over high voltage DC Ties. While the resources on the non-ERCOT side of the DC Ties are network resources, the energy arrives into ERCOT at specific points — the North and East High Voltage DC Ties. The DC Ties should be treated as Generation Resources for the purposes of PCRR allocation because imports into the ERCOT System across the DC Ties deliver energy and capacity to the market as if the DC Ties were Generation Resources. ERCOT currently treats high voltage DC Ties as Generation Resources for the purposes of calculating and assigning the Nodal Implementation Surcharge (NIS), therefore, granting PCRRs to high voltage DC Tie Resources is consistent with current ERCOT practice and zonal Protocol Section 9.7.6, ERCOT Nodal Implementation Surcharge, and Nodal Protocol Section 9.16.4, ERCOT Nodal Implementation Surcharge. Additional non-substantive edits are shown with the author “ERCOT Market Rules.” |  |
| Overall Market Benefit |  | Restores the original intent behind the creation of PCRRs to long-term Non-Opt-In Entity (NOIE) wholesale power supply contracts. |  |
| Overall Market Impact |  | Minimal impact, if any, on wholesale Market Participants to whom this NPRR would not apply. |  |
| Consumer Impact |  | Reduce impact of Nodal Market to wholesale Market Participants who receive energy and capacity over high voltage DC Ties. |  |
| Credit Implications |  | No, none anticipated. |  |
| Submitter Justification for Necessity Prior to the Texas Nodal Market Implementation Date |  | Tex-La recognizes that Section 7.4 is set to “go live” on October 1, 2010, and that implementation of this NPRR prior to that date is not realistic. However, Tex-La does believe implementation of this NPRR prior to December 1, 2010 should be realized given that Section 7.4.1 as it currently exists is inconsistent with Section 9.16.4 and will result in disparate treatment of affected NOIEs. |  |
| CEO Determination |  | Because the Nodal Protocol sections being revised in NPRR283 have an effective date of 10/1/2010, the ERCOT CEO has no opinion on whether or not NPRR283 is necessary prior to the Texas Nodal Market Implementation Date. |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | Zonal Pre-assigned Congestion Rights (PCRs) were neither available nor necessary to the Tex-La high voltage DC Tie Resource prior to Nodal Market implementation because the DC Tie Resource and load are in the same zone. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | No additional cost to ERCOT System. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | More accurate valuation of Congestion Revenue Rights (CRRs). |  |
|  | 2 | Properly reflects current ERCOT practice in assessing NIS. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Nelson Nease |
| E-mail Address | nnease@bbrsaustin.com |
| Company | Brickfield Burchette Ritts & Stone, PC on behalf of Tex-La Electric Cooperative of Texas, Inc. |
| Phone Number | 512-472-1081 |
| Cell Number | 512-466-8271 |
| Market Segment | Cooperative |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

Proposed Protocol Language Revision

7.4.1	PCRR Allocation Eligibility

(1)	Pre-Assigned Congestion Revenue Rights (PCRRs) are available to be allocated to Non-Opt In Entities (NOIEs) that choose to apply for those rights and that:

(a)	Own or have a long-term (greater than five years) contractual commitment that was entered into before September 1, 1999 for annual capacity and energy from specific Generation Resources and across high voltage Direct Current Ties (DC Ties); or

(b)	Have a long-term (greater than five years) allocation from the federal government for annual capacity and energy produced at a federally-owned hydroelectric Generation Resource, and that allocation was in place prior to September 1, 1999.

(2)	A Municipally Owned Utility (MOU) or Electric Cooperative (EC) may no longer receive allocated PCRRs after they opt into competition, with the exception of South Texas Electric Cooperative (STEC).  STEC may be allocated PCRRs for up to three years after the date it enters into competition.