OWG Report to ROS

October 14, 2010

The Operations Working Group (OWG) met September 23, 2010.

On September 23rd, the OWG met for its regularly scheduled meeting. During the meeting the following items were discussed:

Operations Task Force Report – No Report Given.

Black Start Task Force Report – Frank reported that there is a meeting scheduled next week 9/29/10.  Cranking paths will be discussed and black start template.  Jack mentioned that CIP-002-4 should be looked at closely to see how entities could be affected.

The Texas RE Report – Frank asked Andy when the TOP certifications would be final.  Andy sent e-mail stating that the original 13 will be completed by mid-November, with several others that will start the process after the 13 are complete.

The OWG reviewed the following:

NOGRR 049 Alignment with NERC Reliability Standard PRC-001-1, System Protection Coordination – Recommended approval as revised by OWG.  This will come back to OWG next month with the IA.

NOGRR 044 Clarification of a PSS In-Service – Tabled for another month to give time for Jack to get input from PSS vendors.  OWG did make changes to the 2nd paragraph to help clarify what a PSS status change means.

NOGRR 048 Synchronization with OGRR240, CREZ Facility Protection and Control Requirements – The language was reviewed with the IA.  Recommended approval; will request that ROS grant urgency at their October meeting.

System Operations Report – Naga with ERCOT reviewed the August Operations Report.

Nodal Operating Guide Task Force – Brad (CNP) reported group is idle.

Other Discussions – An e-mail to the SSRG group was sent after hours about a person shooting at field personnel with a weapon and was being considered suspected sabotage.  Ross Owen thought that this should have warranted an SSRG conference call.  ERCOT stated that there was not enough information to make a call and that a 1 MW LaaR would not impact the BES.  Less than an hour later an updated e-mail was sent stating that it was not sabotage and then a final update with the story was sent on the following Monday.  ERCOT also stated that each entity can have up to 3 people on the SSRG and their real-time desk can be added as one of the 3.

Next OWG meeting will be on October 20th in Austin at the Met Center.