| NPRR Number | 274 | NPRR Title | Generic Startup Costs for Combined Cycle Generation Resources – Removal of Temporal Constraint |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | October 7, 2010 |  |  |
| Proposed Effective Date |  | Upon the Nodal Protocol Transition Plan’s Texas Nodal Market Implementation Date as prescribed by zonal Protocol Section 21.12, Process for Transition to Nodal Market Protocol Sections. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section Requiring Revision |  | 4.4.9.2.3, Startup Offer and Minimum-Energy Offer Generic Caps |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes the Startup Offer Generic Cap Resource Categories for Combined Cycle Generation Resources with less than five hours Off-Line. |  |  |
| Reason for Revision |  | The use of a Startup Offer Generic Cap (i.e., for a Generation Resource that does not have ERCOT-approved verifiable costs) for Combined Cycle Generation Resources based on a universal Resource temporal constraint of less than five hours Off-Line is inconsistent with the design implementation of the ERCOT Day-Ahead Market (DAM) and Reliability Unit Commitment (RUC) applications. This NPRR does not affect the use of Resource-specific temporal constraint data in the DAM and RUC (in other words, the Resource Asset Registration Form temporal constraints will continue to be honored in the DAM and RUC). It is not possible for the Market Management System (MMS) offer validation process to validate the five hour Off-Line temporal constraint for Three-Part Supply Offers at the time of their submission. Additionally, the use of a universal Resource temporal constraint of greater or less than five hours Off-Line conflicts with the Nodal Protocol requirement that the DAM and RUC honor the specific Resource temporal constraint parameters as submitted via the Resource Asset Registration Form. Since the Nodal Protocol requirement can only be met by an after-the-fact validation test, and based on the above considerations, ERCOT has determined that a Nodal Protocol change is required to clarify the Nodal Protocol submission requirements. This change removes the five-hour Off-Line temporal constraint in Section 4.4.9.2.3 for Combined Cycle Generation Resources with a combustion turbine either larger/equal to 90 MW or less than 90 MW. |  |  |
| Overall Market Benefit |  | Consistency in the treatment of the minimum Off-Line Resource-specific temporal constraints in the DAM and RUC processes. |  |  |
| Overall Market Impact |  | Sets a single value for the Startup Offer Generic Cap for Combined Cycle Generation Resources, that is less than the standard Startup O&M costs for a Combined Cycle Generation Resources established in paragraph (6) of Section 5.6.1, Verifiable Costs. |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR274 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 9/16/10, NPRR274, a CEO Revision Request Review, and an Impact Analysis were posted. - On 9/23/10, PRS considered NPRR274. - On 10/4/10, PRS considered the 9/23/10 PRS Report and Impact Analysis for NPRR274. - On 10/7/10, TAC considered NPRR274. |  |  |
| PRS Decision |  | On 9/23/10, PRS voted to recommend approval of NPRR274 as submitted. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. On 10/4/10, PRS voted to endorse and forward the 9/23/10 PRS Report and Impact Analysis for NPRR274 to TAC. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 9/23/10, the dollar amount selected for the Startup Offer Generic Cap for Combined Cycle Generation Resources was discussed. On 10/4/10, there was no discussion. |  |  |
| TAC Decision |  | On 10/7/10, TAC unanimously voted to recommend approval of NPRR274 as recommended by PRS in the 10/4/10 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 10/7/10, there was no discussion. |  |  |

Quantitative Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Sets a single value for the Startup Offer Generic Cap for Combined Cycle Generation Resources, that is less than the standard Startup O&M costs for a Combined Cycle Generation Resources established in paragraph (6) of Section 5.6.1, Verifiable Costs. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Consistency in the treatment of the minimum Off-Line Resource -specific temporal constraints in the DAM and RUC processes. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Matt Mereness; Steve Reedy |
| E-mail Address | mmereness@ercot.com; sreedy@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3089; 512-248-4515 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

4.4.9.2.3	Startup Offer and Minimum-Energy Offer Generic Caps

(1)	The Resource Category Startup Offer Generic Cap, by applicable Resource category, is determined by the following Operations and Maintenance (O&M) costs by Resource category:

| Resource Category | O&M Costs ($) |
| --- | --- |
| Nuclear, coal, lignite and hydro | 7,200 |
| Combined Cycle Generation Resource with a combustion turbine ≥ 90 MW, as determined by the largest combustion turbine in the Combined Cycle Generation Resource and for each combustion turbine in the Combined Cycle Generation Resource | 6,810 |
| Combined Cycle Generation Resource with a combustion turbine < 90 MW, as determined by the largest combustion turbine in the Combined Cycle Generation Resource and for each combustion turbine in the Combined Cycle Generation Resource | 6,810 |
| Gas steam supercritical boiler | 4,800 |
| Gas steam reheat boiler | 3,000 |
| Gas steam non-reheat or boiler w/o air-preheater | 2,310 |
| Simple cycle greater than 90 MW | 5,000 |
| Simple cycle less than or equal to 90 MW | 2,300 |
| Reciprocating Engines | 487 |
| RMR Resource | Not Applicable |
| Wind generation Resources | 0 |
| Any Resources not defined above | 0 |

(2)	The Resource Category Minimum-Energy Generic Cap is the cost per MWh of energy for a Resource to produce energy at the Resource’s LSL and is as follows:

(a)	Hydro = $10.00/MWh;

- (b)	Coal and lignite = $18.00/MWh;

- (c)	Combined-cycle greater than 90 MW = 10 MMBtu/MWh * ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in Minimum-Energy Offer;

- (d)	Combined-cycle less than or equal to 90 MW = 10 MMBtu/MWh * ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in Minimum-Energy Offer;

- (e)	Gas steam supercritical boiler = 16.5 MMBtu/MWh * ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in Minimum-Energy Offer;

- (f)	Gas steam reheat boiler = 17.0 MMBtu/MWh * ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in Minimum-Energy Offer;

- (g)	Gas steam non-reheat or boiler without air-preheater = 19.0 MMBtu/MWh * ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in Minimum-Energy Offer;

- (h)	Simple-cycle greater than 90 MW = 15.0 MMBtu/MWh * ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in Minimum-Energy Offer;

- (i)	Simple-cycle less than or equal to 90 MW = 15.0 MMBtu/MWh * ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in Minimum-Energy Offer;

- (j)	Reciprocating engines = 16.0 MMBtu/MWh * ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in the Minimum-Energy Offer;

- (k)	RMR Resource = RMR contract estimated fuel cost using its contract I/O curve at its LSL times FIP;

- (l)	Nuclear = Not Applicable;

- (m)	Wind generation Resources = $0; and

- (n)	Other Resources not defined above = $0.

- (3)	The FIP and FOP used to calculate the Resource Category Minimum-Energy Generic Cap shall be the FIP or FOP for the Operating Day.  In the event the Resource Category Minimum-Energy Generic Cap must be calculated before the FIP or FOP is available for the particular Operating Day, the FIP and FOP for the most recent preceding Operating Day shall be used.  Once the FIP and FOP are available for a particular Operating Day, those values shall be used in the calculations.  If the percentage fuel mix is not specified for Resource categories having the option to specify the fuel mix, then the minimum of FIP or FOP shall be used.

(4)	Items (2)(c) and (2)(d) above are determined by capacity of largest simple-cycle combustion turbine in the train.