## Slide 1: Protocol Revision Subcommittee
Sandy Morris
October 7, 2010

## Slide 2: Items for a Vote
Unanimous Recommendations
NOGRR050, Resolution of Reporting Issues Related to NPRR219
NPRR253, CRR Balancing Account Invoice and Settlement and Billing Dispute Process
NPRR259, Resolution of Alignment Items A175 and A176 - Settlement of Generation Resources Dispatched to Meet System Reliability Requirements
NPRR261, Revision of Data Submission Timeline for Network Model
NPRR279, Resolution of Alignment Item A144 - Clarify Posting of MCPC for DAM and SASM
Notes: <number>

## Slide 3: Items for a Vote
Non-unanimous Recommendations
NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings
NPRR244, Clarification of Other Binding Documents
NPRR246, Requirement for Resource Entities to Update Resource Parameters
NPRR255, Resolution of Alignment Item A81 - DRUC Timing and Execution when DAM is Delayed or Aborted
NPRR262, Protocol Synchronization for Nodal Implementation Surcharge
NPRR263, Resolution of Alignment Item A99 - Settlement Point Price Calculation When Busses are De-energized
NPRR273, Allow Use of the ONTEST Resource Status to Indicate Resource Startup, Shutdown and Test Operations
NPRR274, Generic Startup Costs for Combined Cycle Generation Resources – Removal of Temporal Constraint
NPRR280, Move Shift Factor Posting Requirement to Real-Time
NPRR284, Cost Allocation Zones as They Relate to NOIE Load Zones – As Built Systems
Notes: <number>

## Slide 4
Summary of PRRs and NPRRs
0 PRR for Approval
14 NPRRs for Approval
1 NOGRR for Approval
0 Parking Deck Consideration
1 Rejections
0 Withdrawals
Notes: <number>

## Slide 5: NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings
Purpose (ERCOT) | This will require the Resource Entity to designate a TSP as the responsible Entity that will manage Outage Scheduler entries for the Resource Entity for Transmission Elements owned by the Resource other than the outage of the Generation or Load Resource itself. This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the MIS. | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 10/4/10, PRS voted to recommend approval of NPRR219 as amended by the 9/22/10 TIEC comments and as revised by PRS and to forward NPRR219 and its Impact Analysis to TAC via roll call vote. PRS then voted to recommend a priority of Critical to the grey-boxed language. There was one abstention from the Independent Generator Market Segment. | 
CEO Determination | Necessary Prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 6
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
  NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings
Notes: <number>

## Slide 7: NOGRR050 – Resolution of Reporting Issues Related to NPRR219
Purpose (CenterPoint) | This Nodal Operating Guide Revision Request (NOGRR) proposes revisions to remove the requirement for ERCOT to produce several reports related to Outage Scheduling from the current Nodal Operating Guide and grey-boxing the requirements until such time ERCOT systems can be modified to include only the Transmission Service Provider’s (TSP’s) Outages in the reports. | 
Market Impact | No Impacts | 
System Change | Yes. | Minor changes to EDW and MIS; no project required
PRS Vote | On 8/12/10, the Reliability and Operations Subcommittee (ROS) unanimously voted to grant NOGRR050 Urgent status. ROS then voted to recommend approval of NOGRR050 as submitted. On 10/4/10, PRS unanimously voted to recommend approval of NOGRR050 as amended by the 9/16/10 ERCOT comments and to recommend a priority of Critical to the grey-boxed language. | 
CEO Determination | Partially Necessary prior to Go-Live; Grey-boxed language is not necessary prior to Go-Live. | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 8
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
  NOGRR050 – Resolution of Reporting Issues Related to NPRR219
< $50K
Minor changes to EDW and MIS
Not applicable.
Notes: <number>

## Slide 9: NPRR244, Clarification of Other Binding Documents
Purpose (ERCOT) | This NPRR clarifies the concept of “Other Binding Documents” and the revision process to better align with item (j) of PURA § 39.151, Essential Organizations, and P.U.C. SUBST. R. 25.503, Oversight of Wholesale Market Participants, with respect to governing documents that are public and in effect in the ERCOT Region | 
Market Impact | No Impacts | 
System Change | No. | 
PRS Vote | On 8/19/10, PRS voted to recommend approval of NPRR244 as amended by the 8/4/10 PSEG TX comments via roll call vote. The Independent Power Marketer (IPM) Market Segment was not present for the vote. On 9/23/10, PRS voted to endorse and forward the 8/19/10 PRS Report as amended by the 9/13/10 ERCOT comments and as revised by PRS and revised Impact Analysis for NPRR244 to TAC and to recommend a priority of High/Medium to the grey-boxed language. There was one abstention from the Municipal Market Segment. | 
CEO Determination | Partially Necessary prior to Go-Live. Grey-boxed language is not necessary prior to Go-Live. | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 10
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
  NPRR244, Clarification of Other Binding Documents
Minor impacts to ERCOT.com;
New business processes to be established for OBD that do not specify a revision process
Notes: <number>

## Slide 11: NPRR246, Requirement for Resource Entities to Update Resource Parameters
Purpose (ERCOT) | This NPRR requires Resource Entities to update their Resource Parameters after Net Dependable Capability (NDC) tests, reactive capability tests, ERCOT requests, and known data changes to any Resource Parameters. | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 7/22/10, PRS unanimously voted to recommend approval of NPRR246 as amended by the 6/14/10 Luminant comments. On 9/23/10, PRS voted to endorse and forward the 8/19/10 PRS Report as amended by the 9/7/10 Luminant comments and Impact Analysis for NPRR246 to TAC. There was on opposing vote from the Investor Owned Utility (IOU) Market Segment. | 
CEO Determination | Necessary prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 12
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR246, Requirement for Resource Entities to Update Resource Parameters
Notes: <number>

## Slide 13: NPRR253, CRR Balancing Account Invoice and Settlement and Billing Dispute Process
Purpose (ERCOT) | This NPRR updates Section 9.12, and Section 9.14, with information pertaining to the ERCOT Invoice process and the statuses for processing of disputes. This NPRR also proposes non-substantive changes, such as capitalizing defined terms and use of acronyms. | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 9/23/10, PRS unanimously voted to recommend approval of NPRR253 as amended by the 9/16/10 COPS comments and to forward NPRR253 and the Impact Analysis to TAC. | 
CEO Determination | Necessary prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 14
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR253, CRR Balancing Account Invoice and Settlement and Billing Dispute Process
Notes: <number>

## Slide 15: NPRR255, Resolution of Alignment Item A81 - DRUC Timing and Execution when DAM is Delayed or Aborted
Purpose (ERCOT) | This NPRR adds new Section 5.2.2 to describe the process that ERCOT will follow in the event that the Day-Ahead Market (DAM) is delayed or aborted. | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 8/19/10, PRS unanimously voted to recommend approval of NPRR255 as submitted. The IPM Market Segment was not present for the vote. On 10/4/10, PRS voted to endorse and forward the 9/23/10 PRS Report as amended by the 9/30/10 ERCOT comments and Impact Analysis for NPRR255 to TAC. There were two abstentions from the Independent Generator Market Segment. | 
CEO Determination | Necessary prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 16
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR255, Resolution of Alignment Item A81 - DRUC Timing and Execution when DAM is Delayed or Aborted
Notes: <number>

## Slide 17: NPRR259, Resolution of Alignment Items A175 and A176 - Settlement of Generation Resources Dispatched to Meet System Reliability
Purpose (ERCOT) | This NPRR clarifies that all commitments of a specific Generation Resource in response to an ERCOT Dispatch Instruction (whether issued electronically or verbally) for the commitment of that Generation Resource will be considered to be a Reliability Unit Commitment (RUC) and will be settled in accordance with the RUC Settlement provisions described in the Nodal Protocols. | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 9/23/10, PRS unanimously voted to recommend approval of NPRR259 as amended by the 9/1/10 ERCOT comments and as revised by PRS. On 10/4/10, PRS unanimously voted to endorse and forward the 9/23/10 PRS Report and Impact Analysis for NPRR259 to TAC. | 
CEO Determination | Necessary prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 18
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR259, Resolution of Alignment Items A175 and A176 - Settlement of Generation Resources Dispatched to Meet System Reliability
Notes: <number>

## Slide 19: NPRR261, Revision of Data Submission Timeline for Network Model
Purpose (ERCOT) | This NPRR removes the three-month summer model and replaces it with individual model packages for each month. This NPRR also separates item (5) of Section 3.10.4 into three paragraphs for clarification of ERCOT’s requirements. | 
Market Impact | No Impacts | 
System Change | Yes | Minor impacts to NMMS; will take two months after Board approval to implement.
PRS Vote | On 8/19/10, PRS unanimously voted to recommend approval of NPRR261 as submitted. The IPM Market Segment was not present for the vote. On 9/23/10, PRS unanimously voted to endorse and forward the 8/19/10 PRS Report and Impact Analysis for NPRR261 to TAC. | 
CEO Determination | No Opinion on Necessity for Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 20
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR261, Revision of Data Submission Timeline for Network Model
< $50,000
Minor Impacts to NMMS
Notes: <number>

## Slide 21: NPRR262, Protocol Synchronization for Nodal Implementation Surcharge
Purpose (ERCOT) | This NPRR modifies the Nodal Implementation Surcharge (NIS) calculation to mirror the existing zonal calculation, by including generation from Non-Modeled Generators and energy imported into the ERCOT System during a declared Emergency Condition through each Direct Current Tie (DC Tie) in response to an ERCOT Dispatch Instruction. | 
Market Impact | No Impacts | 
System Change | Yes. | Settlements and Billing application; no project required
PRS Vote | On 8/19/10, PRS voted to recommend approval of NPRR262 as submitted. There was one abstention from the Municipal Market Segment. The IPM Market Segment was not present for the vote. On 9/23/10, PRS unanimously voted to endorse and forward the 8/19/10 PRS Report as revised by PRS and Impact Analysis for NPRR262 | 
CEO Determination | Necessary Prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 22
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR262, Protocol Synchronization for Nodal Implementation Surcharge
< $50,000
Minor Impacts to S&B
Notes: <number>

## Slide 23: NPRR263, Resolution of Alignment Item A99 - Settlement Point Price Calculation When Busses are De-energized
Purpose (ERCOT) | This NPRR adds the requirement for ERCOT to assign a Locational Marginal Price (LMP) for use in the calculation of Day-Ahead and Real-Time Settlement Point Prices. | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 10/4/10, PRS voted to recommend approval of NPRR263 as amended by the 9/29/10 ERCOT comments and as revised by PRS and to forward NPRR263 and the Impact Analysis to TAC. There were two abstentions from the Independent Generator Market Segment. | 
CEO Determination | Necessary Prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 24
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR263, Resolution of Alignment Item A99 - Settlement Point Price Calculation When Busses are De-energized
Notes: <number>

## Slide 25: NPRR273, Allow Use of the ONTEST Resource Status to Indicate Resource Startup, Shutdown and Test Operations
Purpose (ERCOT) | This NPRR expands the use of this Resource Status to provide for Generation Resource operations during start up and shut down of the unit as well as unit testing requirements. | 
Market Impact | No Impacts | 
System Change | Yes. | Commercial Systems Integration logic for Settlements and Billing system; no project required
PRS Vote | On 9/23/10, PRS voted to recommend approval of NPRR273 as amended by the 9/20/10 Luminant comments and as revised by PRS and to forward NPRR273 and the Impact Analysis to TAC. There was one abstention from the Consumer Market Segment. | 
CEO Determination | Necessary prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 26
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR273, Allow Use of the ONTEST Resource Status to Indicate Resource Startup, Shutdown and Test Operations
< $50,000
Minor Impacts (Settlements and Billing)
Notes: <number>

## Slide 27: NPRR274, Generic Startup Costs for Combined Cycle Generation Resources – Removal of Temporal Constraint
Purpose (ERCOT) | This NPRR removes the Startup Offer Generic Cap Resource Categories for Combined Cycle Generation Resources with less than five hours Off-Line. | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 9/23/10, PRS voted to recommend approval of NPRR274 as submitted. There was one abstention from the Consumer Market Segment. On 10/4/10, PRS voted to endorse and forward the 9/23/10 PRS Report and Impact Analysis for NPRR274 to TAC. There was one abstention from the Consumer Market Segment. | 
CEO Determination | Necessary Prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 28
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR274, Generic Startup Costs for Combined Cycle Generation Resources – Removal of Temporal Constraint
Notes: <number>

## Slide 29: NPRR279, Resolution of Alignment Item A144 - Clarify Posting of MCPC for DAM and SASM
Purpose (ERCOT) | This NPRR conforms the Nodal Protocols to the system and business process implementation for posting of prices from the DAM and any Supplemental Ancillary Services Market (SASM). Reports of clearing prices in the DAM and SASM will be reviewed and if the potential exists for a change in the prices, ERCOT will provide a Market Notice on the MIS Secure Area describing the nature of the error and any conditions that may have caused the error. | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 10/4/10, PRS unanimously voted to recommend approval of NPRR279 as amended by the 10/4/10 ERCOT comments and as revised by PRS and to forward NPRR279 and the Impact Analysis to TAC. | 
CEO Determination | Necessary Prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 30
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR279, Resolution of Alignment Item A144 - Clarify Posting of MCPC for DAM and SASM
Notes: <number>

## Slide 31: NPRR280, Move Shift Factor Posting Requirement to Real-Time
Purpose (ERCOT) | This NPRR moves the requirement to post Shift Factor data from the Day-Ahead Operations section (Section 4.2.3) of the Nodal Protocols as a daily posting to the Real-Time operations section (Section 6.5.7.1.13) as an hourly posting. | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 10/4/10, PRS voted to recommend approval of NPRR280 as submitted and to forward NPRR280 and the Impact Analysis to TAC. There was one abstention from the Independent Generator Market Segment. | 
CEO Determination | Necessary Prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 32
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR280, Move Shift Factor Posting Requirement to Real-Time
Notes: <number>

## Slide 33: NPRR284, Cost Allocation Zones as They Relate to NOIE Load Zones – As Built Systems
Purpose (ERCOT) | This Nodal Protocol Revision Request (NPRR) synchronizes the Nodal Protocols with the as-built system. In regards to the association of a Non-Opt-In Entity (NOIE) Load Zone with a Cost Allocation Zone (i.e., a 2003 CM Zone), the ERCOT system was built in alignment with paragraph (2) of Section 7.5.7, Method for Distributing CRR Auction Revenues, not Section 3.4.3(2)(c). | 
Market Impact | No Impacts | 
System Change | No | 
PRS Vote | On 10/4/10, PRS voted to recommend approval of NPRR284 as submitted and to forward NPRR284 and the Impact Analysis to TAC. There was one abstention from the Independent Generator Market Segment. | 
CEO Determination | Necessary Prior to Go-Live | 
Effective Date | Upon Texas Nodal Market implementation date prescribed in Nodal Protocol Transition Plan. | 
Notes: <number>

## Slide 34
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR284, Cost Allocation Zones as They Relate to NOIE Load Zones – As Built Systems
Notes: <number>

## Slide 35: NPRRs Withdrawn or Rejected
Withdrawn NPRRs
Rejected NPRRs
NPRR275, Clarify QSE’s Ability to Make Changes to Ancillary Service Resource Responsibility In Real Time

## Slide 36: Nodal Parking Deck – Prioritization Guidelines
Priority | Definition
Critical | Required by Statute, PUCT Order, NERC compliance or critical reliability of: Grid Operations IT Infrastructure Commercial Settlement
High | High value for a majority of market segments or ERCOT
High / Medium | High value to one or two segments, or Medium value for a majority of market segments or ERCOT
Medium | Medium value for only one segment

## Slide 37: Nodal Parking Deck – Approved by ERCOT Board
Source | Title | Priority | Approval Date
NPRR208 | Registration and Settlement of Distributed Generation (DG) Less Than One MW | Critical | BoD Approved 7/20/2010
SCR756 | Enhancements to the MarkeTrak Application | Critical | BoD Approved 7/20/2010
NPRR131 | Ancillary Service Trades with ERCOT | High | BoD Approved 1/19/2010
NPRR146 | ICCP Telemetry Information Submittals | High | BoD Approved 6/15/2010
NPRR181 | FIP Definition Revision | High | BoD Approved 1/19/2010
NPRR207 | Unit Deselection | High | BoD Approved 7/20/2010
NPRR210 | Wind Forecasting Change to P50, Synch PRR841 | High | BoD Approved 6/15/2010
NPRR222 | Half-Hour Start Unit RUC Clawback | High | BoD Approved 7/20/2010
NPRR153 | Generation Resource Fixed Quantity Block Offer | Medium | BoD Approved 1/19/2010
NPRR164 | Resubmitting Ancillary Service offers in SASM | Medium | BoD Approved 1/19/2010
SCR755 | ERCOT.com Website Enhancements | Medium | BoD Approved 2/16/2010

## Slide 38: Nodal Parking Deck – Approved by ERCOT Board
Source | Title | Priority | Approval Date
NPRR240 | Proxy Energy Offer Curve | High / Medium | BoD Approved 9/21/10
NPRR241 | Aggregate Incremental Liability (AIL) Calculation and Credit Reports Publish Corrections | Medium | BoD Approved 9/21/10
NPRR251 | Sync of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned | High | BoD Approved 9/21/10
NOGRR034 | Rescind Telemetry Performance Calculation Exclusions | Medium | BoD Approved 9/21/10
SCR759 | acLineSegment Name Length Increase in Information Model Manager | High | BoD Approved 9/21/10

## Slide 39: Nodal Parking Deck – Pending Approval
Source | Title | Suggested Priority | Current Status
NPRR256 | Sync Nodal Protocols with PRR787, Add Non-Compliance Language to QSE Performance Standards | TBD | Pending at PRS
NPRR258 | Sync with PRR824 and PRR833 and Additional Clarifications | TBD | Pending at PRS
NPRR260 | Providing Access to MIS Secure Area to MIS Registered Users | TBD | Pending at PRS
NOGRR050 | Resolution of Reporting Issues Related to NPRR219 | Critical | Pending at TAC PRS approved 10/4/10
NPRR244 | Clarification of Other Binding Documents | High/Medium | Pending at TAC PRS approved on 9/23/10
NPRR219 | Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings | Critical | Pending at TAC PRS approved 10/4/10